| ACHUODHO Intervention Package: Base/San Phase II | District: Nyando Division: Miwani Zone: Ombeyi |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 36 | 20 | 24 |  | 21 | 24 | 22 | 22 |  | 26 | 11 | 206 |
| Girls | 33 | 24 | 27 |  | 19 | 28 | 25 | 17 |  | 19 | 9 | 201 |
| Total Enrollment: 407 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.98 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 0 | 0 |  | 0 | 0 | 21 | 1 |  | 0 | 0 | 22 |
| Girls | 0 | 0 | 0 |  | 0 | 0 | 16 | 3 |  | 0 | 0 | 19 |
| Percent of students absent in previous two weeks: 10.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:40.7 |  |  |  | Number of Classrooms: 9 Students per Classroom: 45.222 |  |  |  |  | Roof material: Iron & thatch Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Covered well/borehole in compound Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 101.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 100.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 103 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 62.5% Percent of students that report always using the latrine at school for a short call: 29.2% Percent of students with a latrine at home: 37.5% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.875 |
| --- | --- |

| ADEGA Intervention Package: Base | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 10 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 700 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 10000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 100 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): . Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: . Treatment methods: |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 16 Student:Latrine Ratio: . | Doors for Girls: 4 Girl Student:Latrine Ratio: . | Doors for Boys: 4 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 84.0% Percent of students that report always using the latrine at school for a short call: 76.0% Percent of students with a latrine at home: 72.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.96 |
| --- | --- |

| ADIEDO Intervention Package: Base + Sanitation | District: Rachuonyo Division: East Karachuonyo Zone: Omboga |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 18 | 19 | 20 |  | 23 | 24 | 14 | 14 |  | 19 | 15 | 166 |
| Girls | 23 | 23 | 21 |  | 23 | 31 | 16 | 14 |  | 22 | 8 | 181 |
| Total Enrollment: 347 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.09 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 26 | 12 | 0 |  | 1 | 10 | 14 | 5 |  | 0 | 20 | 88 |
| Girls | 79 | 6 | 24 |  | 0 | 6 | 13 | 0 |  | 0 | 0 | 128 |
| Percent of students absent in previous two weeks: 62.2% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:38.6 |  |  |  | Number of Classrooms: 9 Students per Classroom: 38.556 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Public covered well/borehole Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 15000 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 40 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 86.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 86.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 90.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 83 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 84.0% Percent of students that report always using the latrine at school for a short call: 96.0% Percent of students with a latrine at home: 80.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 2.88 |
| --- | --- |

| AKWAKRA Intervention Package: Water Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Rambira |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys |  |  |  |  |  |  |  |  |  |  |  |  |
| Girls |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Enrollment: |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys |  |  |  |  |  |  |  |  |  |  |  |  |
| Girls |  |  |  |  |  |  |  |  |  |  |  |  |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 8 Students per Classroom: |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 10 Distance to furthest water source (meters): 10 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 5000 Distance to furthest water source (meters): 5000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 20000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 44 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: | Doors for Girls: 4 Girl Student:Latrine Ratio: | Doors for Boys: 2 Boy Student:Latrine Ratio: |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 87.5% Percent of students that report always using the latrine at school for a short call: 87.5% Percent of students with a latrine at home: 75.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.83 |
| --- | --- |

| AMILO Intervention Package: Base/San Phase II | District: Nyando Division: Miwani Zone: Masogo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 24 | 26 | 31 |  | 13 | 28 | 13 | 17 |  | 26 | 17 | 195 |
| Girls | 25 | 27 | 17 |  | 17 | 28 | 20 | 24 |  | 31 | 19 | 208 |
| Total Enrollment: 403 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.07 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 3 | 2 | 4 |  | 2 | 0 | 2 | 1 |  | 4 | 5 | 23 |
| Girls | 2 | 5 | 3 |  | 3 | 2 | 0 | 3 |  | 2 | 3 | 23 |
| Percent of students absent in previous two weeks: 11.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:33.6 |  |  |  | Number of Classrooms: 9 Students per Classroom: 44.778 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 27 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 9.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 2 Total storage capacity (liters): 20 Containers with water: 2 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 11 Student:Latrine Ratio: 50.375 | Doors for Girls: 4 Girl Student:Latrine Ratio: 52 | Doors for Boys: 4 Boy Student:Latrine Ratio: 48.75 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 64.0% Percent of students that report always using the latrine at school for a short call: 56.0% Percent of students with a latrine at home: 72.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.8 |
| --- | --- |

| ANGOGO Intervention Package: Water | District: Nyando Division: Miwani Zone: Nyang'oma |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 21 | 16 | 10 |  | 24 | 15 | 22 | 12 |  | 18 | 13 | 151 |
| Girls | 18 | 21 | 12 |  | 10 | 12 | 15 | 12 |  | 18 | 8 | 126 |
| Total Enrollment: 277 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.83 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 7 | 4 | 0 |  | 4 | 2 | 5 | 0 |  | 2 | 0 | 24 |
| Girls | 3 | 8 | 2 |  | 0 | 1 | 1 | 1 |  | 3 | 1 | 20 |
| Percent of students absent in previous two weeks: 15.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:27.7 |  |  |  | Number of Classrooms: 9 Students per Classroom: 30.778 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: UNICEF |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Pond/dam/earthpan Total number of sources used in dry season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 20000 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 15 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 144.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 39.571 | Doors for Girls: 3 Girl Student:Latrine Ratio: 42 | Doors for Boys: 4 Boy Student:Latrine Ratio: 37.75 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 52.0% Percent of students that report always using the latrine at school for a short call: 68.0% Percent of students with a latrine at home: 88.0% |  |  |

Handwashing

| School provides water for handwashing: Rainy season only | Mean handwashing demonstration score: 3.12 |
| --- | --- |

| APUKO DOH Intervention Package: Base/San Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Miriu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 26 | 12 | 9 |  | 9 | 13 | 11 | 13 |  | 12 | 6 | 111 |
| Girls | 29 | 10 | 14 |  | 11 | 13 | 8 | 8 |  | 14 | 13 | 120 |
| Total Enrollment: 231 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.08 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 0 | 1 |  | 0 | 0 | 0 | 6 |  | 6 | 2 | 19 |
| Girls | 5 | 0 | 4 |  | 0 | 2 | 8 | 2 |  | 6 | 0 | 27 |
| Percent of students absent in previous two weeks: 19.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:23.1 |  |  |  | Number of Classrooms: 9 Students per Classroom: 25.667 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 10000 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 15 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 86.6 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 57.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 60 | Doors for Boys: 2 Boy Student:Latrine Ratio: 55.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| ARINGO Intervention Package: Base + Sanitation | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 40 | 19 | 18 |  | 36 | 27 | 30 | 29 |  | 31 | 29 | 259 |
| Girls | 25 | 18 | 33 |  | 20 | 34 | 35 | 21 |  | 23 | 12 | 221 |
| Total Enrollment: 480 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.85 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 16 | 10 | 17 |  | 8 | 23 | 14 | 29 |  | 22 | 2 | 141 |
| Girls | 13 | 8 | 13 |  | 13 | 8 | 9 | 15 |  | 10 | 1 | 90 |
| Percent of students absent in previous two weeks: 48.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:48.0 |  |  |  | Number of Classrooms: 10 Students per Classroom: 48 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: Protected spring Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 25 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 0.1 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 2 Total storage capacity (liters): 100 Containers with water: 2 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:WaterGuard |  | Amount of water treated today: 100 Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 15 Student:Latrine Ratio: 40 | Doors for Girls: 6 Girl Student:Latrine Ratio: 36.833 | Doors for Boys: 6 Boy Student:Latrine Ratio: 43.167 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 76.0% Percent of students that report always using the latrine at school for a short call: 68.0% Percent of students with a latrine at home: 52.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.64 |
| --- | --- |

| ATELA Intervention Package: Base/San Phase II | District: Rachuonyo Division: Kabondo Zone: Awach |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 23 | 61 | 30 |  | 42 | 37 | 32 | 40 |  | 33 | 25 | 323 |
| Girls | 29 | 23 | 37 |  | 28 | 35 | 40 | 18 |  | 27 | 14 | 251 |
| Total Enrollment: 574 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.78 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 24 | 14 | 10 |  | 12 | 8 | 30 | 6 |  | 2 | 8 | 114 |
| Girls | 32 | 10 | 6 |  | 14 | 4 | 16 | 2 |  | 10 | 10 | 104 |
| Percent of students absent in previous two weeks: 38.0% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:57.4 |  |  |  | Number of Classrooms: 13 Students per Classroom: 44.154 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Open public well Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 200 Distance to furthest water source (meters): 1500 |  | Dry Season Primary Water Source: Open public well Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 200 Distance to furthest water source (meters): 1500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3000 Condition of Tank: Unusable | Gutters: Yes Meters of Gutters: 6 Condition of Gutters: Some problems |  | Gutters Currently Connected: No Days of water from tank: 10.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 3000 Containers with water: 0 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: . Treatment methods: |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 15 Student:Latrine Ratio: 41 | Doors for Girls: 8 Girl Student:Latrine Ratio: 31.375 | Doors for Boys: 6 Boy Student:Latrine Ratio: 53.833 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 50.0% Percent of students that report always using the latrine at school for a short call: 66.7% Percent of students with a latrine at home: 95.8% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 2.66667 |
| --- | --- |

| AYUB OKOKO Intervention Package: Base/San Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Kendu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys |  |  |  |  |  |  |  |  |  |  |  |  |
| Girls |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Enrollment: |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys |  |  |  |  |  |  |  |  |  |  |  |  |
| Girls |  |  |  |  |  |  |  |  |  |  |  |  |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 12 Students per Classroom: |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 10 Distance to furthest water source (meters): 10 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 10000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 28 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: | Doors for Girls: 4 Girl Student:Latrine Ratio: | Doors for Boys: 2 Boy Student:Latrine Ratio: |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 76.0% Percent of students that report always using the latrine at school for a short call: 60.0% Percent of students with a latrine at home: 92.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.24 |
| --- | --- |

| BACHO Intervention Package: Base + Sanitation | District: Nyando Division: Miwani Zone: Ombeyi |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 8 | 10 |  | 11 | 5 | 11 | 6 |  | 3 | 0 | 54 |
| Girls | 0 | 8 | 5 |  | 8 | 7 | 7 | 9 |  | 4 | 0 | 48 |
| Total Enrollment: 102 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.89 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 0 | 4 |  | 1 | 2 | 3 | 3 |  | 1 | . | . |
| Girls | 0 | 0 | 1 |  | 1 | 2 | 1 | 4 |  | 0 | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 6 Student/Teacher Ratio:17.0 |  |  |  | Number of Classrooms: 7 Students per Classroom: 14.571 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: No water available Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  | Dry Season Primary Water Source: No water available Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1200 Condition of Tank: Unusable | Gutters: Yes Meters of Gutters: 12 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 23.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 1 Student:Latrine Ratio: 102 | Doors for Girls: 1 Girl Student:Latrine Ratio: 48 | Doors for Boys: 0 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 64.0% Percent of students that report always using the latrine at school for a short call: 36.0% Percent of students with a latrine at home: 40.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.76 |
| --- | --- |

| BISHOP OKOTH Intervention Package: Base | District: Nyando Division: Muhoroni Zone: Menara |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 9 | 4 | 14 |  | 11 | 7 | 10 | 7 |  | 11 | 8 | 81 |
| Girls | 12 | 15 | 7 |  | 13 | 9 | 8 | 6 |  | 12 | 6 | 88 |
| Total Enrollment: 169 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.09 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 2 | 5 |  | 0 | 5 | 5 | 3 |  | 20 | 5 | 45 |
| Girls | 0 | 13 | 4 |  | 6 | 6 | 0 | 0 |  | 3 | 3 | 35 |
| Percent of students absent in previous two weeks: 47.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:16.9 |  |  |  | Number of Classrooms: 8 Students per Classroom: 21.125 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 42.25 | Doors for Girls: 2 Girl Student:Latrine Ratio: 44 | Doors for Boys: 2 Boy Student:Latrine Ratio: 40.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 68.0% Percent of students with a latrine at home: 76.0% |  |  |

Handwashing

| School provides water for handwashing: Always | Mean handwashing demonstration score: 4.76 |
| --- | --- |

| BWARE Intervention Package: Water | District: Rachuonyo Division: East Karachuonyo Zone: Kendu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 12 | 21 | 15 |  | 14 | 10 | 15 | 20 |  | 13 | 14 | 134 |
| Girls | 21 | 15 | 16 |  | 18 | 14 | 15 | 20 |  | 12 | 11 | 142 |
| Total Enrollment: 276 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.06 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 26 | 16 | 18 |  | 24 | 14 | 20 | 31 |  | 12 | 54 | 215 |
| Girls | 30 | 20 | 10 |  | 10 | 10 | 10 | 41 |  | 14 | 30 | 175 |
| Percent of students absent in previous two weeks: 141.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:30.7 |  |  |  | Number of Classrooms: 9 Students per Classroom: 30.667 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3000 Condition of Tank: Unusable | Gutters: Yes Meters of Gutters: 8 Condition of Gutters: Unusable |  | Gutters Currently Connected: No Days of water from tank: 21.7 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 69 | Doors for Girls: 2 Girl Student:Latrine Ratio: 71 | Doors for Boys: 2 Boy Student:Latrine Ratio: 67 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 96.0% Percent of students that report always using the latrine at school for a short call: 96.0% Percent of students with a latrine at home: 40.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 2.92 |
| --- | --- |

| CHAGERE Intervention Package: Base/San Phase II | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 22 | 7 | 16 |  | 14 | 8 | 14 | 15 |  | 9 | 11 | 116 |
| Girls | 11 | 11 | 2 |  | 10 | 13 | 9 | 11 |  | 6 | 6 | 79 |
| Total Enrollment: 195 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.68 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 1 | 0 |  | 0 | 1 | 1 | 0 |  | 0 | 0 | 7 |
| Girls | 3 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 4 |
| Percent of students absent in previous two weeks: 5.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:19.5 |  |  |  | Number of Classrooms: 9 Students per Classroom: 21.667 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Unprotected spring Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 3500 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:Boil |  | Amount of water treated today: . Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 3 Student:Latrine Ratio: 65 | Doors for Girls: 1 Girl Student:Latrine Ratio: 79 | Doors for Boys: 2 Boy Student:Latrine Ratio: 58 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 70.0% Percent of students that report always using the latrine at school for a short call: 70.0% Percent of students with a latrine at home: 80.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.35 |
| --- | --- |

| CHEMELIL BI Intervention Package: Water | District: Nyando Division: Muhoroni Zone: Chemelil |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 40 | 60 | 44 |  | 64 | 36 | 29 | 65 |  | 55 | 29 | 422 |
| Girls | 53 | 51 | 47 |  | 58 | 60 | 43 | 55 |  | 43 | 19 | 429 |
| Total Enrollment: 851 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.02 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 69 | 31 | 25 |  | 7 | 3 | 43 | 8 |  | 2 | 20 | 208 |
| Girls | 65 | 26 | 17 |  | 16 | 24 | 35 | 2 |  | 2 | 6 | 193 |
| Percent of students absent in previous two weeks: 47.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 20 Student/Teacher Ratio:42.6 |  |  |  | Number of Classrooms: 15 Students per Classroom: 56.733 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 800 |  | Dry Season Primary Water Source: Rainwater Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 800 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 5000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 5 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 11.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 10 Containers with water: 1 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 11 Student:Latrine Ratio: 94.556 | Doors for Girls: 7 Girl Student:Latrine Ratio: 61.286 | Doors for Boys: 2 Boy Student:Latrine Ratio: 211 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 28.0% Percent of students that report always using the latrine at school for a short call: 40.0% Percent of students with a latrine at home: 88.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.88 |
| --- | --- |

| CHEMELIL FACTORY Intervention Package: Base + Sanitation | District: Nyando Division: Muhoroni Zone: Chemelil |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 20 | 53 | 45 |  | 53 | 50 | 51 | 55 |  | 68 | 83 | 478 |
| Girls | 20 | 75 | 41 |  | 51 | 67 | 69 | 63 |  | 79 | 51 | 516 |
| Total Enrollment: 994 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.08 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 5 | 6 | 7 |  | 3 | 4 | 3 | 1 |  | 2 | 0 | 31 |
| Girls | 4 | 4 | 2 |  | 5 | 2 | 2 | 1 |  | 0 | 1 | 21 |
| Percent of students absent in previous two weeks: 5.2% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 22 Student/Teacher Ratio:45.2 |  |  |  | Number of Classrooms: 27 Students per Classroom: 36.815 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: Yes |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Piped to school Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 5000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 40 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 10.1 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 15 Student:Latrine Ratio: 76.462 | Doors for Girls: 7 Girl Student:Latrine Ratio: 73.714 | Doors for Boys: 6 Boy Student:Latrine Ratio: 79.667 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| GINGO Intervention Package: Water | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 75 | 36 | 38 |  | 30 | 29 | 30 | 30 |  | 22 | 14 | 304 |
| Girls | 52 | 30 | 30 |  | 35 | 31 | 35 | 30 |  | 20 | 6 | 269 |
| Total Enrollment: 573 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.88 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | 42 | 18 |  | 43 | 20 | 16 | 25 |  | 18 | 2 | . |
| Girls | . | 44 | 37 |  | 36 | 12 | 19 | 31 |  | 0 | 0 | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:52.1 |  |  |  | Number of Classrooms: 10 Students per Classroom: 57.3 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Lake Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 3000 Distance to furthest water source (meters): 3000 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 3000 Distance to furthest water source (meters): 3000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 20000 Condition of Tank: Unusable | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: 69.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:WaterGuard |  | Amount of water treated today: 0 Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 13 Student:Latrine Ratio: 63.667 | Doors for Girls: 5 Girl Student:Latrine Ratio: 53.8 | Doors for Boys: 4 Boy Student:Latrine Ratio: 76 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 60.0% Percent of students that report always using the latrine at school for a short call: 60.0% Percent of students with a latrine at home: 32.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.8 |
| --- | --- |

| GOD ABUORO Intervention Package: Base/San Phase II | District: Nyando Division: Muhoroni Zone: Chemelil |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 15 | 14 | 22 |  | 12 | 20 | 15 | 20 |  | 21 | 18 | 157 |
| Girls | 29 | 24 | 11 |  | 20 | 13 | 15 | 19 |  | 21 | 10 | 162 |
| Total Enrollment: 319 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.03 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 35 | 5 |  | 7 | 10 | 4 | 4 |  | 7 | 0 | 72 |
| Girls | 0 | 12 | 1 |  | 6 | 4 | 9 | 11 |  | 4 | 8 | 55 |
| Percent of students absent in previous two weeks: 39.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:31.9 |  |  |  | Number of Classrooms: 8 Students per Classroom: 39.875 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 750 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 12 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 4.7 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 106.333 | Doors for Girls: 1 Girl Student:Latrine Ratio: 162 | Doors for Boys: 2 Boy Student:Latrine Ratio: 78.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 79.2% Percent of students that report always using the latrine at school for a short call: 83.3% Percent of students with a latrine at home: 95.8% |  |  |

Handwashing

| School provides water for handwashing: Always | Mean handwashing demonstration score: 3.95833 |
| --- | --- |

| GOD BURA Intervention Package: Water Phase II | District: Suba Division: Gwassi Zone: Kiabuya |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 47 | 34 | 30 |  | 32 | 29 | 32 | 30 |  | 24 | 26 | 284 |
| Girls | 43 | 38 | 34 |  | 36 | 27 | 22 | 17 |  | 18 | 13 | 248 |
| Total Enrollment: 532 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.87 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 20 | 32 | 29 |  | 26 | 17 | 30 | 15 |  | 2 | 6 | 177 |
| Girls | 15 | 24 | 16 |  | 10 | 13 | 10 | 7 |  | 3 | 1 | 99 |
| Percent of students absent in previous two weeks: 51.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:48.4 |  |  |  | Number of Classrooms: 9 Students per Classroom: 59.111 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1500 |  | Dry Season Primary Water Source: Other public tap Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 800 Distance to furthest water source (meters): 1500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 5000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 17 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 18.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 106.4 | Doors for Girls: 3 Girl Student:Latrine Ratio: 82.667 | Doors for Boys: 2 Boy Student:Latrine Ratio: 142 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 48.0% Percent of students with a latrine at home: 40.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 4.24 |
| --- | --- |

| GOD JOPE Intervention Package: Base | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 30 | 30 | 33 |  | 28 | 24 | 22 | 30 |  | 25 | 11 | 233 |
| Girls | 22 | 33 | 37 |  | 31 | 25 | 20 | 18 |  | 26 | 14 | 226 |
| Total Enrollment: 459 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.97 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 5 | 5 | 7 |  | 5 | 8 | 4 | 6 |  | 3 | 2 | 45 |
| Girls | 7 | 6 | 8 |  | 4 | 4 | 5 | 4 |  | 2 | 1 | 41 |
| Percent of students absent in previous two weeks: 18.7% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:51.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 51 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 13.1 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 10 Containers with water: 1 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: . Treatment methods: |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 57.375 | Doors for Girls: 4 Girl Student:Latrine Ratio: 56.5 | Doors for Boys: 4 Boy Student:Latrine Ratio: 58.25 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 88.0% Percent of students that report always using the latrine at school for a short call: 44.0% Percent of students with a latrine at home: 56.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.84 |
| --- | --- |

| GOD MIAHA Intervention Package: Base | District: Rachuonyo Division: Kabondo Zone: Ramba |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Girls | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 9 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Missionary group |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 800 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 800 Distance to furthest water source (meters): 800 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 6 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: . | Doors for Girls: 3 Girl Student:Latrine Ratio: . | Doors for Boys: 4 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 90.0% Percent of students that report always using the latrine at school for a short call: 80.0% Percent of students with a latrine at home: 55.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.35 |
| --- | --- |

| GOD NYITHINDO Intervention Package: Base | District: Nyando Division: Muhoroni Zone: Menara |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 18 | 20 | 17 |  | 20 | 12 | 12 | 19 |  | 17 | 13 | 148 |
| Girls | 20 | 21 | 13 |  | 17 | 16 | 14 | 10 |  | 14 | 13 | 138 |
| Total Enrollment: 286 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.93 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 24 | 0 | 6 |  | 17 | 0 | 3 | 22 |  | 0 | 0 | 72 |
| Girls | 13 | 0 | 5 |  | 24 | 2 | 2 | 0 |  | 2 | 0 | 48 |
| Percent of students absent in previous two weeks: 42.0% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:28.6 |  |  |  | Number of Classrooms: 8 Students per Classroom: 35.75 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Rainwater Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 70000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 300 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 489.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 12 Student:Latrine Ratio: 28.6 | Doors for Girls: 5 Girl Student:Latrine Ratio: 27.6 | Doors for Boys: 5 Boy Student:Latrine Ratio: 29.6 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 75.0% Percent of students that report always using the latrine at school for a short call: 87.5% Percent of students with a latrine at home: 95.8% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 4.875 |
| --- | --- |

| GOT KOPOLO Intervention Package: Base/San Phase II | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: . Student/Teacher Ratio:. |  |  |  | Number of Classrooms: . Students per Classroom: . |  |  |  |  | Roof material: . Floor material: . Electricity: . |  |  |  |
| PTA or School Management Committee: . |  |  |  |  |  |  | NGO Involvement: . . . |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: . Total number of sources used in rainy season: 0 Uses at least one unimproved source for drinking water: . Distance to primary water source (meters): . Distance to furthest water source (meters): . |  | Dry Season Primary Water Source: . Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: . Distance to primary water source (meters): . Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: . Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): . Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: . Treatment methods:.......... |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: . Student:Latrine Ratio: . | Doors for Girls: . Girl Student:Latrine Ratio: . | Doors for Boys: . Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: . | Mean handwashing demonstration score: . |
| --- | --- |

| GOT NYASUMBI Intervention Package: Water Phase II | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 25 | 19 | 13 |  | 20 | 22 | 17 | 20 |  | 21 | 12 | 169 |
| Girls | 22 | 28 | 18 |  | 22 | 21 | 13 | 19 |  | 15 | 8 | 166 |
| Total Enrollment: 335 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.98 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 91 | 9 | 12 |  | 17 | 5 | 18 | 7 |  | 13 | 1 | 173 |
| Girls | 59 | 12 | 21 |  | 4 | 3 | 7 | 8 |  | 6 | 0 | 120 |
| Percent of students absent in previous two weeks: 87.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:33.5 |  |  |  | Number of Classrooms: 9 Students per Classroom: 37.222 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 4000 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 20000 Condition of Tank: Unusable | Gutters: Yes Meters of Gutters: 25 Condition of Gutters: Unusable |  | Gutters Currently Connected: Yes Days of water from tank: 119.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 67 | Doors for Girls: 3 Girl Student:Latrine Ratio: 55.333 | Doors for Boys: 2 Boy Student:Latrine Ratio: 84.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 92.0% Percent of students that report always using the latrine at school for a short call: 88.0% Percent of students with a latrine at home: 40.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.36 |
| --- | --- |

| GOT RATENG' Intervention Package: Water Phase II | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 26 | 19 | 16 |  | 14 | 19 | 17 | 10 |  | 12 | 10 | 143 |
| Girls | 19 | 21 | 13 |  | 18 | 15 | 13 | 13 |  | 18 | 15 | 145 |
| Total Enrollment: 288 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.01 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 10 | 4 | 8 |  | 4 | 6 | 4 | 8 |  | 15 | 4 | 63 |
| Girls | 12 | 4 | 6 |  | 4 | 5 | 10 | 4 |  | 12 | 3 | 60 |
| Percent of students absent in previous two weeks: 42.7% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:32.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 32 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 400 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 30000 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 15 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 208.3 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 20 Containers with water: 1 |  | Containers with narrow mouth: 0 Containers with lid: 1 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:WaterGuard |  | Amount of water treated today: 40 Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 72 | Doors for Girls: 2 Girl Student:Latrine Ratio: 72.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 71.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 68.0% Percent of students that report always using the latrine at school for a short call: 40.0% Percent of students with a latrine at home: 40.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 5.24 |
| --- | --- |

| GOT RUKE Intervention Package: Base | District: Nyando Division: Muhoroni Zone: Menara |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 14 | 13 | 16 |  | 18 | 19 | 14 | 12 |  | 15 | 15 | 136 |
| Girls | 13 | 12 | 15 |  | 8 | 14 | 17 | 12 |  | 11 | 10 | 112 |
| Total Enrollment: 248 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.82 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 9 | 20 | 4 |  | 11 | 0 | 12 | 6 |  | 1 | 0 | 63 |
| Girls | 12 | 8 | 14 |  | 13 | 0 | 11 | 11 |  | 3 | 0 | 72 |
| Percent of students absent in previous two weeks: 54.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:27.6 |  |  |  | Number of Classrooms: 8 Students per Classroom: 31 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 400 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 400 Distance to furthest water source (meters): 400 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 49.6 | Doors for Girls: 3 Girl Student:Latrine Ratio: 37.333 | Doors for Boys: 2 Boy Student:Latrine Ratio: 68 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 56.5% Percent of students that report always using the latrine at school for a short call: 78.3% Percent of students with a latrine at home: 82.6% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.30435 |
| --- | --- |

| GOTRATENG Intervention Package: Base | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 22 | 27 | 45 |  | 47 | 56 | 0 | 0 |  | 0 | 0 | 197 |
| Girls | 29 | 35 | 36 |  | 35 | 55 | 0 | 0 |  | 0 | 0 | 190 |
| Total Enrollment: 387 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.96 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 15 Student/Teacher Ratio:25.8 |  |  |  | Number of Classrooms: 16 Students per Classroom: 24.188 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 4000 Distance to furthest water source (meters): 4000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 15000 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 77.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 64.5 | Doors for Girls: 3 Girl Student:Latrine Ratio: 63.333 | Doors for Boys: 3 Boy Student:Latrine Ratio: 65.667 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 80.0% Percent of students with a latrine at home: 96.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.4 |
| --- | --- |

| GUL Intervention Package: Water Phase II | District: Nyando Division: Muhoroni Zone: Chemelil |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 39 | 21 | 15 |  | 19 | 18 | 20 | 15 |  | 17 | 12 | 176 |
| Girls | 29 | 15 | 18 |  | 17 | 17 | 16 | 22 |  | 18 | 10 | 162 |
| Total Enrollment: 338 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.92 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 12 | 15 | 2 |  | 0 | 0 | 8 | 6 |  | 1 | 0 | 44 |
| Girls | 10 | 4 | 20 |  | 0 | 0 | 2 | 0 |  | 0 | 0 | 36 |
| Percent of students absent in previous two weeks: 23.7% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:28.2 |  |  |  | Number of Classrooms: 8 Students per Classroom: 42.25 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1200 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1200 Distance to furthest water source (meters): 1200 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 8 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 13.6 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 42.25 | Doors for Girls: 4 Girl Student:Latrine Ratio: 40.5 | Doors for Boys: 4 Boy Student:Latrine Ratio: 44 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 96.0% Percent of students with a latrine at home: 84.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.12 |
| --- | --- |

| GUNGU Intervention Package: Water | District: Rachuonyo Division: East Karachuonyo Zone: Kendu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 35 | 25 | 28 |  | 27 | 22 | 17 | 16 |  | 14 | 11 | 195 |
| Girls | 24 | 34 | 28 |  | 29 | 23 | 21 | 20 |  | 13 | 11 | 203 |
| Total Enrollment: 398 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.04 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 5 | 2 | 3 |  | 4 | 3 | 4 | 2 |  | 1 | 0 | 24 |
| Girls | 6 | 3 | 3 |  | 1 | 6 | 2 | 3 |  | 2 | 1 | 27 |
| Percent of students absent in previous two weeks: 12.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:44.2 |  |  |  | Number of Classrooms: 8 Students per Classroom: 49.75 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 6 Distance to furthest water source (meters): 6 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 3000 Distance to furthest water source (meters): 3000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 17 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 17.6 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:WaterGuard |  | Amount of water treated today: 0 Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 79.6 | Doors for Girls: 3 Girl Student:Latrine Ratio: 67.667 | Doors for Boys: 2 Boy Student:Latrine Ratio: 97.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 68.0% Percent of students that report always using the latrine at school for a short call: 72.0% Percent of students with a latrine at home: 68.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.8 |
| --- | --- |

| GWENO KIPODI Intervention Package: Water | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 19 | 9 | 12 |  | 12 | 18 | 15 | 13 |  | 19 | 16 | 133 |
| Girls | 18 | 14 | 12 |  | 10 | 21 | 9 | 12 |  | 16 | 7 | 119 |
| Total Enrollment: 252 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.89 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 6 | 9 | 5 |  | 1 | 7 | 3 | 3 |  | 0 | 2 | 36 |
| Girls | 2 | 3 | 8 |  | 3 | 7 | 0 | 2 |  | 4 | 1 | 30 |
| Percent of students absent in previous two weeks: 26.2% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 7 Student/Teacher Ratio:36.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 28 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: No water available Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  | Dry Season Primary Water Source: Rainwater Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): . Distance to furthest water source (meters): 5 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 5000 Condition of Tank: Good | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: 39.7 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 50.4 | Doors for Girls: 2 Girl Student:Latrine Ratio: 59.5 | Doors for Boys: 3 Boy Student:Latrine Ratio: 44.333 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 85.0% Percent of students that report always using the latrine at school for a short call: 60.0% Percent of students with a latrine at home: 100.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4 |
| --- | --- |

| HONGO RADHIANG Intervention Package: Base/San Phase II | District: Kisumu Division: Kadibo Zone: Rabuor |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 17 | 10 | 16 |  | 10 | 8 | 13 | 5 |  | 10 | 15 | 104 |
| Girls | 31 | 12 | 12 |  | 6 | 9 | 6 | 7 |  | 8 | 6 | 97 |
| Total Enrollment: 201 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.93 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 10 | 4 | 2 |  | 7 | 7 | 0 | 4 |  | 3 | 6 | 43 |
| Girls | 31 | 7 | 7 |  | 8 | 5 | 2 | 8 |  | 7 | 15 | 90 |
| Percent of students absent in previous two weeks: 66.2% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 7 Student/Teacher Ratio:28.7 |  |  |  | Number of Classrooms: 99 Students per Classroom: 2.03 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 200 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 200 Distance to furthest water source (meters): 200 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 7 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 22.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 50.25 | Doors for Girls: 2 Girl Student:Latrine Ratio: 48.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 52 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 75.0% Percent of students that report always using the latrine at school for a short call: 33.3% Percent of students with a latrine at home: 100.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.20833 |
| --- | --- |

| JUELU Intervention Package: Base/San Phase II | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 15 | 13 | 14 |  | 14 | 15 | 10 | 10 |  | 14 | 10 | 115 |
| Girls | 17 | 13 | 14 |  | 15 | 15 | 12 | 18 |  | 13 | 12 | 129 |
| Total Enrollment: 244 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.12 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 0 | 1 |  | 1 | 2 | 1 | 2 |  | 1 | 0 | 12 |
| Girls | 2 | 1 | 0 |  | 1 | 3 | 2 | 1 |  | 1 | 0 | 11 |
| Percent of students absent in previous two weeks: 9.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:24.4 |  |  |  | Number of Classrooms: 9 Students per Classroom: 27.111 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 4500 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 36.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 3 Student:Latrine Ratio: 122 | Doors for Girls: 1 Girl Student:Latrine Ratio: 129 | Doors for Boys: 1 Boy Student:Latrine Ratio: 115 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: . |
| --- | --- |

| KADETE Intervention Package: Water Phase II | District: Kisumu Division: Kadibo Zone: Nyan'gande |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 26 | 25 | 21 |  | 23 | 15 | 26 | 16 |  | 28 | 10 | 190 |
| Girls | 25 | 31 | 25 |  | 35 | 24 | 25 | 25 |  | 15 | 12 | 217 |
| Total Enrollment: 407 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.14 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 30 | 18 | 17 |  | 28 | 15 | 15 | 10 |  | 19 | 3 | 155 |
| Girls | 25 | 21 | 20 |  | 16 | 21 | 12 | 14 |  | 15 | 0 | 144 |
| Percent of students absent in previous two weeks: 73.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:37.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 45.222 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: No water available Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 40 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 11.3 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 3 Total storage capacity (liters): 9 Containers with water: 3 |  | Containers with narrow mouth: 3 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 81.4 | Doors for Girls: 2 Girl Student:Latrine Ratio: 108.5 | Doors for Boys: 3 Boy Student:Latrine Ratio: 63.333 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 78.1% Percent of students that report always using the latrine at school for a short call: 31.3% Percent of students with a latrine at home: 84.4% |  |  |

Handwashing

| School provides water for handwashing: Always | Mean handwashing demonstration score: 3.8125 |
| --- | --- |

| KAMSER Intervention Package: Base | District: Rachuonyo Division: East Karachuonyo Zone: Rambira |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Girls | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 9 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 2 Distance to furthest water source (meters): 2 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1000 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 4500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 25 Condition of Gutters: Good |  | Gutters Currently Connected: No Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 11 Student:Latrine Ratio: . | Doors for Girls: 6 Girl Student:Latrine Ratio: . | Doors for Boys: 3 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 80.0% Percent of students with a latrine at home: 72.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.4 |
| --- | --- |

| KANDARIA Intervention Package: Base | District: Kisumu Division: Kadibo Zone: Nyangande |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 35 | 35 | 39 |  | 27 | 31 | 34 | 25 |  | 39 | 16 | 281 |
| Girls | 37 | 45 | 38 |  | 35 | 17 | 15 | 19 |  | 25 | 10 | 241 |
| Total Enrollment: 522 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.86 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 19 | 42 | 73 |  | 12 | 41 | 15 | 15 |  | 9 | 0 | 226 |
| Girls | 15 | 53 | 53 |  | 17 | 15 | 20 | 29 |  | 7 | 0 | 209 |
| Percent of students absent in previous two weeks: 83.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:47.5 |  |  |  | Number of Classrooms: 9 Students per Classroom: 58 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Covered well/borehole in compound Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 130.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 120.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 140.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Always | Mean handwashing demonstration score: . |
| --- | --- |

| KANGO Intervention Package: Base + Sanitation | District: Nyando Division: Miwani Zone: Ombeyi |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 60 | 22 | 7 |  | 18 | 19 | 17 | 18 |  | 17 | 10 | 188 |
| Girls | 40 | 29 | 28 |  | 21 | 9 | 27 | 16 |  | 13 | 7 | 190 |
| Total Enrollment: 378 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.01 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 9 | 0 |  | 2 | 2 | 1 | 5 |  | 0 | 0 | 19 |
| Girls | 0 | 9 | 0 |  | 7 | 1 | 6 | 3 |  | 3 | 0 | 29 |
| Percent of students absent in previous two weeks: 12.7% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:37.8 |  |  |  | Number of Classrooms: 5 Students per Classroom: 75.6 |  |  |  |  | Roof material: Iron & thatch Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 2 Condition of Gutters: Some problems |  | Gutters Currently Connected: No Days of water from tank: 5.3 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 3 Student:Latrine Ratio: 189 | Doors for Girls: 1 Girl Student:Latrine Ratio: 190 | Doors for Boys: 1 Boy Student:Latrine Ratio: 188 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 68.0% Percent of students that report always using the latrine at school for a short call: 52.0% Percent of students with a latrine at home: 60.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.68 |
| --- | --- |

| KANYADHIANG Intervention Package: Base/San Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Kendu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 26 | 22 | 10 |  | 20 | 13 | 19 | 22 |  | 16 | 20 | 168 |
| Girls | 33 | 24 | 21 |  | 13 | 22 | 18 | 18 |  | 17 | 6 | 172 |
| Total Enrollment: 340 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.02 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 1 | 0 | 0 |  | 0 | 9 | 4 | 0 |  | 0 | 10 | 24 |
| Girls | 1 | 4 | 5 |  | 1 | 8 | 24 | 0 |  | 0 | 0 | 43 |
| Percent of students absent in previous two weeks: 19.7% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:30.9 |  |  |  | Number of Classrooms: 9 Students per Classroom: 37.778 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 400 Distance to furthest water source (meters): 400 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 4000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 12 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 23.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 85 | Doors for Girls: 2 Girl Student:Latrine Ratio: 86 | Doors for Boys: 2 Boy Student:Latrine Ratio: 84 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 84.0% Percent of students that report always using the latrine at school for a short call: 60.0% Percent of students with a latrine at home: 80.0% |  |  |

Handwashing

| School provides water for handwashing: Always | Mean handwashing demonstration score: 2.76 |
| --- | --- |

| KANYANGWARA Intervention Package: Base/San Phase II | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 30 | 17 | 14 |  | 19 | 18 | 14 | 15 |  | 12 | 7 | 146 |
| Girls | 29 | 16 | 9 |  | 15 | 11 | 11 | 10 |  | 11 | 4 | 116 |
| Total Enrollment: 262 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.79 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 2 | 3 |  | 3 | 0 | 4 | 2 |  | 2 | 2 | 22 |
| Girls | 2 | 3 | 3 |  | 1 | 2 | 1 | 0 |  | 2 | 0 | 14 |
| Percent of students absent in previous two weeks: 13.7% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:29.1 |  |  |  | Number of Classrooms: 9 Students per Classroom: 29.111 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1000 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 4 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 7.6 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 10 Containers with water: 0 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:Boil |  | Amount of water treated today: . Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 32.75 | Doors for Girls: 4 Girl Student:Latrine Ratio: 29 | Doors for Boys: 4 Boy Student:Latrine Ratio: 36.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 62.5% Percent of students that report always using the latrine at school for a short call: 83.3% Percent of students with a latrine at home: 87.5% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.04167 |
| --- | --- |

| KANYANGWENA Intervention Package: Base + Sanitation | District: Rachuonyo Division: East Karachuonyo Zone: Rambira |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 0 | 0 |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Girls | 0 | 0 | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 9 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 20 Distance to furthest water source (meters): 20 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 250 Distance to furthest water source (meters): 250 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 13 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: . | Doors for Girls: 2 Girl Student:Latrine Ratio: . | Doors for Boys: 2 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 52.0% Percent of students that report always using the latrine at school for a short call: 60.0% Percent of students with a latrine at home: 76.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.68 |
| --- | --- |

| KARABONDI Intervention Package: Water | District: Rachuonyo Division: East Karachuonyo Zone: Rambira |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys |  |  |  |  |  |  |  |  |  |  |  |  |
| Girls |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Enrollment: |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys |  |  |  |  |  |  |  |  |  |  |  |  |
| Girls |  |  |  |  |  |  |  |  |  |  |  |  |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 9 Students per Classroom: |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 6 Distance to furthest water source (meters): 6 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 5000 Distance to furthest water source (meters): 5000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 4000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 15 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 11 Student:Latrine Ratio: | Doors for Girls: 4 Girl Student:Latrine Ratio: | Doors for Boys: 4 Boy Student:Latrine Ratio: |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 75.0% Percent of students that report always using the latrine at school for a short call: 83.3% Percent of students with a latrine at home: 87.5% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.66667 |
| --- | --- |

| KAROMBE Intervention Package: Base/San Phase II | District: Kisumu Division: Kadibo Zone: Rabuor |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 34 | 24 | 21 |  | 22 | 26 | 23 | 20 |  | 22 | 14 | 206 |
| Girls | 44 | 25 | 28 |  | 26 | 20 | 22 | 180 |  | 15 | 12 | 372 |
| Total Enrollment: 578 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.81 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 16 | 25 | 21 |  | 20 | 17 | 11 | 10 |  | 12 | 6 | 138 |
| Girls | 22 | 13 | 12 |  | 31 | 11 | 14 | 14 |  | 13 | 2 | 132 |
| Percent of students absent in previous two weeks: 46.7% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:52.5 |  |  |  | Number of Classrooms: 10 Students per Classroom: 57.8 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 30 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 8.0 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 115.6 | Doors for Girls: 2 Girl Student:Latrine Ratio: 186 | Doors for Boys: 3 Boy Student:Latrine Ratio: 68.667 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 76.5% Percent of students that report always using the latrine at school for a short call: 58.8% Percent of students with a latrine at home: 70.6% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.58824 |
| --- | --- |

| KASINGA Intervention Package: Base + Sanitation | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 25 | 16 | 12 |  | 22 | 22 | 6 | 8 |  | 9 | 5 | 125 |
| Girls | 17 | 17 | 15 |  | 14 | 11 | 12 | 8 |  | 7 | 8 | 109 |
| Total Enrollment: 234 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.87 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 17 | 14 | 12 |  | 20 | 4 | 5 | 9 |  | 11 | 2 | 94 |
| Girls | 6 | 10 | 8 |  | 6 | 8 | 10 | 12 |  | 8 | 3 | 71 |
| Percent of students absent in previous two weeks: 70.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:26.0 |  |  |  | Number of Classrooms: 8 Students per Classroom: 29.25 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: Unprotected spring Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 500 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1900 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 16.2 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 4 Student:Latrine Ratio: 78 | Doors for Girls: 2 Girl Student:Latrine Ratio: 54.5 | Doors for Boys: 1 Boy Student:Latrine Ratio: 125 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 62.5% Percent of students that report always using the latrine at school for a short call: 62.5% Percent of students with a latrine at home: 37.5% |  |  |

Handwashing

| School provides water for handwashing: Rainy season only | Mean handwashing demonstration score: 3.79167 |
| --- | --- |

| KAUMA Intervention Package: Water Phase II | District: Rachuonyo Division: Kabondo Zone: Ramba |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 8 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Missionary group |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 3000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 4000 Distance to furthest water source (meters): 4000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 7 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): . Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: . | Doors for Girls: 4 Girl Student:Latrine Ratio: . | Doors for Boys: 2 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 56.0% Percent of students that report always using the latrine at school for a short call: 64.0% Percent of students with a latrine at home: 60.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.08 |
| --- | --- |

| KENDU MUSLIM Intervention Package: Base + Sanitation | District: Rachuonyo Division: East Karachuonyo Zone: Kendu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 40 | 25 | 23 |  | 24 | 27 | 23 | 33 |  | 32 | 28 | 255 |
| Girls | 36 | 36 | 39 |  | 38 | 34 | 32 | 35 |  | 33 | 25 | 308 |
| Total Enrollment: 563 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.21 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 2 | 1 | 2 |  | 2 | 1 | 2 | 1 |  | 4 | 1 | 16 |
| Girls | 6 | 1 | 3 |  | 1 | 2 | 1 | 0 |  | 2 | 0 | 16 |
| Percent of students absent in previous two weeks: 5.7% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 14 Student/Teacher Ratio:40.2 |  |  |  | Number of Classrooms: 8 Students per Classroom: 70.375 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 4000 Distance to furthest water source (meters): . |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 4000 Distance to furthest water source (meters): 4000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 3000 Containers with water: 0 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: . Treatment methods: |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 93.833 | Doors for Girls: 3 Girl Student:Latrine Ratio: 102.667 | Doors for Boys: 3 Boy Student:Latrine Ratio: 85 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 41.7% Percent of students that report always using the latrine at school for a short call: 45.8% Percent of students with a latrine at home: 100.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.45833 |
| --- | --- |

| KEYO Intervention Package: Base + Sanitation | District: Nyando Division: Miwani Zone: Ombeyi |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 29 | 23 | 23 |  | 20 | 18 | 19 | 13 |  | 13 | 1 | 159 |
| Girls | 25 | 18 | 16 |  | 26 | 20 | 13 | 14 |  | 7 | 7 | 146 |
| Total Enrollment: 305 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.92 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 2 | 1 | 1 |  | 3 | 0 | 1 | 0 |  | 0 | 0 | 8 |
| Girls | 3 | 2 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 6 |
| Percent of students absent in previous two weeks: 4.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:33.9 |  |  |  | Number of Classrooms: 6 Students per Classroom: 50.833 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 2000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1000 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 3 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 6.6 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 76.25 | Doors for Girls: 2 Girl Student:Latrine Ratio: 73 | Doors for Boys: 2 Boy Student:Latrine Ratio: 79.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| KIABUYA Intervention Package: Water | District: Suba Division: Gwassi Zone: Kiabuya |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 20 | 25 | 26 |  | 24 | 17 | 17 | 15 |  | 20 | 17 | 181 |
| Girls | 28 | 30 | 24 |  | 26 | 17 | 12 | 23 |  | 6 | 13 | 179 |
| Total Enrollment: 360 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.99 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 10 | 15 | 10 |  | 12 | 9 | 8 | 6 |  | 6 | 8 | 84 |
| Girls | 12 | 17 | 13 |  | 13 | 11 | 12 | 10 |  | 4 | 3 | 95 |
| Percent of students absent in previous two weeks: 49.7% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:45.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 40 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Lake Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 3500 Distance to furthest water source (meters): 3500 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 3500 Distance to furthest water source (meters): 3500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 5000 Condition of Tank: Good | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: 27.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 4 Student:Latrine Ratio: 180 | Doors for Girls: 1 Girl Student:Latrine Ratio: 179 | Doors for Boys: 1 Boy Student:Latrine Ratio: 181 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 52.0% Percent of students that report always using the latrine at school for a short call: 64.0% Percent of students with a latrine at home: 48.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.04 |
| --- | --- |

| KIANYUMBA Intervention Package: Water | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 47 | 33 | 40 |  | 38 | 29 | 25 | 25 |  | 25 | 23 | 285 |
| Girls | 50 | 37 | 40 |  | 30 | 39 | 30 | 22 |  | 20 | 8 | 276 |
| Total Enrollment: 561 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.97 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 124 | 70 | 41 |  | 40 | 30 | 10 | 10 |  | 5 | 3 | 333 |
| Girls | 134 | 100 | 52 |  | 45 | 40 | 22 | 19 |  | 16 | 8 | 436 |
| Percent of students absent in previous two weeks: 137.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:51.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 62.333 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 7 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 12.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 70.125 | Doors for Girls: 4 Girl Student:Latrine Ratio: 69 | Doors for Boys: 4 Boy Student:Latrine Ratio: 71.25 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 87.0% Percent of students that report always using the latrine at school for a short call: 91.3% Percent of students with a latrine at home: 47.8% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 4.13043 |
| --- | --- |

| KIBIGORI Intervention Package: Base | District: Nyando Division: Muhoroni Zone: Chemelil |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 19 | 44 | 24 |  | 35 | 20 | 32 | 30 |  | 25 | 16 | 245 |
| Girls | 15 | 38 | 34 |  | 32 | 35 | 25 | 28 |  | 23 | 4 | 234 |
| Total Enrollment: 479 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.96 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 106 | 19 |  | 0 | 0 | 0 | 28 |  | 31 | 0 | 188 |
| Girls | 0 | 45 | 20 |  | 0 | 0 | 0 | 5 |  | 6 | 0 | 76 |
| Percent of students absent in previous two weeks: 55.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 13 Student/Teacher Ratio:36.8 |  |  |  | Number of Classrooms: 10 Students per Classroom: 47.9 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 3000 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 800 Distance to furthest water source (meters): 3000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3200 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 13.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 119.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 117 | Doors for Boys: 2 Boy Student:Latrine Ratio: 122.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 46.2% Percent of students that report always using the latrine at school for a short call: 57.7% Percent of students with a latrine at home: 76.9% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.30769 |
| --- | --- |

| KIBUGU Intervention Package: Base | District: Rachuonyo Division: East Karachuonyo Zone: Nyakongo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 27 | 15 | 22 |  | 25 | 25 | 8 | 10 |  | 16 | 10 | 158 |
| Girls | 28 | 20 | 15 |  | 15 | 13 | 15 | 17 |  | 17 | 8 | 148 |
| Total Enrollment: 306 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.94 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 0 | 0 |  | 0 | 0 | 8 | 6 |  | 6 | 0 | 20 |
| Girls | 0 | 0 | 0 |  | 0 | 0 | 8 | 1 |  | 4 | 0 | 13 |
| Percent of students absent in previous two weeks: 10.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:38.3 |  |  |  | Number of Classrooms: 9 Students per Classroom: 34 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Public covered well/borehole Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 100 Distance to furthest water source (meters): 1500 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 100 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3500 Condition of Tank: Unusable | Gutters: Yes Meters of Gutters: 14 Condition of Gutters: Some problems |  | Gutters Currently Connected: No Days of water from tank: 22.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 4 Student:Latrine Ratio: 102 | Doors for Girls: 2 Girl Student:Latrine Ratio: 74 | Doors for Boys: 1 Boy Student:Latrine Ratio: 158 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 96.0% Percent of students that report always using the latrine at school for a short call: 96.0% Percent of students with a latrine at home: 96.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 2.68 |
| --- | --- |

| KIBURA Intervention Package: Base + Sanitation | District: Suba Division: Gwassi Zone: Kigoto |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 25 | 20 | 16 |  | 20 | 16 | 20 | 12 |  | 14 | 14 | 157 |
| Girls | 23 | 20 | 26 |  | 18 | 2 | 14 | 13 |  | 13 | 7 | 136 |
| Total Enrollment: 293 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.87 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 39 | 13 | 23 |  | 25 | 17 | 20 | 21 |  | 22 | 9 | 189 |
| Girls | 41 | 17 | 34 |  | 20 | 2 | 17 | 18 |  | 12 | 3 | 164 |
| Percent of students absent in previous two weeks: 120.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:32.6 |  |  |  | Number of Classrooms: 3 Students per Classroom: 97.667 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 2 Student:Latrine Ratio: 146.5 | Doors for Girls: 1 Girl Student:Latrine Ratio: 136 | Doors for Boys: 1 Boy Student:Latrine Ratio: 157 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 64.0% Percent of students that report always using the latrine at school for a short call: 44.0% Percent of students with a latrine at home: 44.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4 |
| --- | --- |

| KIDESWA Intervention Package: Base | District: Rachuonyo Division: East Karachuonyo Zone: Kendu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 9 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: . |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 9 Distance to furthest water source (meters): 9 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: . Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): . Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 11 Student:Latrine Ratio: . | Doors for Girls: 6 Girl Student:Latrine Ratio: . | Doors for Boys: 4 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 50.0% Percent of students that report always using the latrine at school for a short call: 69.2% Percent of students with a latrine at home: 76.9% |  |  |

Handwashing

| School provides water for handwashing: . | Mean handwashing demonstration score: 3.76923 |
| --- | --- |

| KIEMBE Intervention Package: Base + Sanitation | District: Suba Division: Gwassi Zone: Kigoto |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 20 | 22 | 28 |  | 21 | 26 | 20 | 33 |  | 32 | 31 | 233 |
| Girls | 15 | 34 | 25 |  | 30 | 26 | 26 | 14 |  | 18 | 19 | 207 |
| Total Enrollment: 440 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.89 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 2 | 3 | 4 |  | 5 | 4 | 2 | 2 |  | 3 | 4 | 29 |
| Girls | 3 | 4 | 2 |  | 3 | 4 | 1 | 2 |  | 4 | 3 | 26 |
| Percent of students absent in previous two weeks: 12.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:48.9 |  |  |  | Number of Classrooms: 9 Students per Classroom: 48.889 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Open well in compound Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): . Distance to furthest water source (meters): 150 |  | Dry Season Primary Water Source: Open public well Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 110 | Doors for Girls: 2 Girl Student:Latrine Ratio: 103.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 116.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 72.0% Percent of students that report always using the latrine at school for a short call: 60.0% Percent of students with a latrine at home: 68.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.84 |
| --- | --- |

| KIGOTO Intervention Package: Base | District: Suba Division: Gwassi Zone: Kigoto |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 27 | 46 | 31 |  | 27 | 32 | 24 | 34 |  | 30 | 28 | 279 |
| Girls | 33 | 27 | 33 |  | 20 | 22 | 33 | 27 |  | 26 | 11 | 232 |
| Total Enrollment: 511 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.83 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 12 | 7 | 7 |  | 10 | 4 | 6 | 3 |  | 2 | 0 | 51 |
| Girls | 8 | 8 | 6 |  | 8 | 8 | 10 | 7 |  | 6 | 1 | 62 |
| Percent of students absent in previous two weeks: 22.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:51.1 |  |  |  | Number of Classrooms: 9 Students per Classroom: 56.778 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Pond/dam/earthpan Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: Pond/dam/earthpan Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 500 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 85.167 | Doors for Girls: 3 Girl Student:Latrine Ratio: 77.333 | Doors for Boys: 3 Boy Student:Latrine Ratio: 93 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 63.0% Percent of students that report always using the latrine at school for a short call: 22.2% Percent of students with a latrine at home: 59.3% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 4.51852 |
| --- | --- |

| KIKUBI Intervention Package: Base | District: Suba Division: Gwassi Zone: Kiabuya |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 43 | 24 | 25 |  | 26 | 26 | 33 | 31 |  | 26 | 15 | 249 |
| Girls | 41 | 36 | 26 |  | 30 | 32 | 31 | 28 |  | 33 | 13 | 270 |
| Total Enrollment: 519 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.08 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 14 | 10 | 3 |  | 9 | 9 | 4 | 4 |  | 5 | 1 | 59 |
| Girls | 13 | 8 | 4 |  | 8 | 8 | 6 | 4 |  | 3 | 9 | 63 |
| Percent of students absent in previous two weeks: 23.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:51.9 |  |  |  | Number of Classrooms: 9 Students per Classroom: 57.667 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Lake Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 300 Distance to furthest water source (meters): 300 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 300 Distance to furthest water source (meters): 300 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 129.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 135 | Doors for Boys: 2 Boy Student:Latrine Ratio: 124.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 76.9% Percent of students that report always using the latrine at school for a short call: 69.2% Percent of students with a latrine at home: 46.2% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.34615 |
| --- | --- |

| KILITI Intervention Package: Base + Sanitation | District: Nyando Division: Miwani Zone: Ombeyi |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 31 | 39 | 46 |  | 57 | 37 | 43 | 38 |  | 49 | 22 | 362 |
| Girls | 29 | 44 | 43 |  | 43 | 42 | 46 | 43 |  | 43 | 16 | 349 |
| Total Enrollment: 711 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.96 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 19 | 11 | 7 |  | 4 | 6 | 8 | 16 |  | 9 | 1 | 81 |
| Girls | 20 | 9 | 5 |  | 5 | 8 | 10 | 13 |  | 8 | 1 | 79 |
| Percent of students absent in previous two weeks: 22.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:64.6 |  |  |  | Number of Classrooms: 9 Students per Classroom: 79 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: Yes |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 80 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 80 Distance to furthest water source (meters): 80 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1350 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 24 Condition of Gutters: Good |  | Gutters Currently Connected: No Days of water from tank: 3.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 12 Student:Latrine Ratio: 71.1 | Doors for Girls: 4 Girl Student:Latrine Ratio: 87.25 | Doors for Boys: 6 Boy Student:Latrine Ratio: 60.333 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 91.3% Percent of students that report always using the latrine at school for a short call: 65.2% Percent of students with a latrine at home: 82.6% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.13043 |
| --- | --- |

| KIMANGE Intervention Package: Base/San Phase II | District: Suba Division: Gwassi Zone: Kiabuya |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 20 | 22 | 21 |  | 12 | 16 | 17 | 27 |  | 18 | 22 | 175 |
| Girls | 14 | 29 | 20 |  | 15 | 11 | 16 | 14 |  | 20 | 8 | 147 |
| Total Enrollment: 322 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.84 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 6 | 10 | 9 |  | 6 | 10 | 1 | 2 |  | 3 | 0 | 47 |
| Girls | 7 | 10 | 11 |  | 4 | 6 | 1 | 2 |  | 5 | 0 | 46 |
| Percent of students absent in previous two weeks: 28.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:32.2 |  |  |  | Number of Classrooms: 9 Students per Classroom: 35.778 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 4 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 3000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 3000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 5000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 15 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 31.1 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 2 Total storage capacity (liters): 40 Containers with water: 2 |  | Containers with narrow mouth: 0 Containers with lid: 2 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 80.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 73.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 87.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 48.0% Percent of students that report always using the latrine at school for a short call: 32.0% Percent of students with a latrine at home: 40.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.32 |
| --- | --- |

| KIMIRA Intervention Package: Base/San Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Nyakongo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 0 | 0 |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Girls | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 9 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Pond/dam/earthpan Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2000 Condition of Tank: Good | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: . | Doors for Girls: 3 Girl Student:Latrine Ratio: . | Doors for Boys: 4 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 88.0% Percent of students that report always using the latrine at school for a short call: 84.0% Percent of students with a latrine at home: 76.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.24 |
| --- | --- |

| KING'ENYO Intervention Package: Water Phase II | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 30 | 26 | 27 |  | 26 | 24 | 20 | 28 |  | 17 | 15 | 213 |
| Girls | 28 | 17 | 14 |  | 15 | 15 | 21 | 13 |  | 18 | 6 | 147 |
| Total Enrollment: 360 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.69 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 31 | 35 | 26 |  | 30 | 22 | 14 | 19 |  | 5 | 2 | 184 |
| Girls | 33 | 28 | 32 |  | 27 | 20 | 26 | 14 |  | 8 | 0 | 188 |
| Percent of students absent in previous two weeks: 103.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:36.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 40 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 3000 Distance to furthest water source (meters): 3000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 100 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 12.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 51.429 | Doors for Girls: 3 Girl Student:Latrine Ratio: 49 | Doors for Boys: 4 Boy Student:Latrine Ratio: 53.25 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 92.0% Percent of students that report always using the latrine at school for a short call: 88.0% Percent of students with a latrine at home: 72.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.12 |
| --- | --- |

| KINYASAGA Intervention Package: Water Phase II | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 31 | 26 | 19 |  | 13 | 13 | 24 | 15 |  | 25 | 15 | 181 |
| Girls | 27 | 10 | 23 |  | 15 | 22 | 24 | 16 |  | 18 | 11 | 166 |
| Total Enrollment: 347 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.92 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 35 | 5 | 19 |  | 11 | 2 | 20 | 1 |  | 6 | 8 | 107 |
| Girls | 40 | 8 | 3 |  | 10 | 5 | 27 | 2 |  | 12 | 5 | 112 |
| Percent of students absent in previous two weeks: 63.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:28.9 |  |  |  | Number of Classrooms: 10 Students per Classroom: 34.7 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Lake Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 5000 Distance to furthest water source (meters): 5000 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 5000 Distance to furthest water source (meters): 5000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 86.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 83 | Doors for Boys: 2 Boy Student:Latrine Ratio: 90.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 72.0% Percent of students that report always using the latrine at school for a short call: 72.0% Percent of students with a latrine at home: 60.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.68 |
| --- | --- |

| KIPTURI Intervention Package: Water | District: Nyando Division: Muhoroni Zone: Menara |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 13 | 8 | 9 |  | 10 | 7 | 5 | 7 |  | 4 | 12 | 75 |
| Girls | 9 | 4 | 7 |  | 14 | 3 | 4 | 5 |  | 12 | 2 | 60 |
| Total Enrollment: 135 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.80 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 6 | 4 | 0 |  | 6 | 3 | 5 | 13 |  | 0 | 1 | 38 |
| Girls | 4 | 0 | 0 |  | 2 | 2 | 0 | 5 |  | 0 | 0 | 13 |
| Percent of students absent in previous two weeks: 37.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:13.5 |  |  |  | Number of Classrooms: 9 Students per Classroom: 15 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 400 Distance to furthest water source (meters): 400 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 400 Distance to furthest water source (meters): 400 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 5 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 14.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 45 | Doors for Girls: 2 Girl Student:Latrine Ratio: 30 | Doors for Boys: 1 Boy Student:Latrine Ratio: 75 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 79.2% Percent of students that report always using the latrine at school for a short call: 70.8% Percent of students with a latrine at home: 87.5% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.95833 |
| --- | --- |

| KIRAMBO Intervention Package: Base/San Phase II | District: Suba Division: Gwassi Zone: Nyagwethe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 24 | 33 | 18 |  | 13 | 15 | 10 | 16 |  | 11 | 10 | 150 |
| Girls | 34 | 33 | 14 |  | 20 | 9 | 3 | 3 |  | 6 | 15 | 137 |
| Total Enrollment: 287 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.91 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 6 | 7 |  | 4 | 8 | 4 | 3 |  | 2 | 3 | 41 |
| Girls | 3 | 5 | 0 |  | 3 | 7 | 5 | 2 |  | 1 | 1 | 27 |
| Percent of students absent in previous two weeks: 23.7% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:31.9 |  |  |  | Number of Classrooms: 8 Students per Classroom: 35.875 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 2000 |  | Dry Season Primary Water Source: Unprotected spring Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 3000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 4600 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 12 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 32.1 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 95.667 | Doors for Girls: 2 Girl Student:Latrine Ratio: 68.5 | Doors for Boys: 1 Boy Student:Latrine Ratio: 150 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 66.7% Percent of students that report always using the latrine at school for a short call: 37.5% Percent of students with a latrine at home: 8.3% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 4.75 |
| --- | --- |

| KISAKA Intervention Package: Base | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 23 | 16 | 15 |  | 13 | 9 | 3 | 8 |  | 4 | 9 | 100 |
| Girls | 23 | 16 | 14 |  | 7 | 10 | 8 | 2 |  | 5 | 8 | 93 |
| Total Enrollment: 193 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.93 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 13 | 10 | 10 |  | 3 | 3 | 1 | 2 |  | 2 | 2 | 46 |
| Girls | 15 | 11 | 12 |  | 5 | 2 | 3 | 1 |  | 3 | 2 | 54 |
| Percent of students absent in previous two weeks: 51.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 7 Student/Teacher Ratio:27.6 |  |  |  | Number of Classrooms: 8 Students per Classroom: 24.125 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 100 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 30000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 310.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 10 Containers with water: 0 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: . Treatment methods: |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 4 Student:Latrine Ratio: 64.333 | Doors for Girls: 2 Girl Student:Latrine Ratio: 46.5 | Doors for Boys: 1 Boy Student:Latrine Ratio: 100 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 68.0% Percent of students that report always using the latrine at school for a short call: 56.0% Percent of students with a latrine at home: 8.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 5.04 |
| --- | --- |

| KISAKU Intervention Package: Base/San Phase II | District: Suba Division: Gwassi Zone: Nyagwethe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 25 | 34 | 35 |  | 31 | 28 | 26 | 24 |  | 26 | 24 | 253 |
| Girls | 28 | 36 | 25 |  | 23 | 26 | 25 | 20 |  | 24 | 19 | 226 |
| Total Enrollment: 479 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.89 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 6 | 4 |  | 6 | 2 | 1 | 1 |  | 2 | 1 | 27 |
| Girls | 7 | 3 | 6 |  | 5 | 1 | 1 | 2 |  | 2 | 0 | 27 |
| Percent of students absent in previous two weeks: 11.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:47.9 |  |  |  | Number of Classrooms: 9 Students per Classroom: 53.222 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Other public tap Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1500 Distance to furthest water source (meters): 3000 |  | Dry Season Primary Water Source: Other public tap Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1500 Distance to furthest water source (meters): 3000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 119.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 113 | Doors for Boys: 2 Boy Student:Latrine Ratio: 126.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 30.4% Percent of students that report always using the latrine at school for a short call: 30.4% Percent of students with a latrine at home: 26.1% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.95652 |
| --- | --- |

| KISEGI Intervention Package: Base/San Phase II | District: Suba Division: Gwassi Zone: Nyagwethe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 57 | 29 | 17 |  | 23 | 20 | 20 | 25 |  | 14 | 25 | 230 |
| Girls | 55 | 25 | 20 |  | 22 | 20 | 17 | 16 |  | 10 | 6 | 191 |
| Total Enrollment: 421 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.83 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 45 | 18 | 13 |  | 26 | 3 | 6 | 10 |  | 0 | 0 | 121 |
| Girls | 31 | 22 | 48 |  | 43 | 2 | 4 | 3 |  | 0 | 0 | 153 |
| Percent of students absent in previous two weeks: 65.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:42.1 |  |  |  | Number of Classrooms: 6 Students per Classroom: 70.167 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Lake Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 52.625 | Doors for Girls: 4 Girl Student:Latrine Ratio: 47.75 | Doors for Boys: 4 Boy Student:Latrine Ratio: 57.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 76.0% Percent of students that report always using the latrine at school for a short call: 64.0% Percent of students with a latrine at home: 40.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.88 |
| --- | --- |

| KITARE Intervention Package: Base | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 33 | 22 | 22 |  | 25 | 17 | 19 | 15 |  | 13 | 15 | 181 |
| Girls | 26 | 18 | 21 |  | 73 | 22 | 31 | 10 |  | 18 | 3 | 222 |
| Total Enrollment: 403 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.23 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 6 | 4 | 7 |  | 3 | 2 | 0 | 1 |  | 0 | 0 | 23 |
| Girls | 5 | 7 | 4 |  | 4 | 3 | 0 | 2 |  | 0 | 0 | 25 |
| Percent of students absent in previous two weeks: 11.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:40.3 |  |  |  | Number of Classrooms: 9 Students per Classroom: 44.778 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Covered well/borehole in compound Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 100 Distance to furthest water source (meters): . |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 3 Condition of Gutters: Some problems |  | Gutters Currently Connected: No Days of water from tank: 5.0 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 13 Student:Latrine Ratio: 36.636 | Doors for Girls: 4 Girl Student:Latrine Ratio: 55.5 | Doors for Boys: 7 Boy Student:Latrine Ratio: 25.857 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 85.0% Percent of students that report always using the latrine at school for a short call: 75.0% Percent of students with a latrine at home: 100.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 2.7 |
| --- | --- |

| KITAWA Intervention Package: Base/San Phase II | District: Suba Division: Gwassi Zone: Nyagwethe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 18 | 19 | 18 |  | 18 | 14 | 17 | 8 |  | 7 | 16 | 135 |
| Girls | 13 | 17 | 14 |  | 16 | 14 | 15 | 14 |  | 13 | 8 | 124 |
| Total Enrollment: 259 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.92 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 21 | 6 | 8 |  | 12 | 4 | 9 | 8 |  | 4 | 4 | 76 |
| Girls | 18 | 10 | 6 |  | 7 | 6 | 4 | 4 |  | 10 | 3 | 68 |
| Percent of students absent in previous two weeks: 55.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:28.8 |  |  |  | Number of Classrooms: 8 Students per Classroom: 32.375 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Lake Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 50 Distance to furthest water source (meters): 50 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 50 Distance to furthest water source (meters): 50 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 51.8 | Doors for Girls: 3 Girl Student:Latrine Ratio: 41.333 | Doors for Boys: 2 Boy Student:Latrine Ratio: 67.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 76.0% Percent of students that report always using the latrine at school for a short call: 28.0% Percent of students with a latrine at home: 0.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 4.24 |
| --- | --- |

| KOBALA Intervention Package: Base + Sanitation | District: Rachuonyo Division: East Karachuonyo Zone: Miriu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 20 | 29 | 19 |  | 38 | 43 | 23 | 22 |  | 23 | 9 | 226 |
| Girls | 24 | 23 | 29 |  | 29 | 29 | 27 | 27 |  | 12 | 15 | 215 |
| Total Enrollment: 441 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.95 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 27 | 10 | 5 |  | 6 | 43 | 9 | 5 |  | 4 | 3 | 112 |
| Girls | 26 | 12 | 9 |  | 8 | 9 | 5 | 3 |  | 3 | 2 | 77 |
| Percent of students absent in previous two weeks: 42.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:49.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 49 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): . Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 10000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 45.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 12 Student:Latrine Ratio: 44.1 | Doors for Girls: 6 Girl Student:Latrine Ratio: 35.833 | Doors for Boys: 4 Boy Student:Latrine Ratio: 56.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 88.0% Percent of students that report always using the latrine at school for a short call: 88.0% Percent of students with a latrine at home: 72.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 2.8 |
| --- | --- |

| KOBUYA Intervention Package: Water | District: Rachuonyo Division: East Karachuonyo Zone: Miriu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 29 | 24 | 22 |  | 24 | 17 | 22 | 21 |  | 26 | 18 | 203 |
| Girls | 33 | 22 | 23 |  | 20 | 16 | 23 | 26 |  | 24 | 10 | 197 |
| Total Enrollment: 400 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.97 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 14 | 3 | 9 |  | 6 | 32 | 12 | 5 |  | 0 | 0 | 81 |
| Girls | 11 | 4 | 8 |  | 2 | 28 | 25 | 1 |  | 3 | 0 | 82 |
| Percent of students absent in previous two weeks: 40.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:33.3 |  |  |  | Number of Classrooms: 10 Students per Classroom: 40 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 2000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2000 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 8 Condition of Gutters: Some problems |  | Gutters Currently Connected: No Days of water from tank: 10.0 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 50 | Doors for Girls: 4 Girl Student:Latrine Ratio: 49.25 | Doors for Boys: 4 Boy Student:Latrine Ratio: 50.75 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 72.0% Percent of students that report always using the latrine at school for a short call: 84.0% Percent of students with a latrine at home: 96.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 2.84 |
| --- | --- |

| KOGA Intervention Package: Water Phase II | District: Suba Division: Gwassi Zone: Kigoto |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 36 | 27 | 20 |  | 29 | 23 | 27 | 15 |  | 12 | 21 | 210 |
| Girls | 28 | 24 | 38 |  | 15 | 25 | 10 | 16 |  | 16 | 8 | 180 |
| Total Enrollment: 390 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.86 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 18 | 14 | 12 |  | 15 | 11 | 12 | 5 |  | 3 | 8 | 98 |
| Girls | 10 | 12 | 12 |  | 8 | 12 | 4 | 14 |  | 6 | 9 | 87 |
| Percent of students absent in previous two weeks: 47.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:43.3 |  |  |  | Number of Classrooms: 8 Students per Classroom: 48.75 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Open public well Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1500 Distance to furthest water source (meters): 1500 |  | Dry Season Primary Water Source: Open public well Total number of sources used in dry season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1500 Distance to furthest water source (meters): 2500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 10000 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 18 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 51.3 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 65 | Doors for Girls: 4 Girl Student:Latrine Ratio: 45 | Doors for Boys: 2 Boy Student:Latrine Ratio: 105 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 88.0% Percent of students that report always using the latrine at school for a short call: 76.0% Percent of students with a latrine at home: 44.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.68 |
| --- | --- |

| KOGALO Intervention Package: Base | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 20 | 19 | 13 |  | 14 | 10 | 9 | 8 |  | 22 | 15 | 130 |
| Girls | 31 | 12 | 12 |  | 10 | 17 | 10 | 8 |  | 10 | 4 | 114 |
| Total Enrollment: 244 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.88 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 2 | 2 | 0 |  | 2 | 2 | 0 | 1 |  | 1 | 1 | 11 |
| Girls | 3 | 1 | 1 |  | 2 | 1 | 3 | 4 |  | 1 | 0 | 16 |
| Percent of students absent in previous two weeks: 11.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:24.4 |  |  |  | Number of Classrooms: 9 Students per Classroom: 27.111 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 800 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 7 Condition of Gutters: Good |  | Gutters Currently Connected: No Days of water from tank: 18.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 17 Containers with water: 0 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: . Treatment methods: |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 30.5 | Doors for Girls: 4 Girl Student:Latrine Ratio: 28.5 | Doors for Boys: 4 Boy Student:Latrine Ratio: 32.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 76.0% Percent of students that report always using the latrine at school for a short call: 56.0% Percent of students with a latrine at home: 100.0% |  |  |

Handwashing

| School provides water for handwashing: Rainy season only | Mean handwashing demonstration score: 4.08 |
| --- | --- |

| KOGANA Intervention Package: Base/San Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Rambira |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 24 | 17 | 20 |  | 17 | 18 | 8 | 18 |  | 17 | 13 | 152 |
| Girls | 22 | 16 | 11 |  | 7 | 11 | 10 | 6 |  | 17 | 5 | 105 |
| Total Enrollment: 257 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.69 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 74 | 1 | 5 |  | 9 | 22 | 24 | 30 |  | 24 | 28 | 217 |
| Girls | 40 | 7 | 20 |  | 0 | 28 | 14 | 16 |  | 4 | 20 | 149 |
| Percent of students absent in previous two weeks: 142.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:32.1 |  |  |  | Number of Classrooms: 8 Students per Classroom: 32.125 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 17.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 64.25 | Doors for Girls: 2 Girl Student:Latrine Ratio: 52.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 76 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 76.0% Percent of students with a latrine at home: 80.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 2.16 |
| --- | --- |

| KOGOLA Intervention Package: Water | District: Rachuonyo Division: Kabondo Zone: Ramba |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 12 | 12 | 9 |  | 16 | 6 | 6 | 3 |  | 4 | 16 | 84 |
| Girls | 20 | 9 | 9 |  | 8 | 5 | 9 | 4 |  | 7 | 4 | 75 |
| Total Enrollment: 159 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.89 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 5 | 2 |  | 4 | 2 | 1 | 2 |  | 2 | 3 | 25 |
| Girls | 3 | 2 | 3 |  | 1 | 1 | 1 | 1 |  | 2 | 2 | 16 |
| Percent of students absent in previous two weeks: 25.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:13.3 |  |  |  | Number of Classrooms: 10 Students per Classroom: 15.9 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: No water available Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  | Dry Season Primary Water Source: No water available Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:Chlorine/ Aquatabs/ jik |  | Amount of water treated today: . Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 39.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 37.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 42 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 72.0% Percent of students that report always using the latrine at school for a short call: 84.0% Percent of students with a latrine at home: 100.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.6 |
| --- | --- |

| KOLAL Intervention Package: Base | District: Kisumu Division: Kadibo Zone: Nyangande |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 19 | 27 | 30 |  | 34 | 30 | 34 | 37 |  | 33 | 18 | 262 |
| Girls | 17 | 30 | 31 |  | 29 | 31 | 23 | 27 |  | 33 | 24 | 245 |
| Total Enrollment: 507 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.94 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 10 | 9 |  | 4 | 3 | 4 | 7 |  | 4 | 2 | 47 |
| Girls | 6 | 9 | 10 |  | 7 | 6 | 5 | 6 |  | 3 | 3 | 55 |
| Percent of students absent in previous two weeks: 20.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:42.3 |  |  |  | Number of Classrooms: 10 Students per Classroom: 50.7 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: GWAKO/ Living Water/ Lifewater Missionary group |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: No water available Total number of sources used in dry season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 27 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 13.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 84.5 | Doors for Girls: 3 Girl Student:Latrine Ratio: 81.667 | Doors for Boys: 3 Boy Student:Latrine Ratio: 87.333 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: . |
| --- | --- |

| KOLANG Intervention Package: Base/San Phase II | District: Nyando Division: Miwani Zone: Nyang'oma |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 15 | 12 | 14 |  | 13 | 12 | 9 | 0 |  | 0 | 0 | 75 |
| Girls | 16 | 15 | 10 |  | 12 | 10 | 10 | 0 |  | 0 | 0 | 73 |
| Total Enrollment: 148 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.97 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 2 | 0 | 0 |  | 0 | 3 | 2 | . |  | . | . | . |
| Girls | 3 | 0 | 1 |  | 0 | 2 | 2 | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 4 Student/Teacher Ratio:37.0 |  |  |  | Number of Classrooms: 5 Students per Classroom: 29.6 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 3 Student:Latrine Ratio: 74 | Doors for Girls: 1 Girl Student:Latrine Ratio: 73 | Doors for Boys: 1 Boy Student:Latrine Ratio: 75 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 37.5% Percent of students that report always using the latrine at school for a short call: 45.8% Percent of students with a latrine at home: 4.2% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.08333 |
| --- | --- |

| KORU Intervention Package: Base | District: Nyando Division: Muhoroni Zone: Menara |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 46 | 58 | 40 |  | 55 | 47 | 42 | 43 |  | 56 | 27 | 414 |
| Girls | 31 | 50 | 46 |  | 49 | 46 | 50 | 45 |  | 42 | 18 | 377 |
| Total Enrollment: 791 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.91 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 25 | 42 | 16 |  | 75 | 17 | 18 | 12 |  | 39 | 4 | 248 |
| Girls | 30 | 33 | 30 |  | 37 | 13 | 10 | 6 |  | 42 | 3 | 204 |
| Percent of students absent in previous two weeks: 57.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 18 Student/Teacher Ratio:43.9 |  |  |  | Number of Classrooms: 12 Students per Classroom: 65.917 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: Yes |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Piped to school Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: Piped to school Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 12 Student:Latrine Ratio: 79.1 | Doors for Girls: 6 Girl Student:Latrine Ratio: 62.833 | Doors for Boys: 4 Boy Student:Latrine Ratio: 103.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 72.0% Percent of students that report always using the latrine at school for a short call: 88.0% Percent of students with a latrine at home: 96.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.2 |
| --- | --- |

| KORU TOWNSHIP Intervention Package: Water | District: Nyando Division: Muhoroni Zone: Menara |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 18 | 57 | 40 |  | 38 | 29 | 30 | 30 |  | 37 | 16 | 295 |
| Girls | 35 | 48 | 32 |  | 31 | 35 | 38 | 34 |  | 28 | 11 | 292 |
| Total Enrollment: 587 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.99 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 23 | 69 | 50 |  | 21 | 0 | 23 | 37 |  | 9 | 0 | 232 |
| Girls | 59 | 48 | 41 |  | 30 | 0 | 52 | 18 |  | 3 | 0 | 251 |
| Percent of students absent in previous two weeks: 82.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 13 Student/Teacher Ratio:45.2 |  |  |  | Number of Classrooms: 10 Students per Classroom: 58.7 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 100 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1000 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 4600 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 15.7 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 97.833 | Doors for Girls: 3 Girl Student:Latrine Ratio: 97.333 | Doors for Boys: 3 Boy Student:Latrine Ratio: 98.333 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 39.1% Percent of students that report always using the latrine at school for a short call: 56.5% Percent of students with a latrine at home: 91.3% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 4.69565 |
| --- | --- |

| KORWANA Intervention Package: Water | District: Kisumu Division: Kadibo Zone: Nyan'gande |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 49 | 25 | 23 |  | 29 | 24 | 21 | 18 |  | 12 | 10 | 211 |
| Girls | 26 | 28 | 24 |  | 23 | 20 | 15 | 23 |  | 11 | 9 | 179 |
| Total Enrollment: 390 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.85 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 24 | 16 |  | 4 | 14 | 15 | 5 |  | 7 | 3 | 88 |
| Girls | 0 | 22 | 25 |  | 34 | 13 | 27 | 9 |  | 12 | 3 | 145 |
| Percent of students absent in previous two weeks: 59.7% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:35.5 |  |  |  | Number of Classrooms: 10 Students per Classroom: 39 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Missionary group |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: No water available Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 24 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 15.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 97.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 89.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 105.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 64.0% Percent of students that report always using the latrine at school for a short call: 36.0% Percent of students with a latrine at home: 88.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.8 |
| --- | --- |

| KOTIENDITI Intervention Package: Base | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 25 | 20 | 16 |  | 26 | 17 | 20 | 23 |  | 24 | 18 | 189 |
| Girls | 18 | 20 | 18 |  | 14 | 23 | 22 | 25 |  | 27 | 14 | 181 |
| Total Enrollment: 370 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.96 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 5 | 2 | 4 |  | 0 | 0 | 3 | 1 |  | 0 | 0 | 15 |
| Girls | 3 | 3 | 2 |  | 1 | 0 | 5 | 2 |  | 1 | 0 | 17 |
| Percent of students absent in previous two weeks: 8.7% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:37.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 41.111 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Protected spring Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 12.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 52.857 | Doors for Girls: 4 Girl Student:Latrine Ratio: 45.25 | Doors for Boys: 3 Boy Student:Latrine Ratio: 63 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: . |
| --- | --- |

| KOTIENO GUMBA Intervention Package: Water Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Kendu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 20 | 19 | 18 |  | 25 | 20 | 12 | 30 |  | 31 | 16 | 191 |
| Girls | 10 | 14 | 24 |  | 36 | 26 | 25 | 20 |  | 20 | 10 | 185 |
| Total Enrollment: 376 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.97 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 8 | 1 | 3 |  | 4 | 7 | 2 | 4 |  | 6 | 4 | 39 |
| Girls | 8 | 5 | 0 |  | 12 | 8 | 2 | 0 |  | 0 | 2 | 37 |
| Percent of students absent in previous two weeks: 20.2% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:37.6 |  |  |  | Number of Classrooms: 14 Students per Classroom: 26.857 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 5000 Distance to furthest water source (meters): 5000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 6 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 12.2 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:WaterGuard |  | Amount of water treated today: 50 Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 75.2 | Doors for Girls: 2 Girl Student:Latrine Ratio: 92.5 | Doors for Boys: 3 Boy Student:Latrine Ratio: 63.667 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 92.0% Percent of students that report always using the latrine at school for a short call: 64.0% Percent of students with a latrine at home: 88.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 2.92 |
| --- | --- |

| KOWALLA Intervention Package: Base | District: Kisumu Division: Kadibo Zone: Rabuor |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 35 | 15 | 11 |  | 23 | 27 | 15 | 19 |  | 11 | 13 | 169 |
| Girls | 45 | 22 | 23 |  | 23 | 15 | 30 | 25 |  | 13 | 5 | 201 |
| Total Enrollment: 370 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.19 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 6 | 4 | 9 |  | 12 | 3 | 2 | 1 |  | 2 | 3 | 42 |
| Girls | 2 | 0 | 7 |  | 13 | 5 | 6 | 0 |  | 0 | 2 | 35 |
| Percent of students absent in previous two weeks: 20.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:46.3 |  |  |  | Number of Classrooms: 10 Students per Classroom: 37 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: GWAKO/ Living Water/ Lifewater |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 7 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 5.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 61.667 | Doors for Girls: 4 Girl Student:Latrine Ratio: 50.25 | Doors for Boys: 2 Boy Student:Latrine Ratio: 84.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| KOWIDI Intervention Package: Base/San Phase II | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 17 | 10 | 14 |  | 13 | 7 | 8 | 5 |  | 3 | 5 | 82 |
| Girls | 14 | 13 | 13 |  | 17 | 8 | 8 | 17 |  | 9 | 5 | 104 |
| Total Enrollment: 186 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.27 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 2 | 1 | 0 |  | 2 | 0 | 0 | 1 |  | 0 | 0 | 6 |
| Girls | 3 | 3 | 0 |  | 0 | 0 | 0 | 1 |  | 0 | 0 | 7 |
| Percent of students absent in previous two weeks: 7.0% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:23.3 |  |  |  | Number of Classrooms: 8 Students per Classroom: 23.25 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: No water available Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: Protected spring Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 5500 Distance to furthest water source (meters): 5500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 4 Student:Latrine Ratio: 46.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 52 | Doors for Boys: 2 Boy Student:Latrine Ratio: 41 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 96.0% Percent of students with a latrine at home: 84.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.92 |
| --- | --- |

| KOYOMBE Intervention Package: Base + Sanitation | District: Suba Division: Gwassi Zone: Nyagwethe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 29 | 20 | 10 |  | 23 | 26 | 27 | 17 |  | 30 | 25 | 207 |
| Girls | 24 | 26 | 30 |  | 28 | 19 | 16 | 23 |  | 12 | 5 | 183 |
| Total Enrollment: 390 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.88 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 84 | 16 | 29 |  | 28 | 20 | 23 | 31 |  | 20 | 10 | 261 |
| Girls | 83 | 40 | 18 |  | 22 | 34 | 21 | 22 |  | 25 | 6 | 271 |
| Percent of students absent in previous two weeks: 136.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:39.0 |  |  |  | Number of Classrooms: 8 Students per Classroom: 48.75 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 4 Total storage capacity (liters): 240 Containers with water: 0 |  | Containers with narrow mouth: 0 Containers with lid: 4 Containers with functioning tap: 4 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:WaterGuard |  | Amount of water treated today: 60 Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 97.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 91.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 103.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| KUMUINDA Intervention Package: Base + Sanitation | District: Suba Division: Gwassi Zone: Nyagwethe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 13 | 15 | 17 |  | 16 | 12 | 5 | 5 |  | 6 | 6 | 95 |
| Girls | 32 | 12 | 12 |  | 11 | 16 | 18 | 8 |  | 10 | 6 | 125 |
| Total Enrollment: 220 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.32 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 40 | 36 | 31 |  | 20 | 17 | 18 | 15 |  | 12 | 5 | 194 |
| Girls | 46 | 32 | 32 |  | 18 | 19 | 14 | 20 |  | 15 | 2 | 198 |
| Percent of students absent in previous two weeks: 178.2% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:27.5 |  |  |  | Number of Classrooms: 4 Students per Classroom: 55 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 3000 Distance to furthest water source (meters): 3000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 3000 Distance to furthest water source (meters): 3000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 2 Student:Latrine Ratio: 110 | Doors for Girls: 1 Girl Student:Latrine Ratio: 125 | Doors for Boys: 1 Boy Student:Latrine Ratio: 95 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| LAMBWE Intervention Package: Base + Sanitation | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 9 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Public covered well/borehole Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 2000 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: . Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): . Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:WaterGuard |  | Amount of water treated today: 160 Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: . | Doors for Girls: 2 Girl Student:Latrine Ratio: . | Doors for Boys: 2 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 52.0% Percent of students that report always using the latrine at school for a short call: 76.0% Percent of students with a latrine at home: 88.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.84 |
| --- | --- |

| LELA Intervention Package: Base + Sanitation | District: Kisumu Division: Kadibo Zone: Rabuor |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 42 | 30 | 15 |  | 16 | 25 | 15 | 14 |  | 13 | 12 | 182 |
| Girls | 45 | 28 | 10 |  | 20 | 21 | 16 | 20 |  | 22 | 6 | 188 |
| Total Enrollment: 370 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.03 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 7 | 10 | 3 |  | 6 | 34 | 16 | 4 |  | 6 | 3 | 89 |
| Girls | 7 | 16 | 12 |  | 6 | 16 | 21 | 4 |  | 4 | 0 | 86 |
| Percent of students absent in previous two weeks: 47.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:37.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 41.111 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 25 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 12.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 46.25 | Doors for Girls: 4 Girl Student:Latrine Ratio: 47 | Doors for Boys: 4 Boy Student:Latrine Ratio: 45.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 84.0% Percent of students that report always using the latrine at school for a short call: 60.0% Percent of students with a latrine at home: 92.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.6 |
| --- | --- |

| LIERA Intervention Package: Base + Sanitation | District: Rachuonyo Division: East Karachuonyo Zone: Kendu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys |  |  |  |  |  |  |  |  |  |  |  |  |
| Girls |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Enrollment: |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys |  |  |  |  |  |  |  |  |  |  |  |  |
| Girls |  |  |  |  |  |  |  |  |  |  |  |  |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 10 Students per Classroom: |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 4 Distance to furthest water source (meters): 4 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 3000 Distance to furthest water source (meters): 3000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 15 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: | Doors for Girls: 1 Girl Student:Latrine Ratio: | Doors for Boys: 2 Boy Student:Latrine Ratio: |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 72.0% Percent of students that report always using the latrine at school for a short call: 84.0% Percent of students with a latrine at home: 76.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.72 |
| --- | --- |

| LIETA Intervention Package: Base + Sanitation | District: Rachuonyo Division: East Karachuonyo Zone: Nyakongo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Girls | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 8 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 15 Distance to furthest water source (meters): 700 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 500 Distance to furthest water source (meters): 15 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 12 Condition of Gutters: Unusable |  | Gutters Currently Connected: No Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: . | Doors for Girls: 2 Girl Student:Latrine Ratio: . | Doors for Boys: 2 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| LIGONGO Intervention Package: Water | District: Suba Division: Gwassi Zone: Kiabuya |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 21 | 18 | 8 |  | 17 | 9 | 4 | 7 |  | 5 | 8 | 97 |
| Girls | 19 | 14 | 14 |  | 8 | 10 | 8 | 14 |  | 5 | 4 | 96 |
| Total Enrollment: 193 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.99 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 12 | 10 | 12 |  | 10 | 7 | 5 | 5 |  | 1 | 0 | 62 |
| Girls | 9 | 12 | 8 |  | 5 | 9 | 1 | 6 |  | 3 | 0 | 53 |
| Percent of students absent in previous two weeks: 59.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:24.1 |  |  |  | Number of Classrooms: 9 Students per Classroom: 21.444 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: No |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 8000 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 8000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3200 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 33.2 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 2 Total storage capacity (liters): 40 Containers with water: 0 |  | Containers with narrow mouth: 2 Containers with lid: 2 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 48.25 | Doors for Girls: 2 Girl Student:Latrine Ratio: 48 | Doors for Boys: 2 Boy Student:Latrine Ratio: 48.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 58.3% Percent of students that report always using the latrine at school for a short call: 50.0% Percent of students with a latrine at home: 33.3% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.29167 |
| --- | --- |

| MAGUNGA Intervention Package: Water | District: Suba Division: Gwassi Zone: Kigoto |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 18 | 20 | 20 |  | 30 | 20 | 28 | 30 |  | 28 | 22 | 216 |
| Girls | 22 | 23 | 28 |  | 23 | 24 | 30 | 21 |  | 32 | 24 | 227 |
| Total Enrollment: 443 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.05 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 2 | 1 |  | 4 | 2 | 2 | 4 |  | 4 | 0 | 23 |
| Girls | 7 | 2 | 2 |  | 1 | 1 | 3 | 7 |  | 3 | 0 | 26 |
| Percent of students absent in previous two weeks: 11.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:44.3 |  |  |  | Number of Classrooms: 8 Students per Classroom: 55.375 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: Yes |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Protected spring Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 200 Distance to furthest water source (meters): 200 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 4000 Distance to furthest water source (meters): 4000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 5000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 24 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 22.6 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 110.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 113.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 108 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 68.0% Percent of students that report always using the latrine at school for a short call: 56.0% Percent of students with a latrine at home: 72.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.2 |
| --- | --- |

| MAKAKA Intervention Package: Water Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Kendu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 17 | 34 | 22 |  | 17 | 17 | 20 | 24 |  | 20 | 11 | 182 |
| Girls | 32 | 26 | 18 |  | 19 | 21 | 16 | 12 |  | 14 | 9 | 167 |
| Total Enrollment: 349 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.92 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 16 | 30 | 30 |  | 24 | 10 | 2 | 14 |  | 20 | 3 | 149 |
| Girls | 43 | 34 | 37 |  | 10 | 14 | 20 | 3 |  | 5 | 1 | 167 |
| Percent of students absent in previous two weeks: 90.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:43.6 |  |  |  | Number of Classrooms: 9 Students per Classroom: 38.778 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 2000 |  | Dry Season Primary Water Source: Open public well Total number of sources used in dry season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 12300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 33 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 70.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 58.167 | Doors for Girls: 3 Girl Student:Latrine Ratio: 55.667 | Doors for Boys: 3 Boy Student:Latrine Ratio: 60.667 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 92.0% Percent of students that report always using the latrine at school for a short call: 84.0% Percent of students with a latrine at home: 80.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.04 |
| --- | --- |

| MAKINDU Intervention Package: Base | District: Nyando Division: Muhoroni Zone: Chemelil |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 20 | 24 | 29 |  | 20 | 30 | 20 | 18 |  | 27 | 23 | 211 |
| Girls | 26 | 40 | 31 |  | 28 | 16 | 15 | 12 |  | 17 | 18 | 203 |
| Total Enrollment: 414 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.96 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 13 | 4 | 8 |  | 4 | 1 | 4 | 1 |  | 5 | 2 | 42 |
| Girls | 13 | 5 | 6 |  | 6 | 1 | 0 | 0 |  | 2 | 1 | 34 |
| Percent of students absent in previous two weeks: 18.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:46.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 46 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Covered well/borehole in compound Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 2000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 300 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3000 Condition of Tank: Unusable | Gutters: Yes Meters of Gutters: 3 Condition of Gutters: Unusable |  | Gutters Currently Connected: No Days of water from tank: 14.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 4 Student:Latrine Ratio: 207 | Doors for Girls: 1 Girl Student:Latrine Ratio: 203 | Doors for Boys: 1 Boy Student:Latrine Ratio: 211 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 40.0% Percent of students that report always using the latrine at school for a short call: 80.0% Percent of students with a latrine at home: 100.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.88 |
| --- | --- |

| MANGO Intervention Package: Water | District: Rachuonyo Division: East Karachuonyo Zone: Nyakongo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Girls | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 9 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 8 Distance to furthest water source (meters): 8 |  | Dry Season Primary Water Source: Pond/dam/earthpan Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 14000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 4600 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 20 Containers with water: 1 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:WaterGuard |  | Amount of water treated today: 20 Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: . | Doors for Girls: 3 Girl Student:Latrine Ratio: . | Doors for Boys: 3 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 82.6% Percent of students that report always using the latrine at school for a short call: 73.9% Percent of students with a latrine at home: 65.2% |  |  |

Handwashing

| School provides water for handwashing: Rainy season only | Mean handwashing demonstration score: 4.91304 |
| --- | --- |

| MANYALA Intervention Package: Water | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 10 | 19 | 20 |  | 23 | 14 | 15 | 16 |  | 19 | 16 | 152 |
| Girls | 14 | 20 | 21 |  | 15 | 18 | 18 | 18 |  | 13 | 5 | 142 |
| Total Enrollment: 294 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.93 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 2 | 0 | 1 |  | 4 | 2 | 3 | 0 |  | 3 | 1 | 16 |
| Girls | 1 | 4 | 1 |  | 1 | 0 | 1 | 1 |  | 1 | 2 | 12 |
| Percent of students absent in previous two weeks: 9.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:29.4 |  |  |  | Number of Classrooms: 9 Students per Classroom: 32.667 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Bring from home Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): . Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 20000 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 40 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 136.1 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 36.75 | Doors for Girls: 4 Girl Student:Latrine Ratio: 35.5 | Doors for Boys: 4 Boy Student:Latrine Ratio: 38 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 87.5% Percent of students that report always using the latrine at school for a short call: 100.0% Percent of students with a latrine at home: 58.3% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.875 |
| --- | --- |

| MASOGO Intervention Package: Base + Sanitation | District: Kisumu Division: Kadibo Zone: Rabuor |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 16 | 16 | 11 |  | 17 | 13 | 7 | 22 |  | 22 | 13 | 137 |
| Girls | 12 | 13 | 18 |  | 11 | 11 | 20 | 22 |  | 16 | 9 | 132 |
| Total Enrollment: 269 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.96 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 11 | 6 | 5 |  | 10 | 3 | 0 | 6 |  | 7 | 2 | 50 |
| Girls | 14 | 12 | 10 |  | 2 | 5 | 2 | 2 |  | 1 | 1 | 49 |
| Percent of students absent in previous two weeks: 36.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 7 Student/Teacher Ratio:38.4 |  |  |  | Number of Classrooms: 9 Students per Classroom: 29.889 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: GWAKO/ Living Water/ Lifewater Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 220 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 220 Distance to furthest water source (meters): 220 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 23000 Condition of Tank: Good | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: 171.0 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 3 Total storage capacity (liters): 13 Containers with water: 1 |  | Containers with narrow mouth: 3 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 44.833 | Doors for Girls: 4 Girl Student:Latrine Ratio: 33 | Doors for Boys: 2 Boy Student:Latrine Ratio: 68.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 40.0% Percent of students that report always using the latrine at school for a short call: 52.0% Percent of students with a latrine at home: 96.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.76 |
| --- | --- |

| MIGINGO Intervention Package: Base/San Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Nyakongo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 30 | 14 | 25 |  | 17 | 12 | 12 | 10 |  | 24 | 14 | 158 |
| Girls | 26 | 23 | 20 |  | 18 | 16 | 19 | 25 |  | 14 | 11 | 172 |
| Total Enrollment: 330 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.09 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 8 | 5 | 23 |  | 0 | 16 | 6 | 2 |  | 19 | 8 | 87 |
| Girls | 11 | 10 | 44 |  | 0 | 10 | 26 | 4 |  | 6 | 3 | 114 |
| Percent of students absent in previous two weeks: 60.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:33.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 36.667 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: No water available Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 13.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 41.25 | Doors for Girls: 4 Girl Student:Latrine Ratio: 43 | Doors for Boys: 4 Boy Student:Latrine Ratio: 39.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| MIKIRIA Intervention Package: Base/San Phase II | District: Nyando Division: Miwani Zone: Nyang'oma |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 28 | 23 | 24 |  | 22 | 21 | 22 | 20 |  | 12 | 6 | 178 |
| Girls | 13 | 24 | 18 |  | 17 | 17 | 18 | 16 |  | 10 | 7 | 140 |
| Total Enrollment: 318 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.79 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 9 | 1 |  | 2 | 4 | 5 | 4 |  | 3 | 0 | 28 |
| Girls | 0 | 7 | 0 |  | 0 | 0 | 4 | 1 |  | 4 | 3 | 19 |
| Percent of students absent in previous two weeks: 14.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:28.9 |  |  |  | Number of Classrooms: 8 Students per Classroom: 39.75 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Public covered well/borehole Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 200 Distance to furthest water source (meters): 200 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1500 Condition of Tank: Unusable | Gutters: Yes Meters of Gutters: 9 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 9.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 4 Student:Latrine Ratio: 79.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 70 | Doors for Boys: 2 Boy Student:Latrine Ratio: 89 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 52.0% Percent of students that report always using the latrine at school for a short call: 28.0% Percent of students with a latrine at home: 88.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4 |
| --- | --- |

| MILENYE Intervention Package: Base | District: Nyando Division: Miwani Zone: Nyang'oma |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 47 | 15 | 35 |  | 36 | 35 | 24 | 31 |  | 27 | 12 | 262 |
| Girls | 60 | 26 | 30 |  | 26 | 38 | 21 | 27 |  | 22 | 6 | 256 |
| Total Enrollment: 518 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.98 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 21 | 9 | 11 |  | 9 | 17 | 12 | 16 |  | 7 | 4 | 106 |
| Girls | 27 | 14 | 16 |  | 10 | 16 | 11 | 11 |  | 9 | 3 | 117 |
| Percent of students absent in previous two weeks: 43.0% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:51.8 |  |  |  | Number of Classrooms: 9 Students per Classroom: 57.556 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Missionary group |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Public covered well/borehole Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2000 Condition of Tank: Good | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: 7.7 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 129.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 128 | Doors for Boys: 2 Boy Student:Latrine Ratio: 131 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 36.0% Percent of students with a latrine at home: 4.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 2.36 |
| --- | --- |

| MIREMBE Intervention Package: Base | District: Rachuonyo Division: East Karachuonyo Zone: Rambira |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 25 | 14 | 16 |  | 22 | 30 | 20 | 11 |  | 17 | 9 | 164 |
| Girls | 28 | 19 | 14 |  | 12 | 19 | 10 | 9 |  | 17 | 10 | 138 |
| Total Enrollment: 302 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.84 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 14 | 1 | 5 |  | 1 | 4 | 2 | 4 |  | 5 | 0 | 36 |
| Girls | 6 | 2 | 2 |  | 0 | 4 | 0 | 3 |  | 4 | 0 | 21 |
| Percent of students absent in previous two weeks: 18.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:30.2 |  |  |  | Number of Classrooms: 8 Students per Classroom: 37.75 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 6 Distance to furthest water source (meters): 6 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 15 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 19.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:WaterGuard |  | Amount of water treated today: 0 Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 75.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 69 | Doors for Boys: 2 Boy Student:Latrine Ratio: 82 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 84.6% Percent of students that report always using the latrine at school for a short call: 80.8% Percent of students with a latrine at home: 57.7% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.11538 |
| --- | --- |

| MSARE Intervention Package: Base | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 15 | 25 | 18 |  | 30 | 23 | 26 | 28 |  | 23 | 20 | 208 |
| Girls | 20 | 24 | 19 |  | 24 | 35 | 23 | 29 |  | 20 | 12 | 206 |
| Total Enrollment: 414 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.99 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 48 | 18 |  | 28 | 26 | 23 | 10 |  | 20 | 5 | 178 |
| Girls | 0 | 50 | 20 |  | 16 | 37 | 25 | 8 |  | 9 | 6 | 171 |
| Percent of students absent in previous two weeks: 84.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 7 Student/Teacher Ratio:59.1 |  |  |  | Number of Classrooms: 11 Students per Classroom: 37.636 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 15000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 100 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 72.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 2 Total storage capacity (liters): 40 Containers with water: 0 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 11 Student:Latrine Ratio: 41.4 | Doors for Girls: 4 Girl Student:Latrine Ratio: 51.5 | Doors for Boys: 6 Boy Student:Latrine Ratio: 34.667 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 58.3% Percent of students that report always using the latrine at school for a short call: 62.5% Percent of students with a latrine at home: 54.2% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 4.125 |
| --- | --- |

| MUHORONI TOWNSHIP Intervention Package: Base + Sanitation | District: Nyando Division: Muhoroni Zone: Menara |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 133 | 60 | 60 |  | 72 | 42 | 34 | 31 |  | 22 | 23 | 477 |
| Girls | 155 | 83 | 60 |  | 70 | 58 | 46 | 48 |  | 36 | 18 | 574 |
| Total Enrollment: 1051 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.20 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 31 | 32 |  | 31 | 15 | 4 | 2 |  | 13 | 0 | 128 |
| Girls | 0 | 92 | 32 |  | 31 | 34 | 35 | 10 |  | 20 | 8 | 262 |
| Percent of students absent in previous two weeks: 37.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 16 Student/Teacher Ratio:65.7 |  |  |  | Number of Classrooms: 12 Students per Classroom: 87.583 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 10000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 44 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 19.0 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 3 Student:Latrine Ratio: 525.5 | Doors for Girls: 1 Girl Student:Latrine Ratio: 574 | Doors for Boys: 1 Boy Student:Latrine Ratio: 477 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 52.0% Percent of students that report always using the latrine at school for a short call: 60.0% Percent of students with a latrine at home: 92.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.96 |
| --- | --- |

| MUKENDE Intervention Package: Water Phase II | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 21 | 11 | 10 |  | 10 | 14 | 10 | 10 |  | 15 | 10 | 111 |
| Girls | 27 | 10 | 7 |  | 12 | 12 | 10 | 8 |  | 11 | 6 | 103 |
| Total Enrollment: 214 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.93 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 3 | 6 |  | 9 | 10 | 8 | 4 |  | 5 | 3 | 52 |
| Girls | 5 | 6 | 10 |  | 12 | 15 | 6 | 2 |  | 2 | 4 | 62 |
| Percent of students absent in previous two weeks: 53.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:26.8 |  |  |  | Number of Classrooms: 9 Students per Classroom: 23.778 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Unprotected spring Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 4000 Distance to furthest water source (meters): 4000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 15000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 86 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 140.2 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 35.667 | Doors for Girls: 3 Girl Student:Latrine Ratio: 34.333 | Doors for Boys: 3 Boy Student:Latrine Ratio: 37 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 84.0% Percent of students that report always using the latrine at school for a short call: 60.0% Percent of students with a latrine at home: 52.0% |  |  |

Handwashing

| School provides water for handwashing: Always | Mean handwashing demonstration score: 3.76 |
| --- | --- |

| MWIYOYO Intervention Package: Base | District: Suba Division: Gwassi Zone: Nyagwethe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 32 | 34 | 31 |  | 29 | 14 | 20 | 16 |  | 20 | 15 | 211 |
| Girls | 16 | 20 | 36 |  | 30 | 15 | 15 | 14 |  | 7 | 6 | 159 |
| Total Enrollment: 370 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.75 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 10 | 6 | 3 |  | 4 | 5 | 2 | 2 |  | 1 | 1 | 34 |
| Girls | 4 | 2 | 1 |  | 5 | 6 | 1 | 2 |  | 2 | 0 | 23 |
| Percent of students absent in previous two weeks: 15.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:33.6 |  |  |  | Number of Classrooms: 9 Students per Classroom: 41.111 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 3000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 123.333 | Doors for Girls: 2 Girl Student:Latrine Ratio: 79.5 | Doors for Boys: 1 Boy Student:Latrine Ratio: 211 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| NDHURU Intervention Package: Base/San Phase II | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 32 | 27 | 20 |  | 21 | 22 | 20 | 12 |  | 15 | 13 | 182 |
| Girls | 17 | 23 | 25 |  | 20 | 19 | 12 | 10 |  | 14 | 10 | 150 |
| Total Enrollment: 332 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.82 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 5 | 13 | 5 |  | 7 | 9 | 11 | 6 |  | 7 | 8 | 71 |
| Girls | 10 | 10 | 10 |  | 4 | 5 | 2 | 2 |  | 8 | 3 | 54 |
| Percent of students absent in previous two weeks: 37.7% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:33.2 |  |  |  | Number of Classrooms: 8 Students per Classroom: 41.5 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Lake Total number of sources used in rainy season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): . Distance to furthest water source (meters): . |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): . Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 60000 Condition of Tank: Unusable | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Unusable |  | Gutters Currently Connected: No Days of water from tank: 361.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 41.5 | Doors for Girls: 4 Girl Student:Latrine Ratio: 37.5 | Doors for Boys: 4 Boy Student:Latrine Ratio: 45.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 83.3% Percent of students that report always using the latrine at school for a short call: 50.0% Percent of students with a latrine at home: 20.8% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 5.08333 |
| --- | --- |

| NGETA Intervention Package: Water Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Nyakongo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 19 | 12 | 14 |  | 16 | 22 | 23 | 13 |  | 24 | 18 | 161 |
| Girls | 28 | 14 | 13 |  | 14 | 15 | 19 | 10 |  | 18 | 10 | 141 |
| Total Enrollment: 302 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.88 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 10 | 0 |  | 13 | 0 | 46 | 6 |  | 0 | 4 | 79 |
| Girls | 0 | 26 | 0 |  | 23 | 0 | 10 | 38 |  | 0 | 4 | 101 |
| Percent of students absent in previous two weeks: 59.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:33.6 |  |  |  | Number of Classrooms: 9 Students per Classroom: 33.556 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 600 |  | Dry Season Primary Water Source: Pond/dam/earthpan Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 600 Distance to furthest water source (meters): 2600 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 13500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 22 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 89.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 60.4 | Doors for Girls: 3 Girl Student:Latrine Ratio: 47 | Doors for Boys: 2 Boy Student:Latrine Ratio: 80.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 88.0% Percent of students that report always using the latrine at school for a short call: 92.0% Percent of students with a latrine at home: 88.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 2.88 |
| --- | --- |

| NGITI Intervention Package: Base/San Phase II | District: Nyando Division: Miwani Zone: Masogo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 13 | 10 | 11 |  | 9 | 9 | 11 | 10 |  | 9 | 10 | 92 |
| Girls | 13 | 14 | 16 |  | 13 | 7 | 13 | 12 |  | 14 | 1 | 103 |
| Total Enrollment: 195 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.12 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 5 | 4 | 3 |  | 1 | 2 | 0 | 1 |  | 1 | 1 | 18 |
| Girls | 9 | 5 | 5 |  | 3 | 0 | 3 | 2 |  | 3 | 0 | 30 |
| Percent of students absent in previous two weeks: 24.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:19.5 |  |  |  | Number of Classrooms: 9 Students per Classroom: 21.667 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 150 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 200 Distance to furthest water source (meters): 150 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 900 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 9 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 9.2 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 48.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 51.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 46 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| NG'OCHE Intervention Package: Water Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Kendu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 13 | 10 | 7 |  | 12 | 9 | 7 | 8 |  | 13 | 8 | 87 |
| Girls | 19 | 16 | 9 |  | 11 | 11 | 12 | 5 |  | 6 | 7 | 96 |
| Total Enrollment: 183 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.10 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 8 | 3 | 2 |  | 5 | 1 | 1 | 3 |  | 1 | 2 | 26 |
| Girls | 5 | 5 | 7 |  | 2 | 5 | 2 | 2 |  | 1 | 2 | 31 |
| Percent of students absent in previous two weeks: 31.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:22.9 |  |  |  | Number of Classrooms: 10 Students per Classroom: 18.3 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 10 Distance to furthest water source (meters): 10 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 4000 Distance to furthest water source (meters): 4000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 9 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 32.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:WaterGuard |  | Amount of water treated today: 0 Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 61 | Doors for Girls: 2 Girl Student:Latrine Ratio: 48 | Doors for Boys: 1 Boy Student:Latrine Ratio: 87 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 70.8% Percent of students that report always using the latrine at school for a short call: 70.8% Percent of students with a latrine at home: 45.8% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.70833 |
| --- | --- |

| NGULA Intervention Package: Base | District: Nyando Division: Miwani Zone: Nyang'oma |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 10 | 8 | 5 |  | 7 | 6 | 9 | 8 |  | 15 | 5 | 73 |
| Girls | 13 | 10 | 11 |  | 10 | 5 | 7 | 11 |  | 12 | 0 | 79 |
| Total Enrollment: 152 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.08 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 3 | 4 | 3 |  | 3 | 8 | 0 | 4 |  | 1 | 0 | 26 |
| Girls | 4 | 5 | 2 |  | 4 | 4 | 2 | 4 |  | 9 | 0 | 34 |
| Percent of students absent in previous two weeks: 39.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:16.9 |  |  |  | Number of Classrooms: 8 Students per Classroom: 19 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 500 Distance to furthest water source (meters): . |  | Dry Season Primary Water Source: Pond/dam/earthpan Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 500 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 38 | Doors for Girls: 2 Girl Student:Latrine Ratio: 39.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 36.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 16.0% Percent of students that report always using the latrine at school for a short call: 24.0% Percent of students with a latrine at home: 52.0% |  |  |

Handwashing

| School provides water for handwashing: Rainy season only | Mean handwashing demonstration score: 3.36 |
| --- | --- |

| NYABOMO Intervention Package: Water Phase II | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 38 | 29 | 28 |  | 36 | 34 | 34 | 29 |  | 30 | 44 | 302 |
| Girls | 35 | 36 | 35 |  | 29 | 34 | 19 | 32 |  | 31 | 21 | 272 |
| Total Enrollment: 574 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.90 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 23 | 13 | 16 |  | 6 | 10 | 10 | 14 |  | 13 | 21 | 126 |
| Girls | 90 | 14 | 24 |  | 16 | 14 | 13 | 16 |  | 23 | 12 | 222 |
| Percent of students absent in previous two weeks: 60.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:57.4 |  |  |  | Number of Classrooms: 8 Students per Classroom: 71.75 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 4000 |  | Dry Season Primary Water Source: Protected spring Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 4000 Distance to furthest water source (meters): 6000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 10000 Condition of Tank: Good | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: 34.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 82 | Doors for Girls: 3 Girl Student:Latrine Ratio: 90.667 | Doors for Boys: 4 Boy Student:Latrine Ratio: 75.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 50.0% Percent of students that report always using the latrine at school for a short call: 65.4% Percent of students with a latrine at home: 65.4% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.88462 |
| --- | --- |

| NYADUNDO Intervention Package: Base/San Phase II | District: Nyando Division: Miwani Zone: Nyang'oma |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 28 | 19 | 14 |  | 19 | 20 | 15 | 11 |  | 12 | 6 | 144 |
| Girls | 36 | 18 | 18 |  | 20 | 27 | 15 | 19 |  | 6 | 5 | 164 |
| Total Enrollment: 308 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.14 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 6 | 3 | 5 |  | 5 | 6 | 8 | 4 |  | 1 | 0 | 38 |
| Girls | 12 | 8 | 6 |  | 10 | 7 | 2 | 1 |  | 0 | 0 | 46 |
| Percent of students absent in previous two weeks: 27.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:30.8 |  |  |  | Number of Classrooms: 8 Students per Classroom: 38.5 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 200 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 200 Distance to furthest water source (meters): 200 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 12 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 14.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 38.5 | Doors for Girls: 4 Girl Student:Latrine Ratio: 41 | Doors for Boys: 4 Boy Student:Latrine Ratio: 36 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 92.0% Percent of students that report always using the latrine at school for a short call: 64.0% Percent of students with a latrine at home: 40.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.52 |
| --- | --- |

| NYAKASERA Intervention Package: Water | District: Suba Division: Gwassi Zone: Nyagwethe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 13 | 21 | 18 |  | 10 | 12 | 17 | 12 |  | 13 | 13 | 129 |
| Girls | 16 | 22 | 21 |  | 11 | 18 | 19 | 15 |  | 6 | 7 | 135 |
| Total Enrollment: 264 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.05 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 43 | 81 | 96 |  | 47 | 40 | 70 | 65 |  | 36 | 14 | 492 |
| Girls | 46 | 86 | 82 |  | 40 | 43 | 61 | 35 |  | 33 | 18 | 444 |
| Percent of students absent in previous two weeks: 354.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:29.3 |  |  |  | Number of Classrooms: 9 Students per Classroom: 29.333 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 33 | Doors for Girls: 4 Girl Student:Latrine Ratio: 33.75 | Doors for Boys: 4 Boy Student:Latrine Ratio: 32.25 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 91.7% Percent of students that report always using the latrine at school for a short call: 58.3% Percent of students with a latrine at home: 33.3% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.125 |
| --- | --- |

| NYAKECH Intervention Package: Water | District: Rachuonyo Division: East Karachuonyo Zone: Nyakongo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 19 | 18 | 9 |  | 14 | 20 | 13 | 28 |  | 10 | 19 | 150 |
| Girls | 27 | 23 | 18 |  | 12 | 23 | 14 | 11 |  | 15 | 11 | 154 |
| Total Enrollment: 304 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.03 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 8 | 15 | 10 |  | 6 | 9 | 2 | 10 |  | 0 | 0 | 60 |
| Girls | 14 | 13 | 8 |  | 4 | 13 | 3 | 1 |  | 0 | 0 | 56 |
| Percent of students absent in previous two weeks: 38.2% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:30.4 |  |  |  | Number of Classrooms: 9 Students per Classroom: 33.778 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 5300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 23 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 34.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 60.8 | Doors for Girls: 3 Girl Student:Latrine Ratio: 51.333 | Doors for Boys: 2 Boy Student:Latrine Ratio: 75 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 88.0% Percent of students that report always using the latrine at school for a short call: 84.0% Percent of students with a latrine at home: 84.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.08 |
| --- | --- |

| NYAMKEBE Intervention Package: Base/San Phase II | District: Kisumu Division: Kadibo Zone: Rabuor |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 47 | 30 | 28 |  | 27 | 29 | 28 | 19 |  | 27 | 21 | 256 |
| Girls | 49 | 32 | 28 |  | 29 | 28 | 24 | 26 |  | 25 | 15 | 256 |
| Total Enrollment: 512 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.00 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 19 | 14 | 10 |  | 18 | 4 | 13 | 7 |  | 13 | 9 | 107 |
| Girls | 28 | 8 | 13 |  | 11 | 7 | 10 | 4 |  | 14 | 5 | 100 |
| Percent of students absent in previous two weeks: 40.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:42.7 |  |  |  | Number of Classrooms: 10 Students per Classroom: 51.2 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: GWAKO/ Living Water/ Lifewater |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Covered well/borehole in compound Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 4600 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 18.0 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 64 | Doors for Girls: 3 Girl Student:Latrine Ratio: 85.333 | Doors for Boys: 5 Boy Student:Latrine Ratio: 51.2 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Always | Mean handwashing demonstration score: . |
| --- | --- |

| NYAMWAGA Intervention Package: Base + Sanitation | District: Rachuonyo Division: Kabondo Zone: Awach |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 30 | 32 | 44 |  | 25 | 28 | 31 | 27 |  | 20 | 21 | 258 |
| Girls | 26 | 30 | 30 |  | 30 | 30 | 33 | 22 |  | 34 | 19 | 254 |
| Total Enrollment: 512 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.98 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 35 | 39 | 36 |  | 40 | 32 | 29 | 21 |  | 9 | 7 | 248 |
| Girls | 41 | 46 | 30 |  | 34 | 36 | 33 | 13 |  | 11 | 0 | 244 |
| Percent of students absent in previous two weeks: 96.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:46.5 |  |  |  | Number of Classrooms: 9 Students per Classroom: 56.889 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Protected spring Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 100 Distance to furthest water source (meters): 100 |  | Dry Season Primary Water Source: Protected spring Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 100 Distance to furthest water source (meters): 100 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 11 Student:Latrine Ratio: 64 | Doors for Girls: 3 Girl Student:Latrine Ratio: 84.667 | Doors for Boys: 5 Boy Student:Latrine Ratio: 51.6 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 92.0% Percent of students that report always using the latrine at school for a short call: 72.0% Percent of students with a latrine at home: 100.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.32 |
| --- | --- |

| NYAMWARE Intervention Package: Base | District: Kisumu Division: Kadibo Zone: Rabuor |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 60 | 38 | 56 |  | 52 | 38 | 48 | 40 |  | 33 | 24 | 389 |
| Girls | 55 | 46 | 45 |  | 46 | 35 | 34 | 30 |  | 30 | 6 | 327 |
| Total Enrollment: 716 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.84 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 10 | 20 | 3 |  | 1 | 2 | 0 | 4 |  | 0 | 0 | 40 |
| Girls | 12 | 10 | 0 |  | 1 | 0 | 3 | 2 |  | 0 | 1 | 29 |
| Percent of students absent in previous two weeks: 9.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 14 Student/Teacher Ratio:51.1 |  |  |  | Number of Classrooms: 11 Students per Classroom: 65.091 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: No water available Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3200 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 8.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 179 | Doors for Girls: 2 Girl Student:Latrine Ratio: 163.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 194.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| NYANDIWA Intervention Package: Base + Sanitation | District: Suba Division: Gwassi Zone: Kiabuya |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 50 | 61 | 50 |  | 44 | 60 | 44 | 46 |  | 45 | 45 | 445 |
| Girls | 70 | 45 | 64 |  | 57 | 49 | 35 | 36 |  | 21 | 23 | 400 |
| Total Enrollment: 845 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.90 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 18 | 15 | 12 |  | 20 | 18 | 15 | 16 |  | 13 | 14 | 141 |
| Girls | 21 | 16 | 12 |  | 11 | 14 | 17 | 12 |  | 16 | 13 | 132 |
| Percent of students absent in previous two weeks: 32.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 15 Student/Teacher Ratio:56.3 |  |  |  | Number of Classrooms: 12 Students per Classroom: 70.417 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 200 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 200 Distance to furthest water source (meters): 200 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 8500 Condition of Tank: Unusable | Gutters: Yes Meters of Gutters: 400 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 20.1 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 16 Student:Latrine Ratio: 120.714 | Doors for Girls: 3 Girl Student:Latrine Ratio: 133.333 | Doors for Boys: 4 Boy Student:Latrine Ratio: 111.25 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 53.8% Percent of students that report always using the latrine at school for a short call: 50.0% Percent of students with a latrine at home: 50.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 4.30769 |
| --- | --- |

| NYANDO Intervention Package: Base + Sanitation | District: Nyando Division: Muhoroni Zone: Menara |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 11 | 7 | 10 |  | 11 | 7 | 6 | 7 |  | 10 | 5 | 74 |
| Girls | 14 | 12 | 12 |  | 8 | 7 | 5 | 5 |  | 9 | 8 | 80 |
| Total Enrollment: 154 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.08 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 15 | 17 | 8 |  | 4 | 4 | 0 | 0 |  | 5 | 0 | 53 |
| Girls | 35 | 8 | 8 |  | 3 | 1 | 4 | 1 |  | 3 | 0 | 63 |
| Percent of students absent in previous two weeks: 75.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:19.3 |  |  |  | Number of Classrooms: 9 Students per Classroom: 17.111 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 2000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 5000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 64.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 4 Student:Latrine Ratio: 77 | Doors for Girls: 1 Girl Student:Latrine Ratio: 80 | Doors for Boys: 1 Boy Student:Latrine Ratio: 74 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 65.4% Percent of students that report always using the latrine at school for a short call: 84.6% Percent of students with a latrine at home: 69.2% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 5.15385 |
| --- | --- |

| NYANG'OMA Intervention Package: Base | District: Nyando Division: Miwani Zone: Nyang'oma |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 26 | 24 | 27 |  | 32 | 34 | 42 | 18 |  | 32 | 18 | 253 |
| Girls | 26 | 16 | 21 |  | 42 | 32 | 26 | 28 |  | 21 | 17 | 229 |
| Total Enrollment: 482 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.91 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 1 | 1 |
| Girls | 0 | 0 | 0 |  | 1 | 0 | 1 | 1 |  | 1 | 0 | 4 |
| Percent of students absent in previous two weeks: 1.0% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:43.8 |  |  |  | Number of Classrooms: 16 Students per Classroom: 30.125 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Water vendor Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): . Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 27 Condition of Gutters: Good |  | Gutters Currently Connected: No Days of water from tank: 10.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 14 Student:Latrine Ratio: 40.167 | Doors for Girls: 6 Girl Student:Latrine Ratio: 38.167 | Doors for Boys: 6 Boy Student:Latrine Ratio: 42.167 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 53.8% Percent of students that report always using the latrine at school for a short call: 42.3% Percent of students with a latrine at home: 65.4% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.84615 |
| --- | --- |

| NYARENDA Intervention Package: Base + Sanitation | District: Nyando Division: Miwani Zone: Nyang'oma |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 11 | 8 | 14 |  | 12 | 10 | 12 | 13 |  | 8 | 13 | 101 |
| Girls | 6 | 6 | 13 |  | 12 | 14 | 11 | 10 |  | 6 | 7 | 85 |
| Total Enrollment: 186 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.84 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 10 | 11 | 9 |  | 11 | 10 | 4 | 16 |  | 3 | 3 | 77 |
| Girls | 4 | 20 | 13 |  | 19 | 15 | 3 | 19 |  | 2 | 2 | 97 |
| Percent of students absent in previous two weeks: 93.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:20.7 |  |  |  | Number of Classrooms: 9 Students per Classroom: 20.667 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 900 Distance to furthest water source (meters): 900 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 15 Condition of Gutters: Good |  | Gutters Currently Connected: No Days of water from tank: 10.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 46.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 42.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 50.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 84.0% Percent of students that report always using the latrine at school for a short call: 84.0% Percent of students with a latrine at home: 88.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.08 |
| --- | --- |

| NYASOTI Intervention Package: Base | District: Suba Division: Gwassi Zone: Kigoto |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 22 | 17 | 18 |  | 18 | 18 | 10 | 22 |  | 14 | 19 | 158 |
| Girls | 28 | 23 | 16 |  | 16 | 15 | 13 | 11 |  | 8 | 13 | 143 |
| Total Enrollment: 301 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.91 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 12 | 8 | 11 |  | 11 | 2 | 8 | 5 |  | 4 | 4 | 65 |
| Girls | 14 | 8 | 6 |  | 3 | 4 | 6 | 2 |  | 2 | 4 | 49 |
| Percent of students absent in previous two weeks: 37.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:37.6 |  |  |  | Number of Classrooms: 9 Students per Classroom: 33.444 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Public covered well/borehole Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 60.2 | Doors for Girls: 2 Girl Student:Latrine Ratio: 71.5 | Doors for Boys: 3 Boy Student:Latrine Ratio: 52.667 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 48.0% Percent of students that report always using the latrine at school for a short call: 32.0% Percent of students with a latrine at home: 44.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.88 |
| --- | --- |

| OBANGLA Intervention Package: Water Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Rambira |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 73 | 50 | 46 |  | 49 | 39 | 45 | 47 |  | 22 | 10 | 381 |
| Girls | 67 | 48 | 48 |  | 41 | 47 | 52 | 45 |  | 21 | 8 | 377 |
| Total Enrollment: 758 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.99 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 2 | 1 | 3 |  | 1 | 2 | 0 | 0 |  | 0 | 0 | 9 |
| Girls | 3 | 4 | 2 |  | 2 | 2 | 1 | 0 |  | 0 | 0 | 14 |
| Percent of students absent in previous two weeks: 3.0% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:84.2 |  |  |  | Number of Classrooms: 9 Students per Classroom: 84.222 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 6 Distance to furthest water source (meters): 6 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 4000 Distance to furthest water source (meters): 4000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 9.2 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 108.286 | Doors for Girls: 3 Girl Student:Latrine Ratio: 125.667 | Doors for Boys: 4 Boy Student:Latrine Ratio: 95.25 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 86.4% Percent of students that report always using the latrine at school for a short call: 86.4% Percent of students with a latrine at home: 72.7% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.59091 |
| --- | --- |

| OBIAYO Intervention Package: Base | District: Nyando Division: Miwani Zone: Ombeyi |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 36 | 20 | 23 |  | 20 | 27 | 17 | 10 |  | 12 | 12 | 177 |
| Girls | 43 | 26 | 24 |  | 12 | 13 | 26 | 8 |  | 16 | 8 | 176 |
| Total Enrollment: 353 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.99 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 17 | 10 | 12 |  | 16 | 13 | 15 | 8 |  | 10 | 2 | 103 |
| Girls | 21 | 16 | 14 |  | 10 | 9 | 14 | 5 |  | 11 | 8 | 108 |
| Percent of students absent in previous two weeks: 59.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:29.4 |  |  |  | Number of Classrooms: 10 Students per Classroom: 35.3 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 7 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 13.0 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 44.125 | Doors for Girls: 5 Girl Student:Latrine Ratio: 35.2 | Doors for Boys: 3 Boy Student:Latrine Ratio: 59 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| OBUYA Intervention Package: Base | District: Rachuonyo Division: East Karachuonyo Zone: Rambira |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Girls | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 9 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 6 Distance to furthest water source (meters): 6 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 6000 Distance to furthest water source (meters): 6000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 4000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 17 Condition of Gutters: Unusable |  | Gutters Currently Connected: Yes Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: . | Doors for Girls: 3 Girl Student:Latrine Ratio: . | Doors for Boys: 3 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 84.0% Percent of students that report always using the latrine at school for a short call: 80.0% Percent of students with a latrine at home: 72.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.36 |
| --- | --- |

| OCHIENG ODIERE Intervention Package: Water | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 21 | 18 | 13 |  | 15 | 18 | 21 | 21 |  | 16 | 20 | 163 |
| Girls | 21 | 10 | 10 |  | 14 | 17 | 7 | 13 |  | 11 | 13 | 116 |
| Total Enrollment: 279 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.71 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 14 | 7 | 6 |  | 9 | 8 | 6 | 7 |  | 0 | 9 | 66 |
| Girls | 9 | 5 | 5 |  | 5 | 7 | 4 | 6 |  | 3 | 2 | 46 |
| Percent of students absent in previous two weeks: 40.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:27.9 |  |  |  | Number of Classrooms: 6 Students per Classroom: 46.5 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: No water available Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 30 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 0.2 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 100 Containers with water: 1 |  | Containers with narrow mouth: 0 Containers with lid: 1 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:WaterGuard |  | Amount of water treated today: 200 Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 4 Student:Latrine Ratio: 139.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 58 | Doors for Boys: 0 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 95.8% Percent of students that report always using the latrine at school for a short call: 75.0% Percent of students with a latrine at home: 58.3% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.91667 |
| --- | --- |

| ODINO Intervention Package: Base + Sanitation | District: Rachuonyo Division: Kabondo Zone: Ramba |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 13 | 4 | 6 |  | 13 | 15 | 10 | 7 |  | 0 | 0 | 68 |
| Girls | 17 | 4 | 4 |  | 9 | 10 | 6 | 9 |  | 0 | 0 | 59 |
| Total Enrollment: 127 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.87 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 17 | 2 | 8 |  | 7 | 10 | 7 | 2 |  | . | . | . |
| Girls | 10 | 2 | 0 |  | 16 | 13 | 5 | 3 |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 5 Student/Teacher Ratio:25.4 |  |  |  | Number of Classrooms: 7 Students per Classroom: 18.143 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 3500 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 3500 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2100 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 8 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 33.1 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 3 Student:Latrine Ratio: 63.5 | Doors for Girls: 1 Girl Student:Latrine Ratio: 59 | Doors for Boys: 1 Boy Student:Latrine Ratio: 68 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: . |
| --- | --- |

| OGANDO Intervention Package: Base/San Phase II | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 42 | 21 | 22 |  | 18 | 23 | 25 | 20 |  | 21 | 20 | 212 |
| Girls | 32 | 24 | 30 |  | 21 | 25 | 29 | 16 |  | 19 | 5 | 201 |
| Total Enrollment: 413 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.95 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 2 | 3 |  | 1 | 0 | 2 | 0 |  | 1 | 0 | 13 |
| Girls | 5 | 1 | 2 |  | 2 | 0 | 2 | 0 |  | 0 | 0 | 12 |
| Percent of students absent in previous two weeks: 6.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:37.5 |  |  |  | Number of Classrooms: 10 Students per Classroom: 41.3 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: No water available Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 64000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 92 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 309.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 68.833 | Doors for Girls: 4 Girl Student:Latrine Ratio: 50.25 | Doors for Boys: 2 Boy Student:Latrine Ratio: 106 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 73.1% Percent of students that report always using the latrine at school for a short call: 38.5% Percent of students with a latrine at home: 80.8% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 5 |
| --- | --- |

| OGANGO Intervention Package: Water | District: Rachuonyo Division: East Karachuonyo Zone: Kendu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 20 | 20 | 19 |  | 24 | 23 | 22 | 14 |  | 28 | 13 | 183 |
| Girls | 16 | 12 | 17 |  | 16 | 17 | 19 | 23 |  | 27 | 14 | 161 |
| Total Enrollment: 344 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.88 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 0 | 0 |  | 0 | 1 | 0 | 0 |  | 2 | 0 | 3 |
| Girls | 2 | 1 | 0 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 5 |
| Percent of students absent in previous two weeks: 2.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:43.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 38.222 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 6 Distance to furthest water source (meters): 6 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 5000 Distance to furthest water source (meters): 5000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 6 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 17.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 11 Student:Latrine Ratio: 34.4 | Doors for Girls: 5 Girl Student:Latrine Ratio: 32.2 | Doors for Boys: 5 Boy Student:Latrine Ratio: 36.6 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 80.0% Percent of students with a latrine at home: 88.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.68 |
| --- | --- |

| OGENGA Intervention Package: Base + Sanitation | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 31 | 26 | 21 |  | 18 | 12 | 15 | 14 |  | 13 | 11 | 161 |
| Girls | 30 | 30 | 23 |  | 23 | 17 | 10 | 10 |  | 11 | 14 | 168 |
| Total Enrollment: 329 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.04 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 8 | 12 | 11 |  | 7 | 5 | 0 | 4 |  | 1 | 1 | 49 |
| Girls | 13 | 9 | 6 |  | 9 | 3 | 0 | 6 |  | 1 | 1 | 48 |
| Percent of students absent in previous two weeks: 29.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:32.9 |  |  |  | Number of Classrooms: 9 Students per Classroom: 36.556 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 500 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 4 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 14.0 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 10 Containers with water: 0 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 41.125 | Doors for Girls: 4 Girl Student:Latrine Ratio: 42 | Doors for Boys: 4 Boy Student:Latrine Ratio: 40.25 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 40.0% Percent of students that report always using the latrine at school for a short call: 64.0% Percent of students with a latrine at home: 96.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 2.84 |
| --- | --- |

| OGENYA Intervention Package: Base + Sanitation | District: Kisumu Division: Kadibo Zone: Nyan'gande |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 63 | 42 | 34 |  | 26 | 39 | 36 | 24 |  | 20 | 16 | 300 |
| Girls | 59 | 36 | 39 |  | 38 | 31 | 24 | 26 |  | 22 | 11 | 286 |
| Total Enrollment: 586 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.95 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 37 | 27 | 18 |  | 23 | 13 | 12 | 14 |  | 2 | 3 | 149 |
| Girls | 17 | 13 | 12 |  | 26 | 10 | 11 | 21 |  | 3 | 4 | 117 |
| Percent of students absent in previous two weeks: 45.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:48.8 |  |  |  | Number of Classrooms: 12 Students per Classroom: 48.833 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: GWAKO/ Living Water/ Lifewater |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Public covered well/borehole Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 117.2 | Doors for Girls: 3 Girl Student:Latrine Ratio: 95.333 | Doors for Boys: 2 Boy Student:Latrine Ratio: 150 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 68.0% Percent of students that report always using the latrine at school for a short call: 44.0% Percent of students with a latrine at home: 76.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.44 |
| --- | --- |

| OGILO Intervention Package: Base/San Phase II | District: Nyando Division: Miwani Zone: Masogo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 16 | 18 | 20 |  | 20 | 21 | 12 | 18 |  | 13 | 14 | 152 |
| Girls | 14 | 25 | 11 |  | 16 | 15 | 19 | 17 |  | 17 | 7 | 141 |
| Total Enrollment: 293 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.93 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 2 | 0 | 0 |  | 1 | 1 | 0 | 1 |  | 0 | 0 | 5 |
| Girls | 6 | 0 | 0 |  | 1 | 1 | 0 | 0 |  | 0 | 0 | 8 |
| Percent of students absent in previous two weeks: 4.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:32.6 |  |  |  | Number of Classrooms: 9 Students per Classroom: 32.556 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 70 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 70 Distance to furthest water source (meters): 70 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 23 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 3.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 48.833 | Doors for Girls: 2 Girl Student:Latrine Ratio: 70.5 | Doors for Boys: 4 Boy Student:Latrine Ratio: 38 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 88.0% Percent of students that report always using the latrine at school for a short call: 52.0% Percent of students with a latrine at home: 84.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.16 |
| --- | --- |

| OKWACH Intervention Package: Base | District: Nyando Division: Miwani Zone: Nyang'oma |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 41 | 20 | 22 |  | 25 | 19 | 23 | 15 |  | 7 | 8 | 180 |
| Girls | 34 | 21 | 18 |  | 18 | 21 | 15 | 15 |  | 9 | 4 | 155 |
| Total Enrollment: 335 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.86 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 17 | 2 | 3 |  | 4 | 3 | 2 | 2 |  | 0 | 0 | 33 |
| Girls | 19 | 1 | 2 |  | 1 | 1 | 1 | 0 |  | 1 | 0 | 26 |
| Percent of students absent in previous two weeks: 17.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:41.9 |  |  |  | Number of Classrooms: 9 Students per Classroom: 37.222 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Protected spring Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1900 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 12 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 11.3 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 83.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 77.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 90 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 60.0% Percent of students with a latrine at home: 32.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.56 |
| --- | --- |

| OMANYI Intervention Package: Base + Sanitation | District: Nyando Division: Miwani Zone: Masogo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 9 | 13 | 16 |  | 13 | 11 | 13 | 17 |  | 15 | 5 | 112 |
| Girls | 12 | 12 | 6 |  | 13 | 11 | 9 | 12 |  | 12 | 3 | 90 |
| Total Enrollment: 202 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.80 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 5 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 1 | 2 | 8 |
| Girls | 2 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 1 | 0 | 4 |
| Percent of students absent in previous two weeks: 5.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:18.4 |  |  |  | Number of Classrooms: 9 Students per Classroom: 22.444 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 200 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1500 Condition of Tank: Unusable | Gutters: Yes Meters of Gutters: 15 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 14.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 50.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 45 | Doors for Boys: 2 Boy Student:Latrine Ratio: 56 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 77.3% Percent of students that report always using the latrine at school for a short call: 63.6% Percent of students with a latrine at home: 77.3% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.77273 |
| --- | --- |

| OMBOGA Intervention Package: Base/San Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Omboga |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Girls | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 9 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 5 Distance to furthest water source (meters): 50 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1 Distance to furthest water source (meters): 50 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 17 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: . | Doors for Girls: 2 Girl Student:Latrine Ratio: . | Doors for Boys: 2 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 84.0% Percent of students that report always using the latrine at school for a short call: 96.0% Percent of students with a latrine at home: 84.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.88 |
| --- | --- |

| ONENONAM Intervention Package: Water Phase II | District: Nyando Division: Muhoroni Zone: Chemelil |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 39 | 19 | 26 |  | 30 | 23 | 29 | 21 |  | 23 | 20 | 230 |
| Girls | 35 | 17 | 15 |  | 23 | 29 | 21 | 13 |  | 24 | 13 | 190 |
| Total Enrollment: 420 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.83 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 22 | 14 |  | 21 | 9 | 2 | 4 |  | 0 | 0 | 72 |
| Girls | 0 | 7 | 17 |  | 23 | 4 | 8 | 0 |  | 3 | 0 | 62 |
| Percent of students absent in previous two weeks: 31.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:38.2 |  |  |  | Number of Classrooms: 8 Students per Classroom: 52.5 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Water vendor Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): . Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: Rainwater Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 11.0 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:WaterGuard |  | Amount of water treated today: 20 Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 105 | Doors for Girls: 2 Girl Student:Latrine Ratio: 95 | Doors for Boys: 2 Boy Student:Latrine Ratio: 115 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 87.0% Percent of students that report always using the latrine at school for a short call: 82.6% Percent of students with a latrine at home: 95.7% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.52174 |
| --- | --- |

| ONG'AYO Intervention Package: Base | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 17 | 20 | 20 |  | 15 | 15 | 15 | 15 |  | 17 | 14 | 148 |
| Girls | 15 | 19 | 18 |  | 12 | 17 | 16 | 13 |  | 14 | 12 | 136 |
| Total Enrollment: 284 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.92 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 10 | 6 | 8 |  | 10 | 0 | 20 | 4 |  | 7 | 0 | 65 |
| Girls | 12 | 7 | 16 |  | 14 | 4 | 12 | 0 |  | 0 | 0 | 65 |
| Percent of students absent in previous two weeks: 45.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:31.6 |  |  |  | Number of Classrooms: 8 Students per Classroom: 35.5 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Public covered well/borehole Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 56.8 | Doors for Girls: 2 Girl Student:Latrine Ratio: 68 | Doors for Boys: 3 Boy Student:Latrine Ratio: 49.333 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 76.0% Percent of students that report always using the latrine at school for a short call: 76.0% Percent of students with a latrine at home: 44.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.32 |
| --- | --- |

| ONGORO Intervention Package: Base + Sanitation | District: Rachuonyo Division: Kabondo Zone: Ramba |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 46 | 22 | 27 |  | 27 | 24 | 31 | 30 |  | 22 | 21 | 250 |
| Girls | 59 | 31 | 28 |  | 29 | 31 | 18 | 18 |  | 31 | 5 | 250 |
| Total Enrollment: 500 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.00 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 13 | 4 | 2 |  | 4 | 2 | 8 | 2 |  | 3 | 1 | 39 |
| Girls | 24 | 3 | 4 |  | 6 | 1 | 6 | 1 |  | 2 | 0 | 47 |
| Percent of students absent in previous two weeks: 17.2% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 13 Student/Teacher Ratio:38.5 |  |  |  | Number of Classrooms: 10 Students per Classroom: 50 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Missionary group |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 4000 Distance to furthest water source (meters): 4000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 30000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 30 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 120.0 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:Chlorine/ Aquatabs/ jik |  | Amount of water treated today: . Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 62.5 | Doors for Girls: 5 Girl Student:Latrine Ratio: 50 | Doors for Boys: 3 Boy Student:Latrine Ratio: 83.333 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: . |
| --- | --- |

| ONGUJO Intervention Package: Base + Sanitation | District: Rachuonyo Division: Kabondo Zone: Awach |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 14 | 25 | 16 |  | 16 | 14 | 13 | 15 |  | 23 | 20 | 156 |
| Girls | 14 | 20 | 20 |  | 17 | 18 | 20 | 20 |  | 27 | 5 | 161 |
| Total Enrollment: 317 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.03 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 10 | 6 | 4 |  | 5 | 6 | 5 | 3 |  | 7 | 1 | 47 |
| Girls | 3 | 2 | 5 |  | 3 | 4 | 3 | 4 |  | 2 | 1 | 27 |
| Percent of students absent in previous two weeks: 23.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:39.6 |  |  |  | Number of Classrooms: 8 Students per Classroom: 39.625 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 100 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 100 Distance to furthest water source (meters): 100 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 210 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 4 Condition of Gutters: Some problems |  | Gutters Currently Connected: No Days of water from tank: 1.3 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 79.25 | Doors for Girls: 1 Girl Student:Latrine Ratio: 161 | Doors for Boys: 3 Boy Student:Latrine Ratio: 52 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 52.0% Percent of students that report always using the latrine at school for a short call: 40.0% Percent of students with a latrine at home: 84.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.4 |
| --- | --- |

| ONONGNO Intervention Package: Base + Sanitation | District: Kisumu Division: Kadibo Zone: Rabuor |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 28 | 24 | 14 |  | 23 | 13 | 22 | 27 |  | 8 | 9 | 168 |
| Girls | 32 | 20 | 15 |  | 16 | 17 | 15 | 10 |  | 10 | 7 | 142 |
| Total Enrollment: 310 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.85 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 65 | 13 | 5 |  | 11 | 8 | 6 | 12 |  | 9 | 1 | 130 |
| Girls | 48 | 26 | 9 |  | 6 | 24 | 9 | 4 |  | 8 | 7 | 141 |
| Percent of students absent in previous two weeks: 87.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:38.8 |  |  |  | Number of Classrooms: 8 Students per Classroom: 38.75 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): . Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3200 Condition of Tank: Good | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: 20.6 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 11 Student:Latrine Ratio: 31 | Doors for Girls: 5 Girl Student:Latrine Ratio: 28.4 | Doors for Boys: 5 Boy Student:Latrine Ratio: 33.6 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 76.0% Percent of students with a latrine at home: 84.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.68 |
| --- | --- |

| OPANGA Intervention Package: Base/San Phase II | District: Rachuonyo Division: Kabondo Zone: Ramba |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 33 | 9 | 15 |  | 16 | 16 | 15 | 29 |  | 28 | 9 | 170 |
| Girls | 55 | 10 | 22 |  | 15 | 16 | 25 | 14 |  | 26 | 9 | 192 |
| Total Enrollment: 362 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.13 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 15 | 0 | 6 |  | 4 | 0 | 17 | 6 |  | 10 | 0 | 58 |
| Girls | 13 | 0 | 8 |  | 3 | 0 | 25 | 4 |  | 13 | 1 | 67 |
| Percent of students absent in previous two weeks: 34.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:36.2 |  |  |  | Number of Classrooms: 9 Students per Classroom: 40.222 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Pond/dam/earthpan Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 200 Distance to furthest water source (meters): 200 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 2 Condition of Gutters: Some problems |  | Gutters Currently Connected: No Days of water from tank: 12.7 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 14 Student:Latrine Ratio: 30.167 | Doors for Girls: 6 Girl Student:Latrine Ratio: 32 | Doors for Boys: 6 Boy Student:Latrine Ratio: 28.333 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 85.0% Percent of students that report always using the latrine at school for a short call: 80.0% Percent of students with a latrine at home: 70.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.15 |
| --- | --- |

| ORENGE Intervention Package: Base/San Phase II | District: Nyando Division: Miwani Zone: Ombeyi |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 36 | 37 | 37 |  | 34 | 29 | 22 | 25 |  | 33 | 18 | 271 |
| Girls | 33 | 35 | 28 |  | 26 | 30 | 22 | 20 |  | 16 | 2 | 212 |
| Total Enrollment: 483 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.78 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 2 | 1 | 3 |  | 4 | 3 | 2 | 1 |  | 2 | 2 | 20 |
| Girls | 2 | 2 | 3 |  | 1 | 3 | 1 | 1 |  | 1 | 2 | 16 |
| Percent of students absent in previous two weeks: 7.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:43.9 |  |  |  | Number of Classrooms: 9 Students per Classroom: 53.667 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Missionary group |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 300 Distance to furthest water source (meters): 300 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 500 Condition of Tank: Unusable | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: 2.1 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 4 Student:Latrine Ratio: 120.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 106 | Doors for Boys: 2 Boy Student:Latrine Ratio: 135.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| ORERA Intervention Package: Base | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 32 | 23 | 18 |  | 18 | 12 | 8 | 16 |  | 18 | 14 | 159 |
| Girls | 22 | 24 | 19 |  | 17 | 11 | 11 | 14 |  | 10 | 6 | 134 |
| Total Enrollment: 293 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.84 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 4 | 2 |  | 6 | 4 | 2 | 1 |  | 7 | 1 | 31 |
| Girls | 6 | 3 | 2 |  | 2 | 5 | 2 | 4 |  | 0 | 0 | 24 |
| Percent of students absent in previous two weeks: 18.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:32.6 |  |  |  | Number of Classrooms: 9 Students per Classroom: 32.556 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 5 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 6.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:Chlorine/ Aquatabs/ jik |  | Amount of water treated today: . Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 41.857 | Doors for Girls: 3 Girl Student:Latrine Ratio: 44.667 | Doors for Boys: 4 Boy Student:Latrine Ratio: 39.75 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 64.0% Percent of students that report always using the latrine at school for a short call: 76.0% Percent of students with a latrine at home: 92.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.92 |
| --- | --- |

| OROBA Intervention Package: Water Phase II | District: Nyando Division: Muhoroni Zone: Chemelil |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 41 | 41 | 40 |  | 45 | 38 | 40 | 33 |  | 50 | 29 | 357 |
| Girls | 50 | 62 | 42 |  | 34 | 33 | 47 | 36 |  | 42 | 12 | 358 |
| Total Enrollment: 715 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.00 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 49 | 0 |  | 74 | 64 | 76 | 20 |  | 38 | 0 | 321 |
| Girls | 0 | 33 | 0 |  | 89 | 72 | 79 | 15 |  | 28 | 0 | 316 |
| Percent of students absent in previous two weeks: 89.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:71.5 |  |  |  | Number of Classrooms: 8 Students per Classroom: 89.375 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Missionary group |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: Water vendor Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 5000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 5 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 8.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 119.167 | Doors for Girls: 4 Girl Student:Latrine Ratio: 89.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 178.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 37.0% Percent of students that report always using the latrine at school for a short call: 51.9% Percent of students with a latrine at home: 77.8% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.92593 |
| --- | --- |

| OSEMBE Intervention Package: Base + Sanitation | District: Nyando Division: Miwani Zone: Ombeyi |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 21 | 12 | 12 |  | 10 | 12 | 15 | 18 |  | 16 | 8 | 124 |
| Girls | 8 | 20 | 13 |  | 18 | 10 | 13 | 12 |  | 16 | 6 | 116 |
| Total Enrollment: 240 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.94 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 3 | 5 | 2 |  | 0 | 1 | 4 | 0 |  | 1 | 0 | 16 |
| Girls | 3 | 5 | 5 |  | 2 | 0 | 5 | 5 |  | 3 | 0 | 28 |
| Percent of students absent in previous two weeks: 18.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:21.8 |  |  |  | Number of Classrooms: 9 Students per Classroom: 26.667 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Missionary group |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Covered well/borehole in compound Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 60 | Doors for Girls: 2 Girl Student:Latrine Ratio: 58 | Doors for Boys: 2 Boy Student:Latrine Ratio: 62 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 84.6% Percent of students that report always using the latrine at school for a short call: 42.3% Percent of students with a latrine at home: 61.5% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.46154 |
| --- | --- |

| OSIKA Intervention Package: Base/San Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Nyakongo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 23 | 12 | 18 |  | 20 | 20 | 20 | 7 |  | 17 | 16 | 153 |
| Girls | 22 | 15 | 16 |  | 16 | 8 | 16 | 10 |  | 18 | 14 | 135 |
| Total Enrollment: 288 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.88 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 27 | 34 | 6 |  | 4 | 6 | 4 | 4 |  | 2 | 20 | 107 |
| Girls | 20 | 8 | 3 |  | 7 | 4 | 4 | 6 |  | 0 | 4 | 56 |
| Percent of students absent in previous two weeks: 56.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:26.2 |  |  |  | Number of Classrooms: 9 Students per Classroom: 32 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Covered well/borehole in compound Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 200 Distance to furthest water source (meters): 200 |  | Dry Season Primary Water Source: Other public tap Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): . Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 48 | Doors for Girls: 2 Girl Student:Latrine Ratio: 67.5 | Doors for Boys: 4 Boy Student:Latrine Ratio: 38.25 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 92.0% Percent of students that report always using the latrine at school for a short call: 60.0% Percent of students with a latrine at home: 88.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 2.72 |
| --- | --- |

| OSIRI Intervention Package: Base + Sanitation | District: Suba Division: Gwassi Zone: Nyagwethe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 35 | 31 | 30 |  | 22 | 14 | 21 | 14 |  | 22 | 18 | 207 |
| Girls | 40 | 34 | 27 |  | 16 | 16 | 13 | 10 |  | 7 | 9 | 172 |
| Total Enrollment: 379 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.83 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 13 | 8 | 1 |  | 3 | 6 | 2 | 4 |  | 1 | 1 | 39 |
| Girls | 16 | 9 | 2 |  | 4 | 2 | 1 | 4 |  | 0 | 1 | 39 |
| Percent of students absent in previous two weeks: 20.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:37.9 |  |  |  | Number of Classrooms: 9 Students per Classroom: 42.111 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 100 Distance to furthest water source (meters): 300 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 300 Distance to furthest water source (meters): 300 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 94.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 86 | Doors for Boys: 2 Boy Student:Latrine Ratio: 103.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 50.0% Percent of students that report always using the latrine at school for a short call: 34.6% Percent of students with a latrine at home: 11.5% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.69231 |
| --- | --- |

| OSIRI MIGERE Intervention Package: Water | District: Nyando Division: Miwani Zone: Nyang'oma |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 33 | 17 | 24 |  | 18 | 21 | 18 | 15 |  | 10 | 8 | 164 |
| Girls | 24 | 30 | 40 |  | 23 | 23 | 21 | 23 |  | 22 | 2 | 208 |
| Total Enrollment: 372 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.27 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 5 | 3 |  | 4 | 4 | 3 | 5 |  | 3 | 1 | 32 |
| Girls | 65 | 8 | 4 |  | 3 | 3 | 5 | 6 |  | 5 | 0 | 99 |
| Percent of students absent in previous two weeks: 35.2% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:41.3 |  |  |  | Number of Classrooms: 8 Students per Classroom: 46.5 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: UNICEF |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Rainwater Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 4000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 27 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 12.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 200 Containers with water: 0 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: . Treatment methods: |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 74.4 | Doors for Girls: 3 Girl Student:Latrine Ratio: 69.333 | Doors for Boys: 2 Boy Student:Latrine Ratio: 82 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 32.0% Percent of students that report always using the latrine at school for a short call: 28.0% Percent of students with a latrine at home: 0.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.44 |
| --- | --- |

| OSODO Intervention Package: Water | District: Rachuonyo Division: East Karachuonyo Zone: Miriu |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 54 | 30 | 36 |  | 36 | 38 | 35 | 22 |  | 16 | 23 | 290 |
| Girls | 40 | 43 | 30 |  | 35 | 25 | 16 | 30 |  | 23 | 15 | 257 |
| Total Enrollment: 547 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.89 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 12 | 19 | 21 |  | 7 | 14 | 0 | 5 |  | 2 | 0 | 80 |
| Girls | 12 | 20 | 14 |  | 6 | 14 | 0 | 8 |  | 1 | 0 | 75 |
| Percent of students absent in previous two weeks: 28.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:45.6 |  |  |  | Number of Classrooms: 9 Students per Classroom: 60.778 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 16 Condition of Gutters: Unusable |  | Gutters Currently Connected: No Days of water from tank: 8.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 91.167 | Doors for Girls: 3 Girl Student:Latrine Ratio: 85.667 | Doors for Boys: 3 Boy Student:Latrine Ratio: 96.667 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 96.0% Percent of students that report always using the latrine at school for a short call: 92.0% Percent of students with a latrine at home: 68.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 2.84 |
| --- | --- |

| OSURI Intervention Package: Base + Sanitation | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 30 | 22 | 24 |  | 24 | 19 | 23 | 15 |  | 27 | 15 | 199 |
| Girls | 30 | 27 | 19 |  | 20 | 15 | 21 | 19 |  | 17 | 13 | 181 |
| Total Enrollment: 380 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.91 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 5 | 7 | 7 |  | 4 | 5 | 4 | 9 |  | 8 | 0 | 49 |
| Girls | 6 | 5 | 3 |  | 5 | 8 | 6 | 2 |  | 11 | 1 | 47 |
| Percent of students absent in previous two weeks: 25.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:34.5 |  |  |  | Number of Classrooms: 9 Students per Classroom: 42.222 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Unprotected spring Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 20000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 15 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 105.3 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 54.286 | Doors for Girls: 3 Girl Student:Latrine Ratio: 60.333 | Doors for Boys: 4 Boy Student:Latrine Ratio: 49.75 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: . |
| --- | --- |

| OTHORO Intervention Package: Base | District: Rachuonyo Division: Kabondo Zone: Awach |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 25 | 58 | 36 |  | 36 | 35 | 52 | 48 |  | 46 | 18 | 354 |
| Girls | 58 | 44 | 44 |  | 35 | 32 | 42 | 43 |  | 50 | 26 | 374 |
| Total Enrollment: 728 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.06 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 23 | 20 | 14 |  | 27 | 13 | 24 | 14 |  | 12 | 16 | 163 |
| Girls | 19 | 12 | 16 |  | 19 | 11 | 24 | 17 |  | 13 | 18 | 149 |
| Percent of students absent in previous two weeks: 42.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 16 Student/Teacher Ratio:45.5 |  |  |  | Number of Classrooms: 17 Students per Classroom: 42.824 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: Yes |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Missionary group |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Open well in compound Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Open well in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 3 Total storage capacity (liters): 51 Containers with water: 3 |  | Containers with narrow mouth: 0 Containers with lid: 3 Containers with functioning tap: 3 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 24 Student:Latrine Ratio: 34.667 | Doors for Girls: 10 Girl Student:Latrine Ratio: 37.4 | Doors for Boys: 11 Boy Student:Latrine Ratio: 32.182 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 90.0% Percent of students with a latrine at home: 90.0% |  |  |

Handwashing

| School provides water for handwashing: Always | Mean handwashing demonstration score: 3.15 |
| --- | --- |

| OWICH Intervention Package: Base/San Phase II | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 22 | 23 | 19 |  | 15 | 24 | 18 | 28 |  | 26 | 21 | 196 |
| Girls | 22 | 18 | 18 |  | 15 | 18 | 19 | 13 |  | 16 | 8 | 147 |
| Total Enrollment: 343 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.75 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 1 | 1 |  | 3 | 2 | 2 | 3 |  | 1 | 2 | 19 |
| Girls | 2 | 2 | 1 |  | 2 | 1 | 2 | 2 |  | 0 | 0 | 12 |
| Percent of students absent in previous two weeks: 9.0% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:34.3 |  |  |  | Number of Classrooms: 9 Students per Classroom: 38.111 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Unprotected spring Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 3000 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 20000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 116.6 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 57.167 | Doors for Girls: 3 Girl Student:Latrine Ratio: 49 | Doors for Boys: 3 Boy Student:Latrine Ratio: 65.333 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 72.0% Percent of students with a latrine at home: 36.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.6 |
| --- | --- |

| OWIRO Intervention Package: Base/San Phase II | District: Rachuonyo Division: Kabondo Zone: Ramba |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 46 | 29 | 23 |  | 20 | 20 | 26 | 20 |  | 23 | 15 | 222 |
| Girls | 32 | 33 | 19 |  | 15 | 15 | 20 | 17 |  | 15 | 6 | 172 |
| Total Enrollment: 394 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.77 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 20 | 11 | 43 |  | 20 | 6 | 3 | 5 |  | 7 | 17 | 132 |
| Girls | 10 | 12 | 5 |  | 8 | 2 | 16 | 6 |  | 4 | 4 | 67 |
| Percent of students absent in previous two weeks: 50.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:35.8 |  |  |  | Number of Classrooms: 9 Students per Classroom: 43.778 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): . Distance to furthest water source (meters): 1500 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 4000 Distance to furthest water source (meters): 4000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 5 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 7.6 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 49.25 | Doors for Girls: 4 Girl Student:Latrine Ratio: 43 | Doors for Boys: 4 Boy Student:Latrine Ratio: 55.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 95.0% Percent of students that report always using the latrine at school for a short call: 85.0% Percent of students with a latrine at home: 95.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.55 |
| --- | --- |

| OYOMBE Intervention Package: Base | District: Rachuonyo Division: East Karachuonyo Zone: Omboga |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 18 | 25 | 11 |  | 15 | 17 | 15 | 12 |  | 16 | 20 | 149 |
| Girls | 22 | 19 | 14 |  | 18 | 27 | 7 | 17 |  | 14 | 9 | 147 |
| Total Enrollment: 296 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.99 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 28 | 22 |  | 14 | 29 | 24 | 25 |  | 11 | 0 | 153 |
| Girls | 0 | 20 | 18 |  | 14 | 27 | 0 | 20 |  | 14 | 0 | 113 |
| Percent of students absent in previous two weeks: 89.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:29.6 |  |  |  | Number of Classrooms: 8 Students per Classroom: 37 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 2000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Unusable |  | Gutters Currently Connected: No Days of water from tank: 15.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 59.2 | Doors for Girls: 3 Girl Student:Latrine Ratio: 49 | Doors for Boys: 2 Boy Student:Latrine Ratio: 74.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 88.5% Percent of students that report always using the latrine at school for a short call: 96.2% Percent of students with a latrine at home: 53.8% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 2.34615 |
| --- | --- |

| PIER GOT Intervention Package: Water Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Nyakongo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 14 | 21 | 19 |  | 21 | 22 | 19 | 14 |  | 22 | 15 | 167 |
| Girls | 28 | 27 | 19 |  | 19 | 24 | 11 | 24 |  | 27 | 9 | 188 |
| Total Enrollment: 355 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.13 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 14 | 6 | 0 |  | 9 | 6 | 7 | 5 |  | 4 | 1 | 52 |
| Girls | 17 | 3 | 0 |  | 9 | 3 | 4 | 3 |  | 8 | 0 | 47 |
| Percent of students absent in previous two weeks: 27.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:39.4 |  |  |  | Number of Classrooms: 8 Students per Classroom: 44.375 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 4000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 80 Condition of Gutters: Good |  | Gutters Currently Connected: No Days of water from tank: 22.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 39.444 | Doors for Girls: 5 Girl Student:Latrine Ratio: 37.6 | Doors for Boys: 4 Boy Student:Latrine Ratio: 41.75 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 72.0% Percent of students with a latrine at home: 84.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 2.96 |
| --- | --- |

| PONGE Intervention Package: Base/San Phase II | District: Rachuonyo Division: Kabondo Zone: Ayiengo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 9 | 17 | 11 |  | 12 | 13 | 14 | 8 |  | 24 | 11 | 119 |
| Girls | 11 | 13 | 8 |  | 14 | 12 | 8 | 9 |  | 13 | 11 | 99 |
| Total Enrollment: 218 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.83 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 3 | 10 | 6 |  | 2 | 2 | 23 | 5 |  | 11 | 5 | 67 |
| Girls | 4 | 3 | 5 |  | 1 | 2 | 5 | 3 |  | 1 | 3 | 27 |
| Percent of students absent in previous two weeks: 43.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:24.2 |  |  |  | Number of Classrooms: 8 Students per Classroom: 27.25 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Unprotected spring Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 600 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 5 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 9.2 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 54.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 49.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 59.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 100.0% Percent of students that report always using the latrine at school for a short call: 85.0% Percent of students with a latrine at home: 100.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.5 |
| --- | --- |

| RABWARE Intervention Package: Water Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Omboga |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Girls | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 9 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 8 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: Unprotected spring Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 7 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 4 Student:Latrine Ratio: . | Doors for Girls: 1 Girl Student:Latrine Ratio: . | Doors for Boys: 2 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 76.0% Percent of students that report always using the latrine at school for a short call: 84.0% Percent of students with a latrine at home: 44.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.96 |
| --- | --- |

| RAGWE Intervention Package: Base | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 20 | 32 | 19 |  | 23 | 24 | 16 | 24 |  | 14 | 7 | 179 |
| Girls | 25 | 26 | 22 |  | 25 | 24 | 25 | 13 |  | 16 | 14 | 190 |
| Total Enrollment: 369 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.06 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 42 | 38 | 16 |  | 28 | 16 | 57 | 164 |  | 9 | 6 | 376 |
| Girls | 45 | 28 | 20 |  | 24 | 29 | 99 | 44 |  | 3 | 2 | 294 |
| Percent of students absent in previous two weeks: 181.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:41.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 41 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 200 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 200 Distance to furthest water source (meters): 200 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1500 Condition of Tank: Good | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: 8.1 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 92.25 | Doors for Girls: 2 Girl Student:Latrine Ratio: 95 | Doors for Boys: 2 Boy Student:Latrine Ratio: 89.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 76.0% Percent of students that report always using the latrine at school for a short call: 80.0% Percent of students with a latrine at home: 44.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.92 |
| --- | --- |

| RAPORA Intervention Package: Base | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 22 | 20 | 25 |  | 12 | 22 | 15 | 22 |  | 20 | 15 | 173 |
| Girls | 29 | 26 | 20 |  | 20 | 20 | 18 | 24 |  | 13 | 10 | 180 |
| Total Enrollment: 353 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.04 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 3 | 3 | 2 |  | 2 | 1 | 2 | 1 |  | 1 | 1 | 16 |
| Girls | 3 | 3 | 1 |  | 2 | 1 | 1 | 2 |  | 1 | 1 | 15 |
| Percent of students absent in previous two weeks: 8.8% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:35.3 |  |  |  | Number of Classrooms: 9 Students per Classroom: 39.222 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: No water available Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 11000 Condition of Tank: Good | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: 62.3 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 58.833 | Doors for Girls: 2 Girl Student:Latrine Ratio: 90 | Doors for Boys: 4 Boy Student:Latrine Ratio: 43.25 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| RERU Intervention Package: Base/San Phase II | District: Kisumu Division: Kadibo Zone: Nyan'gande |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 30 | 25 | 23 |  | 29 | 20 | 21 | 27 |  | 34 | 23 | 232 |
| Girls | 48 | 24 | 27 |  | 23 | 29 | 24 | 20 |  | 41 | 20 | 256 |
| Total Enrollment: 488 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.10 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 21 | 13 | 12 |  | 10 | 8 | 8 | 14 |  | 5 | 1 | 92 |
| Girls | 87 | 18 | 12 |  | 8 | 14 | 7 | 20 |  | 4 | 1 | 171 |
| Percent of students absent in previous two weeks: 53.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:54.2 |  |  |  | Number of Classrooms: 9 Students per Classroom: 54.222 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 30 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 9.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 122 | Doors for Girls: 2 Girl Student:Latrine Ratio: 128 | Doors for Boys: 2 Boy Student:Latrine Ratio: 116 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 60.0% Percent of students that report always using the latrine at school for a short call: 16.0% Percent of students with a latrine at home: 96.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.88 |
| --- | --- |

| ROO DOH Intervention Package: Base | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 30 | 28 | 21 |  | 16 | 20 | 16 | 38 |  | 25 | 22 | 216 |
| Girls | 26 | 27 | 27 |  | 22 | 36 | 27 | 21 |  | 18 | 15 | 219 |
| Total Enrollment: 435 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.01 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 98 | 31 | 10 |  | 14 | 14 | 44 | 16 |  | 12 | 10 | 249 |
| Girls | 52 | 27 | 5 |  | 24 | 27 | 62 | 25 |  | 16 | 13 | 251 |
| Percent of students absent in previous two weeks: 114.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:48.3 |  |  |  | Number of Classrooms: 9 Students per Classroom: 48.333 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 4600 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 21.1 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 72.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 109.5 | Doors for Boys: 4 Boy Student:Latrine Ratio: 54 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 64.0% Percent of students that report always using the latrine at school for a short call: 72.0% Percent of students with a latrine at home: 48.0% |  |  |

Handwashing

| School provides water for handwashing: Rainy season only | Mean handwashing demonstration score: 3.8 |
| --- | --- |

| ROWO Intervention Package: Base + Sanitation | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 30 | 27 | 20 |  | 22 | 23 | 27 | 12 |  | 19 | 19 | 199 |
| Girls | 35 | 28 | 28 |  | 27 | 32 | 25 | 24 |  | 17 | 14 | 230 |
| Total Enrollment: 429 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.16 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 6 | 2 |  | 1 | 3 | 3 | 0 |  | 1 | 0 | 16 |
| Girls | 0 | 3 | 4 |  | 7 | 3 | 1 | 2 |  | 2 | 0 | 22 |
| Percent of students absent in previous two weeks: 8.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:47.7 |  |  |  | Number of Classrooms: 10 Students per Classroom: 42.9 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Lake Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 20000 Condition of Tank: Unusable | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 93.2 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:Boil |  | Amount of water treated today: . Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 71.5 | Doors for Girls: 4 Girl Student:Latrine Ratio: 57.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 99.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 88.0% Percent of students with a latrine at home: 60.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.72 |
| --- | --- |

| SAMBA Intervention Package: Base | District: Rachuonyo Division: East Karachuonyo Zone: Rambira |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 34 | 26 | 20 |  | 15 | 18 | 7 | 10 |  | 9 | 6 | 145 |
| Girls | 32 | 28 | 24 |  | 18 | 9 | 8 | 8 |  | 12 | 5 | 144 |
| Total Enrollment: 289 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.99 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 2 | 5 | 0 |  | 12 | 22 | 0 | 0 |  | 0 | 0 | 41 |
| Girls | 3 | 0 | 4 |  | 0 | 4 | 0 | 0 |  | 1 | 0 | 12 |
| Percent of students absent in previous two weeks: 18.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:26.3 |  |  |  | Number of Classrooms: 9 Students per Classroom: 32.111 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 3000 Distance to furthest water source (meters): 3000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 8 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 15.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 41.286 | Doors for Girls: 4 Girl Student:Latrine Ratio: 36 | Doors for Boys: 3 Boy Student:Latrine Ratio: 48.333 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 100.0% Percent of students that report always using the latrine at school for a short call: 84.0% Percent of students with a latrine at home: 48.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 2.68 |
| --- | --- |

| SANGANYO Intervention Package: Base/San Phase II | District: Nyando Division: Miwani Zone: Masogo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 16 | 24 | 20 |  | 23 | 27 | 20 | 12 |  | 12 | 7 | 161 |
| Girls | 26 | 20 | 25 |  | 23 | 14 | 17 | 16 |  | 5 | 8 | 154 |
| Total Enrollment: 315 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.96 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 0 | 21 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 21 |
| Girls | 0 | 0 | 20 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 20 |
| Percent of students absent in previous two weeks: 13.0% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:26.3 |  |  |  | Number of Classrooms: 9 Students per Classroom: 35 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Covered well/borehole in compound Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1500 Condition of Tank: Good | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: 9.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 39.375 | Doors for Girls: 5 Girl Student:Latrine Ratio: 30.8 | Doors for Boys: 3 Boy Student:Latrine Ratio: 53.667 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| SAUSET Intervention Package: Base/San Phase II | District: Nyando Division: Muhoroni Zone: Menara |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 19 | 16 | 20 |  | 26 | 12 | 17 | 11 |  | 8 | 7 | 136 |
| Girls | 19 | 19 | 18 |  | 19 | 16 | 10 | 9 |  | 5 | 9 | 124 |
| Total Enrollment: 260 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.91 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 43 | 8 | 32 |  | 42 | 29 | 39 | 6 |  | 0 | 8 | 207 |
| Girls | 31 | 8 | 24 |  | 23 | 22 | 22 | 1 |  | 0 | 13 | 144 |
| Percent of students absent in previous two weeks: 135.0% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:28.9 |  |  |  | Number of Classrooms: 8 Students per Classroom: 32.5 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 150 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 150 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 4000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 30.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 65 | Doors for Girls: 2 Girl Student:Latrine Ratio: 62 | Doors for Boys: 2 Boy Student:Latrine Ratio: 68 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 76.0% Percent of students that report always using the latrine at school for a short call: 72.0% Percent of students with a latrine at home: 76.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.92 |
| --- | --- |

| SEKA Intervention Package: Base + Sanitation | District: Rachuonyo Division: East Karachuonyo Zone: Rambira |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 43 | 57 | 59 |  | 34 | 46 | 37 | 38 |  | 38 | 30 | 382 |
| Girls | 47 | 48 | 43 |  | 38 | 32 | 34 | 31 |  | 34 | 19 | 326 |
| Total Enrollment: 708 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.85 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 9 | 3 | 4 |  | 1 | 1 | 3 | 2 |  | 2 | 0 | 25 |
| Girls | 8 | 4 | 5 |  | 3 | 2 | 1 | 1 |  | 1 | 0 | 25 |
| Percent of students absent in previous two weeks: 7.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:64.4 |  |  |  | Number of Classrooms: 9 Students per Classroom: 78.667 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 15 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 6.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 9 Student:Latrine Ratio: 101.143 | Doors for Girls: 3 Girl Student:Latrine Ratio: 108.667 | Doors for Boys: 4 Boy Student:Latrine Ratio: 95.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 96.0% Percent of students that report always using the latrine at school for a short call: 92.0% Percent of students with a latrine at home: 76.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.08 |
| --- | --- |

| SIANY KABONYO Intervention Package: Water Phase II | District: Kisumu Division: Kadibo Zone: Nyan'gande |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 10 | 17 | 19 |  | 18 | 23 | 17 | 16 |  | 19 | 14 | 153 |
| Girls | 5 | 26 | 11 |  | 11 | 15 | 15 | 12 |  | 20 | 15 | 130 |
| Total Enrollment: 283 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.85 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 2 | 4 | 0 |  | 4 | 2 | 12 | 28 |  | 3 | 5 | 60 |
| Girls | 2 | 14 | 13 |  | 5 | 0 | 7 | 11 |  | 4 | 3 | 59 |
| Percent of students absent in previous two weeks: 42.0% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:25.7 |  |  |  | Number of Classrooms: 9 Students per Classroom: 31.444 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Missionary group Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 200 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 200 Distance to furthest water source (meters): 200 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3200 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 24 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 22.6 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 70.75 | Doors for Girls: 3 Girl Student:Latrine Ratio: 43.333 | Doors for Boys: 1 Boy Student:Latrine Ratio: 153 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 92.0% Percent of students that report always using the latrine at school for a short call: 40.0% Percent of students with a latrine at home: 92.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.68 |
| --- | --- |

| SIKRI JERUSALEM Intervention Package: Water | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 0 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 0 Students per Classroom: . |  |  |  |  | Roof material: . Floor material: . Electricity: . |  |  |  |
| PTA or School Management Committee: . |  |  |  |  |  |  | NGO Involvement: . . . |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: . Total number of sources used in rainy season: 0 Uses at least one unimproved source for drinking water: . Distance to primary water source (meters): . Distance to furthest water source (meters): . |  | Dry Season Primary Water Source: . Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: . Distance to primary water source (meters): . Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: . Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): . Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: . Treatment methods:.......... |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 0 Student:Latrine Ratio: N/A | Doors for Girls: 0 Girl Student:Latrine Ratio: . | Doors for Boys: 0 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: . | Mean handwashing demonstration score: . |
| --- | --- |

| SIMBI Intervention Package: Base + Sanitation | District: Rachuonyo Division: East Karachuonyo Zone: Nyakongo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 52 | 35 | 25 |  | 30 | 36 | 33 | 21 |  | 17 | 22 | 271 |
| Girls | 35 | 30 | 40 |  | 35 | 30 | 35 | 26 |  | 36 | 12 | 279 |
| Total Enrollment: 550 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.03 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 2 | 3 | 1 |  | 5 | 3 | 2 | 2 |  | 1 | 0 | 19 |
| Girls | 3 | 2 | 2 |  | 6 | 5 | 4 | 2 |  | 3 | 0 | 27 |
| Percent of students absent in previous two weeks: 8.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 8 Student/Teacher Ratio:68.8 |  |  |  | Number of Classrooms: 9 Students per Classroom: 61.111 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Missionary group Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Covered well/borehole in compound Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 30 Distance to furthest water source (meters): 30 |  | Dry Season Primary Water Source: Covered well/borehole in compound Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 30 Distance to furthest water source (meters): 30 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 8000 Condition of Tank: Good | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: 29.1 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 137.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 139.5 | Doors for Boys: 2 Boy Student:Latrine Ratio: 135.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 76.0% Percent of students that report always using the latrine at school for a short call: 92.0% Percent of students with a latrine at home: 92.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.12 |
| --- | --- |

| SINDO Intervention Package: Base | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 38 | 21 | 27 |  | 30 | 30 | 37 | 36 |  | 43 | 19 | 281 |
| Girls | 52 | 47 | 45 |  | 48 | 45 | 43 | 41 |  | 50 | 13 | 384 |
| Total Enrollment: 665 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 1.37 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 31 | 14 | 26 |  | 28 | 20 | 14 | 14 |  | 6 | 3 | 156 |
| Girls | 29 | 12 | 14 |  | 26 | 21 | 13 | 20 |  | 12 | 9 | 156 |
| Percent of students absent in previous two weeks: 46.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 16 Student/Teacher Ratio:41.6 |  |  |  | Number of Classrooms: 14 Students per Classroom: 47.5 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 1500 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 6.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 100 Containers with water: 0 |  | Containers with narrow mouth: 0 Containers with lid: 1 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: . Treatment methods: |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 166.25 | Doors for Girls: 2 Girl Student:Latrine Ratio: 192 | Doors for Boys: 2 Boy Student:Latrine Ratio: 140.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: . |
| --- | --- |

| SOKO KAGWA Intervention Package: Water Phase II | District: Rachuonyo Division: East Karachuonyo Zone: Rambira |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Girls | . | . | . |  | . | . | 0 | 0 |  | 0 | 0 | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 7 Student/Teacher Ratio:. |  |  |  | Number of Classrooms: 9 Students per Classroom: . |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 5 Distance to furthest water source (meters): 5 |  | Dry Season Primary Water Source: No water available Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 15 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: . (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 2 Student:Latrine Ratio: . | Doors for Girls: 1 Girl Student:Latrine Ratio: . | Doors for Boys: 1 Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 88.0% Percent of students that report always using the latrine at school for a short call: 92.0% Percent of students with a latrine at home: 56.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.68 |
| --- | --- |

| SOKO KOGIRA Intervention Package: Base + Sanitation | District: Rachuonyo Division: East Karachuonyo Zone: Omboga |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Total Enrollment: . |  |  |  |  |  |  | Enrollment Ratio (girls/boys): . |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | . | . |  | . | . | . | . |  | . | . | . |
| Girls | . | . | . |  | . | . | . | . |  | . | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: . Student/Teacher Ratio:. |  |  |  | Number of Classrooms: . Students per Classroom: . |  |  |  |  | Roof material: . Floor material: . Electricity: . |  |  |  |
| PTA or School Management Committee: . |  |  |  |  |  |  | NGO Involvement: . . . . |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: . Total number of sources used in rainy season: 0 Uses at least one unimproved source for drinking water: . Distance to primary water source (meters): . Distance to furthest water source (meters): . |  | Dry Season Primary Water Source: . Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: . Distance to primary water source (meters): . Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: . Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): . Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: . Treatment methods:.......... |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: . Student:Latrine Ratio: . | Doors for Girls: . Girl Student:Latrine Ratio: . | Doors for Boys: . Boy Student:Latrine Ratio: . |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: . | Mean handwashing demonstration score: . |
| --- | --- |

| SONGHOR Intervention Package: Base + Sanitation | District: Nyando Division: Muhoroni Zone: Chemelil |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 30 | 22 | 35 |  | 27 | 29 | 26 | 22 |  | 21 | 14 | 226 |
| Girls | 20 | 32 | 30 |  | 30 | 23 | 19 | 15 |  | 17 | 5 | 191 |
| Total Enrollment: 417 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.85 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 16 | 12 | 14 |  | 10 | 8 | 12 | 9 |  | 6 | 7 | 94 |
| Girls | 5 | 15 | 16 |  | 5 | 9 | 10 | 5 |  | 4 | 6 | 75 |
| Percent of students absent in previous two weeks: 40.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:37.9 |  |  |  | Number of Classrooms: 5 Students per Classroom: 83.4 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 30 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 16.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 10 Student:Latrine Ratio: 52.125 | Doors for Girls: 4 Girl Student:Latrine Ratio: 47.75 | Doors for Boys: 4 Boy Student:Latrine Ratio: 56.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 68.0% Percent of students that report always using the latrine at school for a short call: 68.0% Percent of students with a latrine at home: 80.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.84 |
| --- | --- |

| ST JOSEPHS MUKIUNDU Intervention Package: Base/San Phase II | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 24 | 18 | 22 |  | 20 | 10 | 15 | 12 |  | 9 | 11 | 141 |
| Girls | 24 | 14 | 18 |  | 15 | 15 | 20 | 18 |  | 8 | 7 | 139 |
| Total Enrollment: 280 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.99 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 8 | 22 | 26 |  | 22 | 14 | 26 | 16 |  | 0 | 8 | 142 |
| Girls | 10 | 10 | 6 |  | 28 | 22 | 4 | 10 |  | 6 | 4 | 100 |
| Percent of students absent in previous two weeks: 86.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:31.1 |  |  |  | Number of Classrooms: 9 Students per Classroom: 31.111 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 30000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 46 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 214.3 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 46.667 | Doors for Girls: 3 Girl Student:Latrine Ratio: 46.333 | Doors for Boys: 3 Boy Student:Latrine Ratio: 47 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 75.0% Percent of students that report always using the latrine at school for a short call: 79.2% Percent of students with a latrine at home: 37.5% |  |  |

Handwashing

| School provides water for handwashing: Always | Mean handwashing demonstration score: 3.54167 |
| --- | --- |

| SUMBA Intervention Package: Base/San Phase II | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 26 | 17 | 14 |  | 16 | 9 | 11 | 12 |  | 19 | 17 | 141 |
| Girls | 14 | 16 | 10 |  | 8 | 15 | 11 | 11 |  | 15 | 5 | 105 |
| Total Enrollment: 246 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.74 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 68 | 37 | 20 |  | 0 | 20 | 17 | 4 |  | 21 | 2 | 189 |
| Girls | 44 | 43 | 15 |  | 0 | 28 | 14 | 7 |  | 7 | 0 | 158 |
| Percent of students absent in previous two weeks: 141.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:27.3 |  |  |  | Number of Classrooms: 5 Students per Classroom: 49.2 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 2000 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 2000 Distance to furthest water source (meters): 2000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 5000 Condition of Tank: Some cracks/leaks | Gutters: Yes Meters of Gutters: 4 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 40.6 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 3 Student:Latrine Ratio: 123 | Doors for Girls: 1 Girl Student:Latrine Ratio: 105 | Doors for Boys: 1 Boy Student:Latrine Ratio: 141 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 60.0% Percent of students that report always using the latrine at school for a short call: 72.0% Percent of students with a latrine at home: 28.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.28 |
| --- | --- |

| SUNA Intervention Package: Base | District: Rachuonyo Division: Kabondo Zone: Ramba |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 29 | 21 | 24 |  | 14 | 17 | 15 | 16 |  | 19 | 16 | 171 |
| Girls | 26 | 28 | 20 |  | 21 | 23 | 14 | 13 |  | 13 | 6 | 164 |
| Total Enrollment: 335 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.96 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 14 | 10 | 7 |  | 14 | 21 | 13 | 11 |  | 24 | 0 | 114 |
| Girls | 6 | 12 | 11 |  | 16 | 19 | 5 | 6 |  | 4 | 0 | 79 |
| Percent of students absent in previous two weeks: 57.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:37.2 |  |  |  | Number of Classrooms: 9 Students per Classroom: 37.222 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Pond/dam/earthpan Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 3000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 3000 Distance to furthest water source (meters): 3000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: No Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 55.833 | Doors for Girls: 4 Girl Student:Latrine Ratio: 41 | Doors for Boys: 2 Boy Student:Latrine Ratio: 85.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 75.0% Percent of students that report always using the latrine at school for a short call: 55.0% Percent of students with a latrine at home: 80.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.3 |
| --- | --- |

| TAMU Intervention Package: Water Phase II | District: Nyando Division: Muhoroni Zone: Chemelil |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 20 | 41 | 30 |  | 32 | 49 | 40 | 29 |  | 29 | 30 | 300 |
| Girls | 25 | 35 | 32 |  | 33 | 55 | 43 | 23 |  | 25 | 21 | 292 |
| Total Enrollment: 592 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.97 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 34 | 18 | 4 |  | 7 | 13 | 5 | 1 |  | 0 | 0 | 82 |
| Girls | 56 | 16 | 28 |  | 12 | 21 | 2 | 3 |  | 2 | 0 | 140 |
| Percent of students absent in previous two weeks: 37.5% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 17 Student/Teacher Ratio:34.8 |  |  |  | Number of Classrooms: 15 Students per Classroom: 39.467 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: Unprotected spring Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 4 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 3.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 12 Student:Latrine Ratio: 59.2 | Doors for Girls: 5 Girl Student:Latrine Ratio: 58.4 | Doors for Boys: 5 Boy Student:Latrine Ratio: 60 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 52.4% Percent of students that report always using the latrine at school for a short call: 76.2% Percent of students with a latrine at home: 95.2% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 4.19048 |
| --- | --- |

| THURBI Intervention Package: Base | District: Nyando Division: Miwani Zone: Nyang'oma |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 18 | 17 | 18 |  | 13 | 5 | 13 | 10 |  | 8 | 7 | 109 |
| Girls | 17 | 10 | 8 |  | 9 | 11 | 14 | 11 |  | 8 | 6 | 94 |
| Total Enrollment: 203 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.86 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 4 | 12 |  | 8 | 0 | 3 | 3 |  | 0 | 0 | 30 |
| Girls | 0 | 6 | 8 |  | 10 | 0 | 1 | 2 |  | 20 | 0 | 47 |
| Percent of students absent in previous two weeks: 37.9% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:18.5 |  |  |  | Number of Classrooms: 8 Students per Classroom: 25.375 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: No water available Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 2300 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 22.7 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 50.75 | Doors for Girls: 2 Girl Student:Latrine Ratio: 47 | Doors for Boys: 2 Boy Student:Latrine Ratio: 54.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| URIANDA Intervention Package: Base | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 21 | 24 | 31 |  | 30 | 21 | 30 | 24 |  | 37 | 32 | 250 |
| Girls | 41 | 27 | 29 |  | 22 | 19 | 19 | 26 |  | 23 | 20 | 226 |
| Total Enrollment: 476 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.90 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 7 | 12 | 12 |  | 13 | 6 | 6 | 4 |  | 11 | 5 | 76 |
| Girls | 8 | 20 | 16 |  | 8 | 4 | 6 | 8 |  | 3 | . | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 11 Student/Teacher Ratio:43.3 |  |  |  | Number of Classrooms: 10 Students per Classroom: 47.6 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Pond/dam/earthpan Total number of sources used in dry season: 0 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 2000 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 55 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 30 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 0.2 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 4 Total storage capacity (liters): 20 Containers with water: 4 |  | Containers with narrow mouth: 4 Containers with lid: 4 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: Yes Treatment methods:WaterGuard |  | Amount of water treated today: 150 Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 14 Student:Latrine Ratio: 43.273 | Doors for Girls: 9 Girl Student:Latrine Ratio: 25.111 | Doors for Boys: 2 Boy Student:Latrine Ratio: 125 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 92.0% Percent of students that report always using the latrine at school for a short call: 84.0% Percent of students with a latrine at home: 84.0% |  |  |

Handwashing

| School provides water for handwashing: Always | Mean handwashing demonstration score: 4.8 |
| --- | --- |

| UTERERE Intervention Package: Base/San Phase II | District: Suba Division: Gwassi Zone: Nyagwethe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 25 | 46 | 29 |  | 23 | 23 | 13 | 9 |  | 9 | 8 | 185 |
| Girls | 19 | 35 | 25 |  | 21 | 21 | 6 | 15 |  | 13 | 7 | 162 |
| Total Enrollment: 347 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.88 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | . | 16 | 13 |  | 11 | 11 | 12 | 0 |  | 0 | 0 | . |
| Girls | . | 5 | 8 |  | 6 | 12 | 5 | 0 |  | 0 | 0 | . |
| Percent of students absent in previous two weeks: % |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:38.6 |  |  |  | Number of Classrooms: 3 Students per Classroom: 115.667 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 0 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: Lake Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 7 Student:Latrine Ratio: 57.833 | Doors for Girls: 3 Girl Student:Latrine Ratio: 54 | Doors for Boys: 3 Boy Student:Latrine Ratio: 61.667 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 68.0% Percent of students that report always using the latrine at school for a short call: 72.0% Percent of students with a latrine at home: 28.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.4 |
| --- | --- |

| VICTOR MUSOGA Intervention Package: Base + Sanitation | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 21 | 13 | 9 |  | 9 | 15 | 18 | 15 |  | 18 | 15 | 133 |
| Girls | 14 | 15 | 14 |  | 14 | 8 | 17 | 10 |  | 11 | 12 | 115 |
| Total Enrollment: 248 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.86 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 14 | 12 |  | 14 | 29 | 18 | 13 |  | 10 | 27 | 141 |
| Girls | 11 | 16 | 10 |  | 11 | 12 | 10 | 17 |  | 16 | 4 | 107 |
| Percent of students absent in previous two weeks: 100.0% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:27.6 |  |  |  | Number of Classrooms: 10 Students per Classroom: 24.8 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 600 Distance to furthest water source (meters): 600 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 20000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 12 Condition of Gutters: Some problems |  | Gutters Currently Connected: Yes Days of water from tank: 161.3 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 41.333 | Doors for Girls: 3 Girl Student:Latrine Ratio: 38.333 | Doors for Boys: 3 Boy Student:Latrine Ratio: 44.333 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 84.0% Percent of students that report always using the latrine at school for a short call: 64.0% Percent of students with a latrine at home: 72.0% |  |  |

Handwashing

| School provides water for handwashing: Always | Mean handwashing demonstration score: 3.64 |
| --- | --- |

| WAGAI Intervention Package: Base + Sanitation | District: Nyando Division: Miwani Zone: Ombeyi |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 25 | 23 | 21 |  | 15 | 18 | 13 | 20 |  | 34 | 14 | 183 |
| Girls | 24 | 17 | 15 |  | 18 | 18 | 18 | 13 |  | 10 | 5 | 138 |
| Total Enrollment: 321 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.75 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 1 | 1 | 2 |  | 3 | 1 | 1 | 0 |  | 0 | 0 | 9 |
| Girls | 1 | 0 | 1 |  | 2 | 0 | 1 | 0 |  | 0 | 0 | 5 |
| Percent of students absent in previous two weeks: 4.4% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:26.8 |  |  |  | Number of Classrooms: 9 Students per Classroom: 35.667 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Open public well Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 300 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 950 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 30 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 5.9 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 80.25 | Doors for Girls: 2 Girl Student:Latrine Ratio: 69 | Doors for Boys: 2 Boy Student:Latrine Ratio: 91.5 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: % Percent of students that report always using the latrine at school for a short call: % Percent of students with a latrine at home: % |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: . |
| --- | --- |

| WAMBI Intervention Package: Base/San Phase II | District: Nyando Division: Miwani Zone: Masogo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 21 | 18 | 21 |  | 22 | 19 | 18 | 24 |  | 17 | 12 | 172 |
| Girls | 13 | 11 | 10 |  | 12 | 9 | 12 | 9 |  | 10 | 4 | 90 |
| Total Enrollment: 262 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.52 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 11 | 2 | 2 |  | 4 | 5 | 3 | 5 |  | 7 | 2 | 41 |
| Girls | 6 | 1 | 3 |  | 2 | 5 | 5 | 1 |  | 6 | 1 | 30 |
| Percent of students absent in previous two weeks: 27.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:21.8 |  |  |  | Number of Classrooms: 9 Students per Classroom: 29.111 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 200 Condition of Tank: Unusable | Gutters: Yes Meters of Gutters: 10 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 1.5 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 5 Student:Latrine Ratio: 65.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 45 | Doors for Boys: 2 Boy Student:Latrine Ratio: 86 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 68.0% Percent of students with a latrine at home: 92.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.36 |
| --- | --- |

| WANGAPALA Intervention Package: Water Phase II | District: Rachuonyo Division: Kabondo Zone: Awach |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 16 | 29 | 26 |  | 24 | 18 | 21 | 36 |  | 40 | 27 | 237 |
| Girls | 25 | 23 | 21 |  | 28 | 22 | 18 | 22 |  | 25 | 23 | 207 |
| Total Enrollment: 444 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.87 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 0 | 0 | 0 |  | 0 | 2 | 0 | 0 |  | 2 | 0 | 4 |
| Girls | 0 | 0 | 0 |  | 0 | 0 | 1 | 1 |  | 1 | 0 | 3 |
| Percent of students absent in previous two weeks: 1.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:37.0 |  |  |  | Number of Classrooms: 9 Students per Classroom: 49.333 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: No water available Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): . |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 1500 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 5 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 6.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 1 Total storage capacity (liters): 10 Containers with water: 0 |  | Containers with narrow mouth: 0 Containers with lid: 0 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 11 Student:Latrine Ratio: 49.333 | Doors for Girls: 6 Girl Student:Latrine Ratio: 34.5 | Doors for Boys: 3 Boy Student:Latrine Ratio: 79 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 80.0% Percent of students that report always using the latrine at school for a short call: 88.0% Percent of students with a latrine at home: 96.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.56 |
| --- | --- |

| WARINGA Intervention Package: Base/San Phase II | District: Suba Division: Lambwe Zone: Lambwe |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 25 | 17 | 28 |  | 16 | 16 | 19 | 12 |  | 22 | 16 | 171 |
| Girls | 17 | 13 | 14 |  | 15 | 14 | 16 | 16 |  | 26 | 12 | 143 |
| Total Enrollment: 314 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.84 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 1 | 3 |  | 0 | 3 | 3 | 2 |  | 3 | 0 | 19 |
| Girls | 5 | 3 | 3 |  | 3 | 1 | 2 | 2 |  | 2 | 1 | 22 |
| Percent of students absent in previous two weeks: 13.1% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:34.9 |  |  |  | Number of Classrooms: 8 Students per Classroom: 39.25 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: Missionary group Other |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 3 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 150 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 150 Distance to furthest water source (meters): 150 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3200 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 25 Condition of Gutters: Good |  | Gutters Currently Connected: No Days of water from tank: 20.4 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 4 Total storage capacity (liters): 80 Containers with water: 0 |  | Containers with narrow mouth: 4 Containers with lid: 4 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: No Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 4 Student:Latrine Ratio: 104.667 | Doors for Girls: 2 Girl Student:Latrine Ratio: 71.5 | Doors for Boys: 1 Boy Student:Latrine Ratio: 171 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 73.9% Percent of students that report always using the latrine at school for a short call: 78.3% Percent of students with a latrine at home: 47.8% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 4.95652 |
| --- | --- |

| WIGA Intervention Package: Base + Sanitation | District: Suba Division: Gwassi Zone: Kigoto |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 41 | 36 | 31 |  | 46 | 30 | 27 | 32 |  | 24 | 24 | 291 |
| Girls | 24 | 21 | 24 |  | 34 | 20 | 32 | 21 |  | 18 | 24 | 218 |
| Total Enrollment: 509 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.75 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 4 | 1 | 3 |  | 2 | 2 | 0 | 0 |  | 0 | 0 | 12 |
| Girls | 3 | 2 | 1 |  | 2 | 1 | 0 | 1 |  | 0 | 0 | 10 |
| Percent of students absent in previous two weeks: 4.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 10 Student/Teacher Ratio:50.9 |  |  |  | Number of Classrooms: 9 Students per Classroom: 56.556 |  |  |  |  | Roof material: Iron Floor material: Cement Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Public covered well/borehole Total number of sources used in rainy season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 500 Distance to furthest water source (meters): 500 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: No Tank Size: N/A Condition of Tank: N/A | Gutters: . Meters of Gutters: N/A Condition of Gutters: N/A |  | Gutters Currently Connected: N/A Days of water from tank: N/A (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 2 Total storage capacity (liters): 40 Containers with water: 2 |  | Containers with narrow mouth: 0 Containers with lid: 2 Containers with functioning tap: 0 |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: . Treatment methods: |  | Amount of water treated today: N/A Detectable chlorine residual: 0 |  |

Sanitation

| Total Doors: 12 Student:Latrine Ratio: 63.625 | Doors for Girls: 4 Girl Student:Latrine Ratio: 54.5 | Doors for Boys: 4 Boy Student:Latrine Ratio: 72.75 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 42.3% Percent of students that report always using the latrine at school for a short call: 34.6% Percent of students with a latrine at home: 15.4% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.80769 |
| --- | --- |

| YALA Intervention Package: Base + Sanitation | District: Rachuonyo Division: East Karachuonyo Zone: Nyakongo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 34 | 36 | 30 |  | 28 | 28 | 19 | 28 |  | 21 | 16 | 240 |
| Girls | 32 | 35 | 28 |  | 32 | 26 | 22 | 19 |  | 17 | 18 | 229 |
| Total Enrollment: 469 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.95 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 12 | 11 | 15 |  | 4 | 0 | 24 | 4 |  | 2 | 8 | 80 |
| Girls | 18 | 56 | 7 |  | 8 | 0 | 28 | 0 |  | 6 | 0 | 123 |
| Percent of students absent in previous two weeks: 43.3% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 12 Student/Teacher Ratio:39.1 |  |  |  | Number of Classrooms: 9 Students per Classroom: 52.111 |  |  |  |  | Roof material: Iron Floor material: Cement & earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: River/stream Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  | Dry Season Primary Water Source: River/stream Total number of sources used in dry season: 1 Uses at least one unimproved source for drinking water: Yes Distance to primary water source (meters): 1000 Distance to furthest water source (meters): 1000 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 3000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 30 Condition of Gutters: Unusable |  | Gutters Currently Connected: Yes Days of water from tank: 12.8 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 8 Student:Latrine Ratio: 67 | Doors for Girls: 5 Girl Student:Latrine Ratio: 45.8 | Doors for Boys: 2 Boy Student:Latrine Ratio: 120 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 84.0% Percent of students that report always using the latrine at school for a short call: 92.0% Percent of students with a latrine at home: 96.0% |  |  |

Handwashing

| School provides water for handwashing: Never | Mean handwashing demonstration score: 3.12 |
| --- | --- |

| YONGO Intervention Package: Base + Sanitation | District: Suba Division: Central Zone: Sindo |
| --- | --- |

Enrollment, Absenteeism, & School Facilities

| Total Enrollment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 28 | 20 | 10 |  | 12 | 13 | 16 | 21 |  | 16 | 16 | 152 |
| Girls | 22 | 12 | 11 |  | 13 | 22 | 11 | 9 |  | 12 | 10 | 122 |
| Total Enrollment: 274 |  |  |  |  |  |  | Enrollment Ratio (girls/boys): 0.80 |  |  |  |  |  |
| Two Week Absenteeism |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ECD | Std. 1 | Std. 2 |  | Std. 3 | Std. 4 | Std. 5 | Std. 6 |  | Std. 7 | Std. 8 | TOTAL |
| Boys | 30 | 14 | 2 |  | 12 | 11 | 15 | 9 |  | 7 | 5 | 105 |
| Girls | 19 | 5 | 6 |  | 5 | 16 | 6 | 12 |  | 12 | 2 | 83 |
| Percent of students absent in previous two weeks: 68.6% |  |  |  |  |  |  |  |  |  |  |  |  |
| Teacher Information |  |  |  | Classroom Information |  |  |  |  | Facility Information |  |  |  |
| Number of Teachers: 9 Student/Teacher Ratio:30.4 |  |  |  | Number of Classrooms: 8 Students per Classroom: 34.25 |  |  |  |  | Roof material: Iron Floor material: Earth Electricity: No |  |  |  |
| PTA or School Management Committee: Yes |  |  |  |  |  |  | NGO Involvement: None |  |  |  |  |  |

Water Sources, Storage, & Treatment

| Rainy Season Primary Water Source: Rainwater Total number of sources used in rainy season: 1 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 0 Distance to furthest water source (meters): 0 |  | Dry Season Primary Water Source: Public covered well/borehole Total number of sources used in dry season: 2 Uses at least one unimproved source for drinking water: No Distance to primary water source (meters): 200 Distance to furthest water source (meters): 200 |  |
| --- | --- | --- | --- |
| Rainwater Collection and Storage |  |  |  |
| Rainwater Tank: Yes Tank Size: 10000 Condition of Tank: Good | Gutters: Yes Meters of Gutters: 20 Condition of Gutters: Good |  | Gutters Currently Connected: Yes Days of water from tank: 73.0 (Assumes 0.5 L / student/ day) |
| Drinking Water Storage |  |  |  |
| Number of storage containers (drinking only): 0 Total storage capacity (liters): N/A Containers with water: N/A |  | Containers with narrow mouth: N/A Containers with lid: N/A Containers with functioning tap: N/A |  |
| Water Treatment |  |  |  |
| Treat Drinking Water: N/A Treatment methods:N/A |  | Amount of water treated today: N/A Detectable chlorine residual: N/A |  |

Sanitation

| Total Doors: 6 Student:Latrine Ratio: 68.5 | Doors for Girls: 2 Girl Student:Latrine Ratio: 61 | Doors for Boys: 2 Boy Student:Latrine Ratio: 76 |
| --- | --- | --- |
| Percent of students that report always using the latrine at school for a long call: 44.0% Percent of students that report always using the latrine at school for a short call: 52.0% Percent of students with a latrine at home: 72.0% |  |  |

Handwashing

| School provides water for handwashing: Sometimes | Mean handwashing demonstration score: 3.32 |
| --- | --- |