Final Report

INDIA:

CHILD ENVIRONMENT, WATER SUPPLY, SANITATION AND HYGIENE

SITUATION IN ORISSA STATE

NOVEMBER 2001

Dr. K. Balachandra Kurup

Consultant

CONTENTS

Pages

ABBREVIATIONS

EXECUTIVE SUMMARY								3-6

1.            INTRODUCTION							7-8

1.1. OBJECTIVE OF THE ASSESSMENT

1.2. DATA COLLECTION AND ANALYSIS

2.          BACKGROUND				                               9-16

2.1.GEOGRAPHY AND SOCIO-ECONOMIC CONDITIONS

2.2. HUMAN DEVELOPMENT INDICATORS

2.3. WATER RESOURCES

2.4. EVOLUTION OF THE SECTOR

2.5. INVESTMENT IN THE SECTOR

2.6.   OPERATION AND MAINTENANCE

2.7. SANITATION PROGRAMME

3.            INSTITUTIONAL STRUCTURE  OF THE SECTOR         17

4.          SITUATION OF THE DRINKING WATER

AND SANITATION SERVICES                                             17-21

5.          STRENGTHS AND CRITICAL ASPECTS OF THE SECTOR 												  21-23

6.         LINKAGE OF WATER, SANITATION SERVICES

WITH HEALTH AND ENVIRONMENT                              24-25

7.         FUTURE PLANS/OUTLOOK				            25-27

ABBREVIATIONS

ARWSP			- Accelerated Rural Water Supply Programme

AUWSP			- Accelerated Urban Water Supply Programme

CAPART		- Council for Advancement of People’s Action and Rural Technology

CDD/WatSan		- Control of Diarrhoeal Diseases/Water and Sanitation

CD & RR		- Community Development and Rural Reconstruction Department

CE			- Chief Engineer

CGWB			- Central Ground Water Board

CRSP			- Centrally sponsored  Rural Sanitation Programme

DANIDA		- Danish International Development Agency

DFID			- Department of International Development

DWCD			- Department of Women and Child Development

ESA			- External Support Agencies

ESP			- Environmental Sanitation Programme

GoI			- Government of India

HUDCO			- Housing and Urban Development Coorporation

HUDD			- Housing and Urban Development Department

JMP			- Joint Monitoring Programme

GoO			- Government of Orissa

IEC			- Information, Education and Communication

LPCD			- Liters Per Capita Per Day

MCM			- Million Cubic Meters

MICS			- Mutli Indicators Cluster Survey

O & M 			- Operation and Maintenance

OWSSB			- Orissa Water Supply and Sewerage Board

PHED-U                            - Public Health Engineering Department- Urban

PRD			- Panchayat Raj Department

PRIs			- Panchayat Raj Institutions

RDD                                 - Rural Development Department

RGNDMW		- Rajiv Gandhi National Drinking Water Mission

RWSS			- Rural Water Supply and Sanitation

RWSSO                             - Rural Water Supply and Sanitation Organization

SC                                      - Scheduled Caste

SEMs                                 - Self Employed Mechanics

SIRD                                  - State Institute of Rural Development

ST                                      - Scheduled Tribe

VWSC                                - Village Water and Sanitation Committee

WES                                   - Water and Environmental Sanitation

WHO                                 - World Health Organisation

EXECUTIVE SUMMARY

As part of the culmination of International Drinking Water Supply and Sanitation Decade, WHO and UNICEF decided to combine their experiences and resources to develop a Joint Monitoring Programme (JMP) for assessing the water supply and sanitation sector. The overall aim of this exercise was to improve planning, monitoring and management of the water supply and sanitation situation.The reports provide information on water supply and sanitation coverage and the progress made at country level by local agencies responsible for monitoring the performance of the sector. The global assessments were based on data and information collected at the national level by WHO and UNICEF country offices in collaboration with national authorities and other partners.

In India, UNICEF has moved to prepare State level assessments, as a prelude to a country-level assessment, using the guidelines of JMP. As a matter of convenience, the States were identified based on the proximity of UNICEF State offices. This report is An assessment of the water supply and environmental situation in Orissa State.

The State of Orissa is situated on the eastern coast along the Bay of Bengal has 3.7 per cent of the total population. The State shares the borders with the states of West Bengal on the northeast, Bihar on the north, Andhra Pradesh on the southeast and Madhya Pradesh in the west. It ranks as the tenth largest state area wise and eleventh most populous state in the country. As per 2001 census the population of the State is 36.7 million. The population of the State increased by 16 per cent between 1991-2001.

Orissa has the highest Infant Mortality Rate (112) of all states in the country. The State has a high incidence of diarrhoea, about 54 per thousand population, as opposed to the all India average of 31. It is estimated that dehydration caused by diarrhoea is a key factor in as much as 30 per cent of infant deaths. Diarrhoeal diseases spread because of lack of hygienic practices and poor environmental conditions.

In Orissa, till 1989-90, the State drinking water supply programmes were under the administrative control of Housing and Urban Development Department. The Rural Development Department (RDD) is the nodal agency for the rural water supply and sanitation programme in Orissa. RWSSO is the implementing agency and it executes the rural water supply programme. RWSSO is headed by the Chief Engineer (CE) RWSS, who coordinates with the state and central government. UNICEF has been a partner to the government right from the inception of the rural water supply and sanitation programme in the state. From the early 1970s till the mid 1980s, UNICEF support largely focused on the development of water well drilling, hand pump installation and O & M systems.

The rural sanitation programme was formally launched in 1985 at the initiative of the Community Development and Rural Reconstruction Department (CD & RR), under the Minimum Needs Programme. The Centrally Sponsored Rural Sanitation Programme (CRSP) was initiated in the subsequent year. In 1986, a pilot project on rural sanitation was also launched with support from UNICEF.

According to 1991 census, 35 per cent of the rural households were taking water from protected sources (hand pump and piped water) and the trend was increased substantially over years based on the information gathered by NFHS, NSS, NCAER and the MICS. The results of the MICS (2000) revealed that the 59 per cent of the households taking water from protected sources. In 1991, 63 per cent of urban households have access to the protected sources (hand pump and piped water) and in 1992, 1995 and 2000 there is substantial increase of 74 per cent and 78 per cent per cent respectively. However, the data doesn’t provide how much water they collect, duration of supply, time taken to collect water, who collects etc.

The household sanitation coverage in 1991 was only four per cent and the coverage was almost stagnant. The MICS (2000) indicates that the percentage of households having toilet was increased to 17 per cent. Lack of awareness, very scattered habitations, especially in the tribal areas, and good forest cover are some of the factors explaining the low coverage and use of toilet in the rural areas. The urban sanitation trend analysis reveals that the percentage of households having toilet according to 1991 Census was 49 per cent. In 1995, the coverage trend was slightly declined and there onwards a sharp increase in the coverage of 58 per cent and 64 per cent. However, MICS (2000) reveals that the coverage is only 59 per cent.

There is little or no coordination between the sectors and within the sector involved in the water resources, water supply, health, sanitation and women and child welfare. This has been seriously affected the implementation of sanitation programme also. Although, information is being collected by various agencies with regard to the sector, there is no central focus for this function. The current level of information availability is at varying degrees. There is no uniform data collection procedure adopted by all the agencies and coordination in the dissemination of information collected. The information from the districts to the state level is being sent at different points of time, so that consolidation for the given year is difficult. Often, the information presented from the district to the state level depends on the circumstances and purpose for which it is being utilized.

UNICEF has been a leader in the water and environmental sanitation sector for many years in the state. Surprisingly, the State office do not have the basic or minimum information about the progress of the sector, investment, quality of services, data on water borne diseases, effectiveness of the sector and the challenges.

The key challenge in the rural WES sector, pertain to technology choice and O & M. Given its experience, UNICEF can assist the state in developing and implementing WES programmes which become sustainable. The major components of this type of assistance should include: technology promotion appropriate to community practice, community mobilization for O & M, local capacity building and support to decentralization. A differential strategy is required for coastal and interior plains and hilly areas, taking into account the socio-economic, demographic and terrain conditions.

Basic Indicators of Orissa

| Selected indicators | 1991 | 2001 |
| --- | --- | --- |
| Total population (million) | 31.7 | 36.7 |
| Urban population |  | 5.5 |
| Rural Population |  | 31.2 |
| Sex ratio | 972 | 972 |
| Infant Mortality Rate (Rural) | 135 | 81 (1999) |
| Infant Mortality Rate (Urban) | 71 | 65 (1996) |
| Infant Mortality Total | 124 | 124 (1996) |
| Child Mortality | NA | 26 (1999) |
| Under Five Mortality | NA | 131 (1996) |
| Full Immunization % | NA | 45.7 (2000) |
| Percentage of children below five years of age suffered due to diarrhoea | NA | 30.4 (2000) |
| Percent urban households taking drinking water from a protected source (handpump/piped) | 63 | 78 (2000) |
| Percent rural households taking drinking water from a protected source(handpump/piped) | 35 | 58 (2000) |
| Percent rural water supply coverage (as per state water supply agency) |  | 40.0 |
| Percent total households taking drinking water from a protected source (handpump/piped) | 39 | 62 |
| Percent urban households having toilets | 49 | 59 (2000) |
| Percent rural households having toilets | 4 | 8 (2000) |
| Percent total households having toilets | 10 | 17 (2000) |
| Number of Lower Primary Schools |  | 42,104 |
| Number of Upper Primary Schools |  | 12, 096 |
| Number of High Schools |  | 231 |
| Percentage of Lower Primary schools with drinking water facility |  | NA |
| Percentage of Upper primary schools with drinking water facility |  | NA |
| Percentage of High schools with drinking water facility |  | NA |
| Percentage of Lower Primary schools with urinals/toilet facility |  | NA |
| Percentage of Upper primary schools with urinals/ toilet facility |  | NA |
| Percentage of High schools with urinals/toilet facility |  | NA |

NA – Not Available

1. Introduction

As part of the culmination of International Drinking Water Supply and Sanitation Decade, both WHO and UNICEF decided to combine their experiences and resources to develop a Joint Monitoring Programme (JMP) for water supply and sanitation. The overall aim of this exercise was to improve planning, monitoring and management of the water supply and sanitation situation. This concept evolved and the JMP included within its aims the preparation of global assessments of the water supply and sanitation sector. The Global assessment report has been published in 1991, 1993, 1996 and 2000. The reports provide information on water supply and sanitation coverage and the progress made at country level by local agencies responsible for monitoring the performance of the sector. The global assessment report 2000 report updates and consolidates findings of the earlier reports. The global assessments were based on data and information collected at the national level by WHO and UNICEF country offices in collaboration with national authorities and other partners.

In India, UNICEF has moved to prepare State level assessments, as a prelude to a country-level assessment, using the guidelines of JMP. As a matter of convenience, the States were identified based on the proximity of UNICEF State offices. However, there have been wide variations on the information collected from State to State. More over there is ambiguity on the information provided by the various departments on the investment, coverage, use etc. Similarly, a big gap has been noticed in the data on water borne diseases compiled by the health department. However, wherever possible, uniformity has been maintained. The information on investment and coverage has been collected from the Rural Development Department (RDD) and Rural Water Supply and Sanitation Organization (RWSSO).

  - Objective of the Assessment

- To provide an analysis of the data and information maintained at the WSS sector organization at State level;

- To review the critical gap in implementation, effectiveness made and analyze the trend of WSS over a period of last 10 years;

- To advocate policy reform and programme changes as needed, to guide technical assistance programmes, and to encourage investment in the sector;

  - Data Collection and Analysis

With the help of UNICEF State Office located in Chennai, the Consultant approached concerned Government Secretaries, Rural Development Department, RWSSO, Department of Women and Child Development (DWCD), Public Health Department, DFID, OXFAM, NGOs and so on. A format was used to collect the information. This format was prepared based on the instructions and guidelines of the Country level assessment prepared by WHO and UNICEF. While administering the format it was realized that the structure of the reporting and format has to be changed considerably  based on the local environment and situation.

While carrying out the assessment it was noticed that the information availability and flow of information at various level is the biggest bottleneck in the present system. Although, information is being collected by various agencies with regard to the sector, there is no central agency responsible for this function. The current level of information availability is at varying degrees. There is no uniform data collection procedure adopted by all the agencies and coordination in the dissemination of information collected. The information on investment in water supply differs in the budget documents and reports provide by the Rural Development Department, RGNDWM and Planning Commission. The information from the districts to the state level is being sent at different points of time, so that consolidation for a given year is difficult. Often, the information presented from the district to the state level depends on the circumstances and purpose for which it is being utilized.

The same trend has been noticed with regards to the information from the Directorate of Public Health and Department of Women and Child Development. This has seriously affected the assessment of the WSS sector also. The Multi Indicators Survey conducted by UNICEF in 2000 was one of the sources of information for morbidity data. All the other data available from the National Sample Survey and NFHS pertaining to 1998 were used. Besides, this report was able to incorporate more recent information from various studies, documents from Government departments and discussions with colleagues from the RDD, RWSSO, UNICEF, Health Department, Urban Development, DFID and OXFAM.

2. Background

2.1. Geography and Socio-economic conditions

The State of Orissa is situated on the eastern cost along the Bay of Bengal has 3.7 per cent of the total population. Orissa shares the borders with the states of West Bengal on the northeast, Bihar on the north, Andhra Pradesh on the southeast and Madhya Pradesh in the west. The geographical area of the state is 1, 55, 707 sq.kms contributing to 4.8 per cent of the country’s area. It ranks as the tenth largest state area wise and eleventh most populous state in the country. For administrative purposes the state has been divided into 30 districts.

Geographically, the state is divided into three main regions: Coastal Plains, Middle Mountains and the plateaus and rolling uplands. Topographically, Orissa encompasses a wide variety of landform ranging from the North-western plateau to the mountain ranges of the eastern ghats.

Historically, the development of the state has been led by the more progressive regions of Coastal and Eastern Orissa. The northern, western and southern parts of the state were forested hinterlands in the colonial era and came up for extraction of timber and and later minerals. The regional imbalance was compounded by the presence of large indigenous populations in these ‘backward’ regions of the state, whose economy, survival practices and social organizations, are at great variance from those in the coastal plains. These areas and their people have been victims of successive colonization and exploitation by rulers and outsiders from coastal regions of Orissa and the neighbouring states.

2.2. Human Development Indicators

As per 2001 census the population of Orissa is 36.7 million. In terms of population it holds the same position (eleventh) among States and Union territories as at the previous census. The population of the State increased by 16 per cent between 1991-2001. The sex ratio (i.e., the number of females per thousand males) of population was recorded as 972. Total literacy in the State has shown significant improvement. This has risen from 49.1 per cent in 1991 to 63.6 per cent in the present Census.

The rural population of the state is 31.2 million constitutes 85.1 percent of the state’s population. The urbanization is about 15 per cent, one of the lowest in the country. The density of population rural population works out to 236 per sq.km. The Scheduled Castes (SCs) and Scheduled Tribes (STs) population accounts for about 16 per cent and 22 per cent respectively of the state’s population.

Orissa has a high incidence of diarrhea about 54 per thousand population, as opposed to the all India average of 31. The State has the highest Infant Mortality Rate (98) of all states in the country. It is estimated that dehydration caused by diarrhoea is a key factor in as much as 30 per cent of infant deaths. Diarrhoeal diseases spread because of lack of good hygiene practices and poor environmental conditions.

Infant Mortality in rural areas declined from 97 during 1984-88 to 81 deaths during 1994-98. Neonatal mortality declined by 21 per cent and post neonatal mortality by 9 per cent over the same period. By contrast, neither neonatal or post neonatal mortality declined much in urban areas over this period. Between 1984-88 and 1994-98 child mortality declined 21 per cent in urban areas and 16 per cent in rural areas (NFHS-2).

Orissa’s per capita income is Rs.1, 902 compared to Rs.2, 355 for India as a whole. The economy of Orissa is predominantly agricultural. The agricultural sector absorbs 80 per cent of the total work force and contributes 50 per cent of the state’s domestic product. Inspite of its rich natural resource base, the state is second poorest in the country, with about half its population living below poverty line. Infamous for its recurrent droughts, poverty and backwardness, Orissa suffers from over dependance on primary activities, especially paddy cultivation, poorly developed and under utilized irrigation facilities. The health condition of the people of Orissa, measured in terms of mortality and morbidity, are extremely poor. For instance, in 1992 the infant mortality rate was 114 per 1000 live births in Orissa (highest among all states), compared with 79 in all India. On the whole, Orissa is economically, socially and demographically a backward state in India.

2.3. Water Resources

Orissa enjoys a topical monsoon type of climate. The south west and north east monsoons effectively control the climate. Rainfall distribution is heavy in the coastal districts of Puri, Cuttack, Balasore and Ganjam to meager in Kalahandi and Koraput districts. The coastal districts face severe floods during heavy rainfall and the north western plateau of Kalahandi, Koraput, Bolangir, Sundargarh face drought consistently due to low rainfall. The annual average rainfall in the state is 1482 mm, although there is a large spatial variability, with some areas experiencing annual average rainfall of only about 600 mm. Average rain fall has been normal since 1992 except in 1996 when only 990 mm was recorded, the lowest in this decade.

The state has 16 rivers which flows from west to east and south. Rivers, Subernarekha, Budhabalanga, Sona, Salindi and Baitarini supply surface water for irrigation as well as drinking water purposes in the districts of Mayurbhanj, Balasore and Keonjhar. Rivers like Mahanadi and Brahmini supply drinking water to Cuttack and Puri districts. The rivers of the state drain from west to east in the Bay of Bengal. While the coastal region has abundant water resources and a shallow ground water table, the plains present a mixed situation.

Ground water is the major natural source of drinking water in rural areas. The drinking water requirement in 1991 was 4.9 MCM and was estimated at 5.6 MCM in 2000 and to grow up to 8.3 MCM by 2000. In 1990, surface water utilization in the state was only about 30 per cent of the available resources, further indicating the prevalence of single crop rain-fed cultivation.

The State Water Policy (1995), drawn within the framework of the National Water Policy, 1987 aims at development of utilizable water resources to the maximum for economic development; judicious use of ground and surface water, judicious allocation to sectors rendering top priority to drinking water; maintenance of water quality, promotion of citizen’s participation and financial and physical sustainability through effective O & M management. The implementation of the water policy rests with the Water Resources Department (WRD). It is provided guidance by the Water Resources Board, formed in 1993, which is the highest coordinating body on water planning and allocation between sectors.

2.4. Evolution of the sector

The main objective of the state and central government is to provide universal access to safe drinking water in a sustainable manner in order to improve the living conditions of the people. The State Government is giving highest priority to provide access to safe water to al habitations, to the current norm of one water point for 250 population within 1.6 km distance, to ensure 20 litres per capita per day (lpcd).

With the advent of National Drinking Water Mission in 1986, the policy of coverage of problem habitations was reinforced with complementary objectives.

- To cover residual problem habitations;

- To evolve an appropriate technology mix;

- To improve performance and cost effectiveness of the ongoing schemes;

- To create awareness among villagers on the use of safe drinking water;

- To take measures for the sustainability of the sources and the systems

In late 1989, Government of India introduced policy level changes including the community-oriented approaches in the implementation of sector programmes. The Accelerated Rural Water Supply Programme (ARWSP) guidelines stressed the importance of Community Participation Management, Information, Education and Communication (IEC), Human Resource Development and Research and Development component. An IEC strategy has been developed for the whole country and 65 districts were selected for the initial IEC activities

Till 1989-90, the State drinking water supply programmes were under the administrative control of Housing and Urban Development Department. In 1989, with the formation of Rural Development Department (RDD), the Rural Water Supply and Sanitation Organization (RWSSO) was created under the administrative control of RDD.

The Housing and Urban Development Department (HUDD) is responsible for policies, programmes and projects in the urban sector. According to GoO, Rules of Business, 1956, the business of HUDD is divided into three broad branches comprising Urban Development, Public Health Engineering and Housing. The erstwhile PHED was recast into PHED-U, is responsible for the construction and maintenance of urban water supply schemes.

The Government of India issued new set of guidelines for implementation of RWS programmes. These guidelines marked a qualitative shift from a supply driven approach to demand responsive approach. Several donors are involved in providing assistance to the rural water supply and sanitation sector in the State. In the early 1990’s Orissa has also gained the experience in implementing community based integrated rural water supply and environmental sanitation project with funding from UNICEF, DANIDA, DFID etc. Another major policy shift is evident in the externally aided and GoI supported RWSS projects in the State, wherein capital cost sharing by users has been introduced.

UNICEF-GoO cooperation: UNICEF has been a partner to the government right from the inception of the rural water supply and sanitation programme in the state. From the early 1970s till the mid 1980s, UNICEF support largely focused on the development of water well drilling, hand pump installation and O & M systems. In 1980s Orissa was one of four states in which the first attempts at community participation – the three tier system with village caretakers was field tested. From late 1980s, UNICEF started support for a wide range of programme components. In 1992, UNICEF established a Field Office in Bhubaneswar.

In 1992, RDD started the implementation of CDD/WATSAN strategy in Phulbani district. This strategy, linking water- sanitation- and health, aims to reduce diarrhoeal mortality and morbidity. In 1996, the strategy was extended to neighbouring Ganjam district. The strategy aims to increase the use of safe water, sanitary toilets and the practicing of personal hygiene.

DANIDA Project: To address the problem of salinity in ground water the Orissa Drinking Water project was launched in 1983 in three coastal districts with assistance from DANIDA. The DANIDA project attempted a number of innovative approaches in the implementation, management and monitoring. Existing indigenous technology for drilling in alluvial formations was refined to improve the quality of boreholes, hydro-geological inputs were applied systematically for source finding and for monitoring; socio-economic inputs were provided for better planning, acceptability, monitoring and management of sources. This project also included a sub-project on Health, Hygiene and Sanitation promotion. Some of the elements such as hydro-geological resources are now a part of RWSSO. Similarly, the decentralized system of hand pump maintenance, using Self Employed Mechanics (SEMs), is now considered for part of the Gram Panchyat managed system.

Sector reforms

The Rajiv Gandhi National Drinking Water Mission, Government of India is supporting the implementation of community based rural water supply and sanitation programme under the sector reforms in three pilot districts of Ganjam, Balasore and Sundergarh. In view of the growing demand for water supply and the low coverage rate for rural sanitation, the GoO has endorsed a “reform” programme in the water supply and sanitation sector that:

- Supports the establishment of an enabling environment that politically, legally and institutionally supports the reform of the sector;

- Clarifies and rationalizes the roles and responsibilities of the various sector agencies of the GoO;

- Supports a decentralization process that gives responsibilities to village water and sanitation committees (VWSCs) and Panchayat Raj Institutions (PRIs);

- Calls for the involvement of NGOs and the full participation of user communities in sectoral decision making and project implementation; and

- Promotes the financial viability and sustainability of the installed systems by implementing cost sharing and cost recovery policies with the purposeful involvement of the community.

Rs.400 million is earmarked for water supply and Rs.100 million for sanitation in each district. Besides, under the Total Sanitation Campaigns five districts were identified and this includes the three sector reforms districts (other districts are Bhadrak, Khurda). The Rural Development Department is coordinating the activities at the State level and the Zilla Parishads at District level. As per the guidelines following institutional set up has been established for implementing and monitoring the activities.

- District water & sanitation mission as Governing Body;

- District level implementation committee with District Collector as its Chairman;

- Taluk level water and sanitation committee with Executive Officer as its Chairman;

- Village water and sanitation committee (VWSC) or Village Development Committee (VDC) in project villages.

With the support of UNICEF, the three districts have prepared the project proposals which have been approved; Balasore and Ganjam are working on preparatory activities , like base line studies, IEC activities, selection of NGOs etc. It is anticipated that UNICEF will play an active role in supporting the effective implementation of the sector reforms project.

2.5. Investment in the Sector

The state level programmes in water supply and sanitation are often financed by the national as well as state government and are designed to respond to state level conditions in urban and rural areas. Over the last two decades, the GoO, using its own resources, significant contributions from MNP, ARWSP, the CRSP and others, and support from international donor agencies for providing drinking water and sanitation facilities in the rural areas.

The expenditure on water supply amounted to Rs.374 million in 1990-91, which sharply increased to about Rs.985 million in 2000-01 (Chart -1). The total investment for the period 1991-92 to 2000-01 was Rs.7, 428 million.

Chart- 1

In 1998-99, the budgetory provision for urban water supply and sanitation amounted to Rs.403 million and included Rs.80 million for on-going water supply schemes; Rs.36 million for removal of deficiency in urban water supply (GoI scheme), completion of Bhubaneswar Naraj Water supply project (Rs.19 million); state share of AUWSP (Rs.20 million); hand pump tube wells (Rs.13 million). Urban sewerage claimed only Rs.22 million where as urban low cost sanitation was budgetted as Rs.0.15 million only. The non-plan budgetary provision for 1998-99 amounted to Rs.367 million. The total annual plan (1999-2000) outlay for the urban sector was Rs.933 million, of which about Rs.396 million was provided for the urban water supply and sanitation sector. Of this, sanitation and low cost sanitation was allocated Rs.20 million and Rs.1.5 million respectively, indicating a very low priority accorded to sanitation, even in the urban areas.

During the Eight plan period, the OWSSB has taken up schemes in six towns at a total project cost of Rs.1, 310 million (HUDCO loan of Rs.700 million and Government margin funds supporting this). During 1998-99, four new town water supply schemes have been taken up for execution at an estimated cost of Rs.500 million (HUDCO loan of Rs.350 million and Rs.150 million from GoO). A programme of Rs.1,500 million for the balance three years of the Ninth Plan (1999-2002) has been proposed by the OWSSB, subject to budgetary provisions, raising of infrastructure Bonds and availability of loans. Although, loans are obtained using proposals which contain full details of cost recovery mechanisms, none of the schemes  implemented under HUDCO loans by the OWSSB has been able to recover even the O & M costs.

2.6. Operation and Maintenance:

The rural water supply capital and O & M costs are entirely borne by the government. Water tariffs are levied on consumers in the urban areas of the state. Revision of tariffs is undertaken from time to time, as provided for the Orissa Water Works (Urban local bodies) Rules, 1980, the last revision was made in August 1996. The rate for metered connection is Rs.1.50 per kilolitre. In addition, special rates are charged for purposes other than irrigation, including industrial and commercial purposes, bulk supplies to municipalities, building construction etc. The collection is reported to be about 50 to 60 per cent of the demands raised. However, the poor recovery rates do not even cover a third of the PHED’s urban water supply O & M costs. The expenditure on repairs and maintenance of all public water sources was Rs.295 million and is expected to increase by Rs.350 million in 1999-2000. It was reported that approximately Rs.500 million would be required for the maintenance and replacement of hand pumps.

The allotment for RWSS for maintenance of tube wells and PWSS in 1998-99, was Rs.84 million and Rs.94 million respectively. The non-plan budgetory provision for RWSS (1988-99) was Rs.167 million; demand under state plan Rs.480 million (additional provision of Rs.180 million has been made for beyond plan ceiling) and Rs.520 million under Centrally Sponsored Plan.

2.7. Sanitation Programme:

The Barpalli (a block in Sambalpur district) was the birthplace of the first single pit sanitary low cost latrine (single pit pour flush latrines) in the country, which was introduced in the late 1950s. By the time when the twin pit pour flush design was promoted through the subsidized programme in the State, the single pit design was already widely known in the State.

The rural sanitation programme was formally launched in 1985 at the initiative of the community Development and Rural Reconstruction Department (CD & RR), under the Minimum Needs Programme. The Centrally Sponsored Rural Sanitation Programme (CRSP) was initiated in the subsequent year. In 1986, a pilot project on rural sanitation was also launched with support from UNICEF. In 1989, the Panchayat Raj Department (PRD) was formed and the sanitation programme was taken over by the PR Department.  During the same period, there is a sudden increase in the departments, agencies and NGOs came forward to work in the sanitation sector. The main implementators included PHED, RDD, RWSS, Housing and several Non-governmental Organizations (NGOs) through funding from Council for Advancement of People’s Action and Rural Technology (CAPART).

During the Seventh Five year plan (1985-90), initiative has taken to construct individual household latrines under the JRY and rural housing projects including Indira Awaas Yojana (IAY). At the same period the Central Rural Sanitation Programme (CRSP) was also introduced with resources being shared by the Centre and the States. During 1988-89 UNICEF provided financial and technical support for the establishment of State Sanitation Cells, District Sanitation Cells and State Institute of Rural Development (SIRD) in the State. With the support of UNICEF, in late 1989, Government of India introduced policy level changes including the community-oriented approaches in the implementation of sector programmes. In 1992, an IEC Cell was established in the RDD with support from UNICEF. In 1993, the CRSP guidelines was revised to introduce a number of major changes in the programme strategies. Inspite of these efforts it was not possible to develop a comprehensive approach and a delivery mechanism for the acceleration of sanitation programme in the state.

The rural sanitation programme which earlier comprised of latrine construction work only, has moved with sanitation being recognized as a package, with seven components, namely, 1) handling of   drinking water; 2) disposal of waste water; 3) disposal of human excreta; 4) disposal of garbage and animal excreta; 5) home sanitation and food hygiene; 6) personal hygiene and 7) village sanitation. RDD also decided to involve NGOs in the motivation and promotional activities. A group of eight NGOs and two corporate institutions (like Orissa Renewable Development Agency and Sulabh International) were identified to implement the programme on a turn key basis, starting with demand assessment, capacity building and monitoring the use.

In terms of achievement 74, 660 household latrines, 447 village women complexes and 8441 school latrines were constructed from 1991-92 to 2000-01. Approximately Rs.210 million (CRSP and MNP) were invested for the rural sanitation programme for the mentioned period. Between 1993-94 and 1996-97 more than 38,000 household latrines were built and the subsequent review in 1997 revealed that a large proportion (around 70 per cent) of the toilet built with subsidy continued to be of the more expensive twin pit designs. In late 1997, the implementation of rural sanitation programme has been handed over to the Zilla Parishads. RDD issues guidelines based on the six design options of toilets (issued by RGNDWM) with subsidy to BPL families, ranging from Rs.600 to Rs.3, 000. Recently, the RDD has taken a decision to limit the amount of subsidy to a maximum of Rs.300 to cover the part of the cost of a single pit unit.

School Sanitation Programme: The novel idea of school sanitation programme, with the support of UNICEF was initiated in the State. The school sanitation strategy developed by RGNDWM and UNICEF was adopted for this purpose. As per state records, 45, 227 primary and upper primary schools in the state, only nine per cent of the schools have toilets and only one per cent use it. The main reason for the low rate of use of toilets is lack of importance given to sanitation, which is not adequately recognized in the curriculum or training of teachers.

From 1996, UNICEF is supporting school sanitation in Kandhamal and Ganjam districts. Similar activities were initiated in Puri, Balasore and Kendrapara in 1998, 1999 and 2000 respectively. Plans are to reach at least 80 per cent of all rural primary schools in these five districts with school sanitation by end 2002. There was a great deal of liaison with government officials to ensure that schools are centres of communication and hygiene education.

3. Institutional Structure of the Sector

The Rural Development Department (RDD) is the nodal agency for the rural water supply and sanitation programme in Orissa. The RDD also looks after rural works, like roads, buildings and minor irrigation including lift irrigation. The Principal Secretary, RDD is overall in-charge of the department and is assisted by the Director, who is also the ex-officio Additional Secretary of the Department. There are two Deputy Secretaries in the department, one exclusively looking after the rural water supply and sanitation programme. RWSSO is the implementing agency and it executes the rural water supply programme. RWSSO is headed by the Chief Engineer (CE) RWSS, who coordinates with the state and central government. The RWSSO has 6 circles, 24 divisions and 98 sub divisions.(Appendix -1). It is also responsible for maintenance and operations of tube wells, sanitary wells and piped water supply schemes. The RWSS functions are predominantly focused on hand pumps which constitute the source of supply for about 97 per cent of the rural population.

In April 1997, the implementation of rural sanitation was handed over to the Zilla Parishads. The Deputy Secretary, RDD is the focal point for implementation and monitoring of sanitation activities at the state level.

The Housing and Urban Development Department (HUDD) is responsible for policies, programmes and projects in the urban sector. The PHED-U constructs and maintains water supply and facilities in urban areas of the State. The PHED-U has provided 143,000 house connections, 14, 200 public stand posts and 9, 500 hand pumps and this covers only less than two-third of the urban requirement.

The Orissa Water Supply and Sewerage Board (OWSSB) is a specialized body, constituted in 1991, by the Orissa Water Supply and Sewerage Board Act 1991. This comes under the administrative control of HUDD and provides support to implementation and execution services mainly for urban water supply and sanitation schemes.

4. Situation of the Drinking Water and Sanitation Services

The state has 114, 099 rural habitations consisting of 46, 989 main villages and 67, 110 hamlets according to 1991 census. The State has been investing substantial amount of funds from Central Government grants and external assistance under various programmes to improve the supply of potable water to the rural and urban areas. According to the information provided by the government there are 12, 987 Bore wells with hand pumps; 800 Mini water supply schemes and 128 Piped Water supply schemes in the state. The coverage norm followed is 40 lpcd for the rural areas. In Orissa, over 170, 000 hand pumps form the backbone of rural public water supplies. An estimated 15 to 20, 000  boreholes are defunct.

In 1991, an estimated 35 per cent of the households in rural areas had access to safe drinking water. While 47 per cent of the households obtained drinking water from wells, six per cent used tanks and eight per cent depended on rivers and canals. Only three per cent had piped water supply, while 32 per cent depended on hand pumps and tube wells. Only 17 per cent of the households reported drinking water supply inside their premises. By 1994, 24 per cent of the rural households reported access to piped water supply and 49 per cent of the households had access to protected water supply sources.

About 63 per cent of the urban households had access to safe drinking water in 1991.A third of the urban households depended on wells and piped water supply was available to about 46 per cent of the urban households. A little less than half the urban households, had the drinking water source within their premises. About 17 per cent of the urban households had independent connections by 2000 amongst the estimated 72 per cent of the households, who had access to protected water supply through taps, stand posts and hand pumps.

The proportion of households having individual sanitary latrines was 49 per cent in urban areas and a dismal four per cent in rural areas. The percentage of households with toilets remains extremely low, less than ten per cent (2000).

Water Quality

In many areas of the State, ground water contains excess iron and people reluctant to the water from hand pumps because of the bad taste and smell. In coastal areas, saline water intrusion is a problem, aggravated by indiscriminate pumping of shallow fresh water. While the official figure for drinking water coverage in terms of access is impressive, around 448 habitations are yet to be covered and 1460 habitations are partially covered. These are predominantly in inaccessible, often densely forest areas, at times 10 to 15 kilometers from the nearest road. During the monsoons many of these hamlets remains isolated and submerged in water.

Rural Scenario: Water Supply

It should be noted that coverage and access while theoretically close are, in practice, different concepts within the water sector and in development programmes in general. Coverage is the more theoretical measure, usually obtained by multiplying the number of water outlets or service points by a fixed factor. According to the information provided by the RWSSO, out of 114, 099 habitations, 112, 099 (98.3 per cent) are reported to be fully covered and 1, 461 (1.3 per cent) partially covered and 448 (0.4 per cent) not covered. However, these statistics are very far from realities.

Chart -3

Chart- 3 provides a different interpretation on the percentage of households taking water from protected sources (hand pumps and piped water) in the rural areas of Orissa from 1991 to 2000. According to 1991 census, 35 per cent of the households were taking water from the protected sources and the trend was increased substantially over years based on the information gathered by NFHS, NSS, NCAER and the MICS. The results of the MICS (2000) revealed that the 59 per cent of the households taking water from protected sources.

However, the data doesn’t provide the amount of water they collect, duration of supply, time taken to collect the water, are they get enough water, who collects water etc. There is a need to conduct periodic (quarterly) functionality studies to provide answers to many of the above mentioned questions.

Sanitation

Char 4, indicates the coverage of rural sanitation from 1991 to 2000 based on several studies. In 1991 the coverage was only four per cent and the coverage was almost stagnant. The MICS (2000) indicates that the percentage of households having toilet was increased to 17 per cent. Lack of awareness, very scattered habitations, especially in the tribal areas, and good forest cover are some of the factors explaining the low coverage and use of toilet in the rural areas.

Chart- 4

Urban Scenario: Water Supply

Chart – 5, presents the Percentage of households taking drinking water from protected sources (hand pumps and piped water) based on various survey results. In 1991, 63 per cent have access to the protected sources and in 1992, 1995 and 2000 there is substantial  increase of 74 per cent and 78 per cent per cent respectively. However, the data doesn’t provide how much water they collect, duration of supply, time taken to collect water, who collects etc. There is a need to conduct periodic (quarterly) functionality studies to provide answers to many of the above mentioned questions. More over the data contradicts with the reality of the situation in majority of the urban areas.

Chart - 5

Sanitation

The urban sanitation trend analysis (Chart -6) reveals that the percentage of households having toilet according to 1991 Census was 49 per cent. In 1995, the coverage trend was  slightly declined and there onwards a sharp increase in the coverage of 58 per cent and 64 per cent. However, MICS (2000) reveals that the coverage is only 59 per cent.  More over, the data do not provide information on the percentage of the households using it, technology adopted, functionality status of the toilet, does all family members use the toilet etc. There is a need to conduct regular use and maintenance study to estimate the percentage of households using the toilet and also the functioning of the systems etc.

Chart - 6

5. Strengths and Critical aspects of the Sector

Orissa presents a complex case of extreme poverty, community and regional iniquities and institutional paralysis. These will preoccupy state policy for some time to come and therefore, any interventions in the WES sector will need to be in consonance with the primary agenda for sustained poverty reduction. Hence, the approaches should be simple, locally specific, less resource intensive and focused. More over the resources of UNICEF are thinly distributed and programme staff are not able to prioritize their work.

There is little or no coordination between the sectors and within the sector involved in the water resources, water supply, health, sanitation and social welfare. This has been seriously affected the implementation of sanitation programme also. Efforts should be made to improve the inter-sectoral coordination to ensure awareness creation and demand generation, especially for sanitation and hygiene.

There is a sheer contrast in infrastructure and social development indicators, between the coastal region and flood plains of major rivers, and the interior hilly and tribal regions. The backward and tribal regions have been systematically exploited, neglected in development planning, and the limited investment actually made in these regions. Capital investments in WES as in other sectors, have more often than not, remained dead assets in most of these areas of the state. The reasons for these are to be found in the structure of community organization, composition of the government and a wide spread culture of rent extraction, especially focussed on the tribal hinterlands of the state. Therefore, WES assistance will need to recognize that governmental, non-governmental institutions and much of civil society, themselves pose the biggest constraint to development. This suggests again approaches in the WES sector, which empower communities, build local capacity and self reliance, promote transparency and combat corruption and nepotism.

UNICEF has been a leader in the water and environmental sanitation sector for many years in the state. Surprisingly, the State office do not have the basic or minimum information about the progress of the sector, investment, quality of services, data on water borne diseases, effectiveness of the sector and the challenges.

Water quality is the main issue in the coastal areas of the state. Unlike other coastal areas, Orissa is yet to suffer large scale saline water ingress, although pockets of brackish and saline water bearing aquifers are observed. Since a variety of sources like wells, ponds are used for domestic purposes, contamination of shallow coastal aquifers can affect the coastal population. In addition, flooding during the rainy season can contaminate shallow wells easily and cyclone induced heavy rainfall can cause contamination of all water sources. High dissolved iron content is a common quality problem in many regions of the state and hand pumps with this problem, are abandoned by users. Iron removal plants have been installed on many hand pumps, but are poorly maintained and have been wasted investment in many cases.

The key issue relating to drinking water supply in the rural areas of the State, is of the maintenance of hand pumps and other PWS infrastructure. A considerable proportion of the infrastructure set up in the underdeveloped parts of the state, is either poorly maintained or unutilized. The O & M of hand pumps in hilly and tribal areas, is a major problem. With low skill levels of local users, maintenance becomes dependant on RWSS staff.  A considerable proportion of the infrastructure set up in the underdeveloped parts of the state, remains under utilized or defunct; whereas construction of new facility, is preferred over refurbishing old assets.

In contrast to the water supply and sewerage sector, irrigation users are found to be paying for water supplied to them from irrigation works. The Revenue Excise Department levies a Kharif water rate for cereal crops ranging from Rs.25 to 100 per ha per year depending on the class of irrigation work; and another rate for crops other than staple cereal crops ranging from Rs.14 to 465 per ha per year. These rates are low, politically sensitive and exempted on occasion of droughts. However, they do signify demands, which farmers are expected to pay, unlike water supply (except in urban areas) which is still perceived to be free.

The Agriculture and Irrigation Department has set out in the State Agriculture Policy (1996), the intention to increase irrigation coverage to 50 per cent by 2001. Towards this, about 11, 000 shallow tube wells have already been added (by 1999) and another 25,000 tube wells are targeted annually, for the next three to five years. The state does not have a ground water control regime and it is not deemed necessary given the current resource use patterns. The ground water situation is likely to deteriorate, especially in water deficit areas, if these agricultural development efforts yield results.

The main issues pertaining to urban services are the huge requirements for capital; lack of adequate O & M management arrangements; the significant gap between physical provision and service levels; a near complete absence of community involvement in urban services management, and finally low to non-existent user charges. Besides, the department responsible for the sector suffers from inadequate allocation of resources from GoO. The situation of small and medium towns is of particular concern, especially since many of them do not have the presence of important public institutions and hence, have little ability to articulate their needs and concerns.

In both rural and urban areas of the state, sanitation is one of the biggest challenges. Even though drinking water enjoys priority, sanitation does not find sufficient popular engagement. Therefore, this sub-sector has suffered from lack of public and private investments. The urban areas of the state, have witnessed minimal planning. Sanitation arrangement in the rural areas are a huge problem, and will need concerted effort, a coordinated strategy between various stakeholders, enormous investments and efforts at demand generation for even a dent to be made to the problem. Pilot projects have indicated that there are opportunities to start work in this area and these are likely to provide lessons for the future.

The PRI’s capability to manage provision of basic environmental services, both in rural and urban areas, is extremely low due to poor financial situation, low literacy and skill levels and high dependency on the government.

Information availability and flow of information at various levels is a biggest bottleneck in the present system. Also there is no uniform documentation of information on individual activities at Panchayat and above. Under such circumstances it is difficult to compare and consolidate the information. More over information on the trend of water borne diseases is not properly maintained at the health services department.

Although, information is being collected by various agencies with regard to the sector, there is no central focus for this function. The current level of information availability is at varying degrees. There is no uniform data collection procedure adopted by all the agencies and coordination in the dissemination of information collected. The information on investment in water supply differs from the RDD, RWSSO, Finance department, RGNDWM and Planning Commission. The information from the districts to the state level is being sent at different points of time, so that consolidation for the given year is difficult. Often, the information presented from the district to the state level depends on the circumstances and purpose for which it is being utilized.

6. Linkage of Water and Sanitation Services with Health,   Environment and Social and Economic development

It has generally been observed that improvement in water supply and sanitation has a role to play in reducing high levels of morbidity and mortality that prevail in poor societies today. While access to safe drinking water and sanitation have been proven to be essential to good health, and availability of water is a prerequisite for socio-economic development, there also exists a cause and effect relationship between water, sanitation, health and development. This will be depends on the effective linkages with water, sanitation, health, hygiene and environment. The reality is that integrated projects are implemented in a disintegrated manner. More over very little attention has been given on the process than the end results due to the prescribed time frame for the completion of the integrated projects.

The CDD/Watsan strategy was able to initiate action at various stakeholder level. The strategy of linking water- sanitation- and health, aims to reduce diarrhoeal mortality and morbidity. In 1996, the strategy was extended to neighbouring Ganjam district. The strategy aims to increase the use of safe water, sanitary toilets and the practicing of personal hygiene, especially proper hand washing, complemented with community and household action to properly manage diarrhea among children. Besides, this strategy emphasizes the importance of establishing linkages with ICDS, health education and nutrition line agencies.

An emerging challenge is to bring about a minimum level of awareness of the importance of personal and environmental hygiene at household and community level in the rural areas and urban slum, while increasing the availability of water and sanitation facilities. A massive and sustained campaign is necessary to achieve the ultimate objective of WSS, so that the benefits of increased water availability, improved sanitation and hygiene can be translated into improved health and a better quality of life.

Use of safe water and appropriate sanitation should constitute elements of primary health care to bring about improvements in health and hygiene practices and not just the construction of more water and sanitation systems. A sociological review of the rural water supply efforts in the past decade among 8 Indian States reveals that access to safe water does not necessarily imply proper use of safe water. The study further reveals that appropriate use of water and people’s behavioural practices (on collection, handling, transport, storage and use) are prudent than just provision of safe water. The goal of every drinking water and sanitation programme unquestionably is to reduce mortality and morbidity from water borne diseases.

The statistics on water borne diseases in the State also explains the need for organizing focused public health programme. The current situation in the water, sanitation and health requires a much more pragmatic working strategy for improving the quality of the life of the people. For evident reasons, primary health care has to be developed as an integral part of socio-economic development and with full participation of the individual, family and community. The underlying assumption is that people will accept the desired health practices only if they are aware and fully convinced. The public health scenario in Orissa explains the need for closer integration of the activities of the Departments of Health, Rural Development, Public Health Engineering, Women and Child Development, Agriculture, NGOs and so on;

Similarly, there is a need for closer integration of the health education programme with not only the water and sanitation programmes, but with other sectors, ie, agriculture, rural development, education, social welfare, housing and voluntary organizations which are directly or indirectly related to the health of the community;

In theory there is a strong link between water supply, sanitation, health, environment and socio-economic development, but in reality that linkage does not exist in the functioning of various sector departments. Hence, the main reason for the poor coverage, use and maintenance of the facilities, deplorable environmental conditions.

7. Future Plans/Outlook

- As in other sectors, the WES strategy will need to be enlightened by a rigorous socio-political and institutional understanding of the poverty in the state, and accordingly develop approaches which are formulated in the context of overall poverty reduction, and not isolated;

- There is an urgent need to review, study and analyze the experience of ongoing and completed community based water and sanitation activities and projects in the State implemented by various groups for evolving effective and sustainable water and sanitation programmes;

- Another key aspect in the rural WES sector, pertain to technology choice and O & M. Given its experience, UNICEF can assist the state in developing and implementing WES programmes which become sustainable. The major components of this type of assistance should include: technology promotion appropriate to community practice, community mobilization for O & M, local capacity building and support to decentralization. A differential strategy is required for coastal and interior plains and hilly areas, taking into account the socio-economic, demographic and terrain conditions. Across the board use of hand pumps needs to be re-examined since O & M support is a key issue in the less accessible regions. Feasibility of other simple and cost effective technologies, such as covered dug wells with hand pumps, needs to be explored, especially where ground water is shallow;

- In coastal areas, water quality will remain a matter of concern, especially if on-site sanitation, likely to affect shallow aquifers, is promoted in large numbers. Poor water quality is a major problem in the interior rural areas as well, due to use of natural water sources. Support is required for developing awareness about quality issues, and developing a comprehensive strategy for both rural and urban areas. This will involve developing systems for quality monitoring as well as undertaking pilot projects to understanding the linkages thereof with water supply and sanitation (technical) options and health outcomes, especially for the poor and vulnerable communities. This will require different approaches in the coastal and river valley areas and the interior upland areas;

- Several institutions, both governmental and non-governmental in Orissa are involved in water supply, sanitation and health programmes. However, no reliable data is available on the magnitude of their operation, strategies followed and results of their programmes. There is need to establish a common platform for various agencies/groups to deliberate and share the experience of their interventions, strategies, issues, etc. The best practices of the programmes implemented by NGOs and private initiatives should be studied systematically and translated into the ongoing programmes of the government and other agencies. This is essential for improving the coverage as well as sustained use and improved operation and maintenance;

- The scope and objective of the sector reform project should be to assess the capacity and efficacy of Institutional, Technical, financial and social dimension of the existing institutions and suggest suitable modifications while looking to the socio-political situation of the local environment. Focus should be to strengthen and improve the image of the existing institutions for enabling them to establish viable mechanisms and net works for delivering the goods with active involvement and participation of   all stakeholders;

- Breaking an established tradition of heavily subsidized WS & ES programme needs lot of spade work and a convincing strategy to bring together every one including the politicians, below poverty line and other socially weaker communities in the main stream. Special strategies and implementation methodology has to be worked out for catering to the needs of all sections of the society. Revolving fund and micro financing should find a place in all integrated WS & ES projects;

- A number of steps have been initiated in the urban sector in the State. While the government will be pre-occupied with better provision, especially for the bigger cities in the State, support will be required for developing an urban strategy taking into account, the urban poor. Given the increased attention towards rural poverty, it will be opportune for UNICEF to focus its attention in the urban sector, for developing policies, improving urban management and governance, understanding urban poverty linkages with rural areas and strengthening urban local bodies, especially small and medium towns;

- Sanitation poses the single largest challenge in the state, given that little experience and capacity exists in the government, to conceive and manage improved sanitation coverage on a large scale. The lack of recognition of this problem is a stumbling block. The current sanitation programme being implemented in the urban and rural areas are not showing encouraging results due to inappropriate strategies and poor delivery mechanism. Apart from strengthening the monitoring mechanism, provision of alternate designs, community management, strengthening of the institutions need very close attention. There is also a need for effective process monitoring and evaluation of the effect of the health education in water supply and sanitation on community health, water use pattern, hygiene practices, use of latrines by every one in the family;

- High vulnerability of RWS in coastal areas to cyclones and floods, have to be borne in mind while design of RWS in coastal areas as the last cyclone has shown. Development of infrastructure and procedures to clean tube wells in case of such calamities need to be given special attention;

- There is also an urgent need for evolving a strategy and action plan to address the problems in O & M and ensure sustainability of the urban water supply and sanitation systems. Management of unaccounted water by reducing the physical and revenue losses, reducing O & M costs, community participation, consumer interaction, full cost recovery, cost sharing arrangements and institutional strengthening are some of the issues to be addressed while evolving such a strategy;

- Within the UNICEF programme planning system, a yearly work plan in respect of each programme is established. This work plan contains the physical targets, financial implications, manpower deployment and time-frame. It provides a composite monitoring device by itself for internal monitoring, assessment and feed back. It is high time for UNICEF to develop an information system for assessing the effectiveness of Water supply, sanitation, health and women and child development social welfare   interventions for assessing the efficacy of the programme as well as streamlining and prioritizing the interventions both at macro and micro level;

Appendix –1:	Organogram – Orissa Rural Water Supply and Sanitation Organization (RWSSO)

Principal Secretary

(Rural Development Dept)

Director cum Additional Secretary

Deputy Secretary-

Rural Works

Deputy Secretary

RWSS

Chief Engineer- RWSSO

Hydrogeologist

(Superintending Engineer)

Superintending Engineer (Mechanial & Investigation)

HRD Cell

1 Supt.Engineer

1 Exe. Engineer

2 AEEs

1 AE

Superintending Engineer – 4 Circles

Executive Engineers – 20 Divisions

Asst. Exe. Engineers – 57 Sub-divisions

Junior Engineers –RWSS section

Executive Engineers –2 (Mechanical Divisions)

Asst.Exe. Engineers - Mechanical

Junior Engineers- Mechanical

Director cum Additional Secretary

Deputy Secretary-

Rural Works